# BEDS File Formats

### Project: Benthic Event Detection System (BEDS) – Project 901006
Revision - 1.0
Date: 8/28/2012

# Purpose

This document specifies the data files that will be collected by the BEDS system.  These file formats are applicable when data files are directly downloaded from the BEDS controller.  They do not necessarily correspond to data as it is sent from the controller via command-line commands, though it is intended that the primary event files will be compressed and directly transmitted.

# Conventions

Unless otherwise noted, all times are UTC – Universal Coordinated Time (sometimes also denoted as GMT).  All multi-byte data is in Big-Endian (MSB first) format.

time_t denotes a Unix time format consisting of 32 bits, representing the number of seconds since 1/1/1970 at 00:00:00 UTC.

UInt8 denotes an 8 bit unsigned integer (i.e., a byte)

UInt16 denotes a 16 bit unsigned integer.

Int16 denotes a 16 bit signed integer.

Flt32 denotes a 32 bit floating point number in IEEE 854 floating point format.

# Clocks

The BEDS Functional requirements specify that the system must maintain accurate time to within 1 minute over a deployment.  We will use a Maxim DS3234 Extremely Accurate Clock, which is specified to be accurate to 2 ppm.  That corresponds to approximately one minute per year; but we believe that through calibration, we can do better than that.  Most deployments will be shorter than one year.

However, this clock only has a resolution of 1 second.  Hence our system timing (e.g. sampling at 50 Hz) is done with the Persistor on-board resources, which includes a real-time clock with an accuracy more like 20 ppm.

The upshot is that we have two clocks, and like the proverbial man with two watches, we have to take care to know what time it is.  In our case, we will, at all times, maintain an estimate of the difference between these two clocks, in milliseconds.

# Data File Types

The types of data files that we will maintain include:

| .EVT | an event file, containing INU, pressure, and timing information about a single event |
| --- | --- |
| .EVZ | a .EVT file compressed using the standard Unix gzip format |
| .WAT | a watch file, containing INU, pressure, and timing information about a watch cycle. This may be one entire watch cycle (i.e. delimited by event or command modes), but a new file will start each day at 00:00:00Z. |
| .WTZ | a compressed .WAT file using gzip |
| BEDS.CLK | the BEDS clock drift file. A single file can contain enough information for over 30 years, so it’s anticipated that there is only one clock drift file per deployment. |
| EVENT.IDX | the event index file. It’s anticipated that we’ll need only one per deployment. |
| WATCH.IDX | watch cycle index file. We should just need one per deployment |
| BEDS.LOG | A log file of significant user and system actions during the deployment |
| INVENSE.LOG | The output of the Invensense software stack’s logging system |

## Record Types

The event, watch, clock, and index files are composed of records of varying types.  Each record starts with a single byte field that identifies what type of record it is.  (The .LOG files are simple ASCII files).

| 0 | File Header |
| --- | --- |
| 1 | Second Marker |
| 2 | Inertial Data |
| 3 | Pressure |
| 4 | Index |
| 5 | System Parameters |

### File Header Record

A file header is record type 0, and consists of 18 bytes with the following fields:

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 8 bits | UInt 8 | Must be zero, denoting File Header record |
| 1 | 8 bits |  | Reserved |
| 2 | 16 bits | UInt16 | File format version |
| 4 | 16 bits | UInt16 | Size of each primary data sample type, bytes |
| 6 | 16 bits | UInt16 | Rate of primary data sample, samples/minute |
| 8 | 32 bits | time_t | Start time of samples, time_t |
| 12 | 16 bits | UInt16 | Start time, millisecond offset (0 – 999) |
| 14 | 32 bits | UInt32 | Duration of event described in this file, milliseconds |

### Second Marker Record

A Second Marker is a 6 byte record denoting the beginning of a new second in the data stream.

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 8 bits | UInt 8 | Must be 1, denoting Second Marker record |
| 1 | 8 bits |  | Reserved |
| 2 | 32 bits | Time_t | Time represented by this position in the data stream |

### Inertial Data Record

This is a 22 byte record representing one inertial data point from the MPU6000 INU.

The accelerometer values are represented by 24 bit numbers, where 216 = 1 g.
The 4 quaternion components are unitless 24 bit numbers, where 222 = 1.000

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 8 bits | UInt 8 | Must be 2, denoting Inertial Data record |
| 1 | 24 bits | Int24 | X accelerometer value |
| 4 | 24 bits | Int24 | Y accelerometer value |
| 7 | 24 bits | Int24 | Z accelerometer value |
| 10 | 24 bits | Int24 | 1st component of quaternion |
| 13 | 24 bits | Int24 | 2nd component of quaternion |
| 16 | 24 bits | Int24 | 3rd component of quaternion |
| 19 | 24 bits | Int24 | 4th component of quaternion |

### Pressure Record

A Second Marker is a 4 byte record containing a 16 bit A/D value from the pressure sensor

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 8 bits | UInt 8 | Must be 3, denoting Pressure record |
| 1 | 8 bits |  | Reserved |
| 2 | 16 bits | UInt16 | A/D value from the pressure sensor |

### Index Record

This is a 32 byte record representing one event (for EVENT.IDX) or  watch cycle (for WATCH.IDX)

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 8 bits | UInt 8 | Must be 4, denoting Index record |
| 1 | 8 bits |  | Reserved |
| 2 | 32 bits | Time_t | Start time of event or cycle |
| 6 | 16 bits | UInt16 | Millisecond offset of start time |
| 8 | 32 bits | UInt32 | Duration of event in milliseconds |
| 12 | 32 bits | Int32 | Maximum value of one acceleration component, in 2-16 g’s |
| 16 | 16 bytes | ASCII | Name of file containing event or cycle |

### System Parameters Record

This is a 16 byte record representing measured system parameters (more data TBD…)

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 8 bits | UInt 8 | Must be 5, denoting System Parameters record |
| 1 | 8 bits |  | Reserved |
| 2 | 32 bits | Time_t | Time that parameters were sampled |
| 6 | 16 bits | UInt16 | A/D value of pressure sensor |
| 8 | 16 bits | UInt16 | A/D value of battery voltage |
| 10 | 16 bits | UInt16 | A/D value of battery current |
| 12 | 16 bits | UInt16 | A/D value of can temperature |
| 14 | 16 bits | UInt16 | A/D value of can humidity |

## Index Files

The .IDX files typically will contain a Header Record, in which the only pertinent fields are the record type, file format version, and time (which denotes start time of the system).  They will then have an arbitrary number of Index Records, one for each event (EVENT.IDX) or watch cycle (WATCH.IDX).

EVENT.IDX will be used in a user command, to tell the users what events took place, when, and of what rough magnitude (max acceleration component).  The user can then pick an event file to send, in compressed format, over the acoustic link.  (Advanced feature – we may be able to allow the user to send a subset of the event; but is this necessary?   We’d have to build a pseudo-event file on the fly).

WATCH.IDX may be used by various user interface routines to assemble sets of data containing pressure and system and engineering data for the user.

## .EVT Files

Each event will be stored in a single file of type .EVT.  This file will consist of

- A File Header

- Inertial Data Records, typically in sets of 50 (for 50 Hz sampling)

- Second marker records, one per second of elapsed time

- Pressure records, typically one per second

It is intended that these files are compressed and sent back over the acoustic modem link, at the user’s request.

## .WAT Files

.WAT files are of similar format to .EVT files, except that the rate of Inertial Data Records is slower (10 Hz?) and they also contain System Parameter Records (one/hour?).  It is not intended that these files are transmitted wholesale.  Rather, the data from them will be presented to the user in condensed form, at user request.

## Clock Drift File

The clock drift file consists of a File Header record as above.  Following the header, it does not have records as documented above.  Rather, the header is followed by a sequence of 32 bit signed numbers, one per second.  Each number represents the offset, in milliseconds, of the Persistor system clock relative to the DS3234 Extremely Accurate Clock.  This data is of primary interest during debugging.  It is unknown how this data will be used during deployment.

## Log Files

BEDS.LOG will contain time and ASCII records indicating significant events and actions within the system.  For example, when events and watch cycles start, when the modem connects to a user, when the user changes operating parameters, errors, etc.

INVENSE.LOG contains the output of the Invensense MotionLibrary log system.  This primarily tells you about changes or actions within the MotionLibrary stack.