# BEDS User Commands

### Project: Benthic Event Detection System (BEDS) – Project 901006
Revision - 1.0
Date: 8/30/2012

# Purpose

The BEDS system will have both a direct serial port for system development, debugging, and calibration in the lab, as well as an acoustic modem to allow us to contact the system acoustically while it is deployed.  In both cases, we need a simple character based (command-line driven) user interface to allow us to examine and modify the system, and to download data.

# System Facilities

BEDS is designed around a Persistor CF2 microcontroller.   The CF2 has a built-in operating system called PicoDOS, which was designed to look like MS-DOS.  It has a command-line processor, as well as many built-in commands that mimic DOS commands.  It is assumed that the user will be familiar with these standard DOS commands.

In addition to the standard PicoDOS commands, we will add a number of BEDS-specific commands.  Those are documented in the “BEDS Commands” section.  The PicoDOS commands are summarized in the “PicoDOS Commands” section, but not as thoroughly documented.  Both the BEDS commands and PicoDOS commands are always available at the command line.

Design note – It is possible to delete any PicoDOS commands that are deemed too dangerous to include in a deployed system.  We should discuss what commands should be deleted.

# BEDS Commands

In Progress…

### Events Command

Syntax

Events

### GetEvent Command

Syntax

GetEvent

# PicoDOS Commands

(Many need to be deleted, but here they all are…)

APP

ATTRIB

BACKROM

BOOT

CAPTURE

CCC

CHDIR

CHKDSK

COPY

DUMP

DATE

DEL

DIR

ERASE

FDISK

FORMAT

GO

LO

MOUNT

MKDIR

MD

MM

ML
MON

PATH

PBM

PROMPT

PR

PC

PS

PT

PM

TIME

TYPE

REN

RESET

RMDIR

SAVE

SD

SET

XS

XR

YS

YR

VER

GSAVE

CD

CD.

CD..

MKD

RD

HELP

HE

H

?

RES

G

GO

CRC

CMD10

CMD16