09/14/2016

Topics:

- Canyon Status

  - Event 12/1/15: Smaller, logged by BED 2,5. BED 4 broke free.

  - Event 01/15/16: Larger, AMT knocked down, subsea moorings cut free, 2 BEDs broke free, 2 STEDS released/recovered.

  - Event 02/17/16

  - Event 03/06/16

    - Possible localized events in the upper canyon. Need to check on BEDs. Nov 16, Dec 23-26.

- BEDs Current Status

  - BED 1: Not responding at last known location

  - BED 2 (AMT): Not responding at deployed location. Not on AMT frame.

  - BED 3: Recovered Carson 4/25. 3ml seawater found inside. Full data recovered.

  - BED 4 FOUND! Search summary: \\atlas.shore.mbari.org\ProjectLibrary\901006.BEDS\update docs\BED_4_search_12_2015

  - BED 5: FOUND! Decimated data recovered

  - BED 6: Deployed

  - BED 9: Deployed healthy, no events as of 4/27

  - BED 10: Deployed healthy, no events as of 4/27

- To Do

  - SAR for BED #2 from AMT site up canyon

  - Check in with BED 6 and 5.

  - Fix BED #8

  - October 5, 2016 target deployment date. Deploy 3 BEDs in spheres and one on AMT.

  - WG cruise mid-september to locate.

  - Pursue anti-roll attachment

  - Investigate .WAT files being put into STOQS

  - Pull .WAT files for BED#5. Charlie/Roberto to send dates and times for .WAT data.

- Procurement

  - Done. No $ left

- Issues

  - Prevo leaks?

    - Test in pressure bomb? Larry?

  - Data transfer protocol

    - Eric slated to begin work. Did cruise to initially quantify problem.

    - 04/2016 – Great progress was made by Eric. Downloads are now possible unattended from the Waveglider.

  - Ballast release failures

    - Not surviving strong events

    - Larger GTR and the “Larry GTR” seems to be working better.

  - Surface location subsystem

    - Using new Telonics tags now.

  - CF Card Failures

    - Works again once re-inserted

    - Still logging data even though it’s saying that it can’t. Only seems to occur with high humidity.

    - Shore-side test simulating floating unit? Moor?

      - Use xyz table to simulate motion

      - Use existing BED that has many events on it and has already exhibited failure

    - Use G10 material and/or cable tie

  - Pressure sensor A/D scaling

    - Re-run matlab

  - Pressure Sensor Sampling Freq

    - Settling timeout too long?

      - 1 sec PO (settling) timeout

- Data

  - Event Specific

    - \\atlas.shore.mbari.org\ProjectLibrary\901006.BEDS\BEDS.Data\CanyonEvents

  - Deployment Specific

    - \\atlas.shore.mbari.org\ProjectLibrary\901006.BEDS\BEDS.Data\Deployment_Data_Full

  - Cruise Specific (Health and Status of Events)

    - \\atlas.shore.mbari.org\ProjectLibrary\901006.BEDS\BEDS.Data\Cruise Data\2016

  - STOQS:

    - http://stoqs.shore.mbari.org:8000/stoqs_cce2015

Misc:

- Config sheet for CCE acoustics – COMPLETE

- Add new homer IDs to acoustics inventory sheet - Brian

Cruises: