# BEDS File Formats

### Project: Benthic Event Detection System (BEDS) – Project 901006
Revision - PRELIMINARY
Date: 9/29/2011

# Purpose

This document specifies the data files that will be collected by the BEDS system.  These file formats are applicable when data files are directly downloaded from the BEDS controller.  They do not necessarily correspond to data as it is sent from the controller via command-line commands

# Conventions

Unless otherwise noted, all times are UTC – Universal Coordinated Time (sometimes also denoted as GMT).

time_t denotes a Unix time format consisting of 32 bits, representing the number of seconds since 1/1/1970 at 00:00:00 UTC.

UInt16 denotes a 16 bit unsigned integer.

Int16 denotes a 16 bit signed integer.

# Clocks

The BEDS Functional requirements specify that the system must maintain accurate time to within 1 second per year.  That requirement cannot be met with technology available at reasonable cost and with reasonable power dissipation.  We will, instead, use a Maxim DS3234 Extremely Accurate Clock, which is specified to be accurate to 2 ppm.  That corresponds to approximately one minute per year; but we believe that through calibration, we can do better than that.

However, this clock only has a resolution of 1 second.  Hence our system timing (e.g. sampling at 10 Hz) is done with the Persistor on-board resources, which includes a real-time clock with an accuracy more like 20 ppm.

The upshot is that we have two clocks, and like the proverbial man with two watches, we have to take care to know what time it is.  In our case, we will, at all times, maintain an estimate of the difference between these two clocks, in milliseconds.

# Data File Types

Conceptually, we will have 4 data files, consisting of:

- Data File

- Index/Event File

- Clock Drift File

- Auxiliary Sensor File

In practice, we will actually have sets of 4 files, creating a new set each day at 00:00:00 UTC.  This is both for robustness of the data, and to limit the size required for indices in the index file.  The files are named Byyymmdd.xxx, where

B = the single letter ‘B’.  The Persistor file system still uses 8.3 file naming, so we have just one char avail.
yyy = year – 2000
mm = month, 1-12
dd = day of month, 1-31
xxx is a suffix denoting file type:  .DAT, .IDX, .CLK, .AUX for data, index, clock, and aux files, respectively.

Also in practice, the Data File and Index/Event File are closely related/linked.  The index file is used to find data in the data file by time.   You may think of these two files as implementing a database indexed by time.

## File Header

Each file begins with a 12 byte header, as  follows:

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 16 bits | UInt16 | File format version |
| 2 | 16 bits | UInt16 | Size of each data sample, bytes |
| 4 | 16 bits | UInt16 | Sample rate, samples/minute |
| 6 | 32 bits | time_t | Start time of samples, time_t |
| 10 | 16 bits | UInt16 | Start time, millisecond offset (0 – 999) |

File format version – First byte is file type, 00 = data file, 01 = index file, 02 = clock file, 03 = aux file.
Second byte is the version number of that file format.  Initially, the second byte for all versions is 01.

## Data File

A data file consists of a 12 byte header (above), followed by an arbitrary number of records.  The size of each record and the nominal sample rate are specified by the data header.  However, for this revision (data file rev 0x0001), the record size is 20 bytes and the data rate is nominally 600 samples/minute (10 samples/second).

Each data record consists of the following fields.  See the Data Sheet for the Analog Devices ADIS16405 for more details.

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 16 bits | Int16 | Gyro X-axis, 0.05 deg/sec per LSB |
| 2 | 16 bits | Int16 | Gyro Y-axis, 0.05 deg/sec per LSB |
| 4 | 16 bits | Int16 | Gyro Z-axis, 0.05 deg/sec per LSB |
| 6 | 16 bits | Int16 | Accelerometer X-axis, 3.33 mg per LSB |
| 8 | 16 bits | Int16 | Accelerometer Y-axis, 3.33 mg per LSB |
| 10 | 16 bits | Int16 | Accelerometer Z-axis, 3.33 mg per LSB |
| 12 | 16 bits | Int16 | Magnetometer X-axis, 0.5 mgauss per LSB |
| 14 | 16 bits | Int16 | Magnetometer Y-axis, 0.5 mgauss per LSB |
| 16 | 16 bits | Int16 | Magnetometer Z-axis, 0.5 mgauss per LSB |
| 18 | 16 bits | Int16 | Pressure sensor ADC value, scale TBD |

## Index/Event File

An index/event file consists of a 12 byte header (above), followed by an arbitrary number of records.  The size of each record and the nominal sample rate are specified by the data header.  However, for this revision (index file rev 0x0101), the record size is 8 bytes and the data rate is nominally 60 samples/minute (1 sample/second).

Each record consists of the following fields.

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 32 bits | UInt32 | Index (lseek) into the data file for records beginning at this second |
| 4 | 32 bits | UInt32 | Average value of event magnitude calculation for this second |

## Clock Drift File

The clock drift file consists of a 12 byte header (above), followed by an arbitrary number of records.    For this revision (clock file rev 0x0201), the rate is 60 samples per minute (one per second), and each record consists of a single 32 bit signed number.  That 32 bit number represents the offset, in milliseconds, of the Persistor system clock relative to the DS3234 Extremely Accurate Clock.

## Auxiliary Data File

An auxiliary data file consists of a 12 byte header (above), followed by an arbitrary number of records.  The size of each record and the nominal sample rate are specified by the data header.  However, for this revision (auxiliary data file rev 0x0301), the record size is 8 bytes and the data rate is nominally 1 sample/minute.

Each record consists of the following fields.

| Position | Size | Type | Description |
| --- | --- | --- | --- |
| 0 | 16 bits | UInt16 | Average ADC value for the system battery, scale TBD |
| 2 | 16 bits | Int16 | Temperature reported by the DS3234, signed, units of 0.25 deg C |
| 4 | 16 bits | UInt16 | Average value reported by ADIS16405 for its supply, 2.418 mV/LSB |
| 6 | 16 bits | Int16 | Average value reported by ADIS16405 for its temperature |

# Discussion

The sampling for the data file is driven by the Persistor Programmable Interval Timer (PIT) at 10 Hz.  This is in turn driven by the Persistor clock crystal, which as noted, has less accuracy (20 ppm at best) than the accurate clock.  All other files (Index, Clock drift, Auxiliary) are driven by a 1 Hz interrupt from the accurate clock, good to 2 ppm .

As a result, there can be a slight mismatch in the data rates for the data file, as compared to the index file.  Nominally, one day of data should consist of 864,000 records, but this can vary by approximately +/- 20 records.

However, the index file is accurate to within 2 ppm, and it is this file that is used to find the data by time.  We will design user commands that request data by start time and duration, and these routines will use the Index file to find the start and end points of the data records.  In other words, the data records returned from using the user interface will have accurate time stamps.   By way of warning, though – if you retrieve raw data files for offline processing, then that offline processing must also use the Index file to determine accurate timing for the data in the Data file.