## Sheet1
Assembly name | BEDS#2 | BEDS#3 | BEDS#1 | BEDS#3 | BEDS#4 | BEDS#5 | BEDS#6 | BEDS#2 | BEDS#5 | BEDS#7 | BEDS#8 | BEDS#9 | BEDS#10 | BEDS#11
Built # | 1 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Built Date | 2013-04-10 | 2013-12-06 | 2013-12-09
10020895-AS1 BEDS-Cylinder Assembly |  | AS1 SN003 12/2013 | AS1 SN004 12/2013
10020895-AS2 - Electropack Assembly Attach label on L1 cell | AS2 SN001 03/08/2013 | AS2 SN003 11/26/2013 | AS2 SN004 12/9/2013 | BEDS#3 built 5, 9/29/2015 | BEDS#4 built 6, 10/04/2015 | BEDS#5 built 7, 9/30/2015 | BEDS#6 built 8, 9/30/2015 | BEDS#2 built 9, 10/07/2015 | BEDS#5 built 10, 10/23/2015 |  | BEDS#8 built 12, 2016-04-01 | BEDS#9 built 13, 2016-04-01 | BEDS#10 built 14, 2016-04-02 | BEDS#11 built 15, 2016-04-02
Batteries Model | BCX85DD | CSC93DD | CSC93DD | CSC93DD | CSC93DD | CSC93DD | CSC93DD | CSC93DD | CSC93DD |  | CSC93DD | CSC93DD | CSC93DD | CSC93DD
Batteries Part# | 3B0076-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB |  | 3B0036-XB | 3B0036-XB | 3B0036-XB | 3B0036-XB
Batteries batch | 2231701 | 2334026 | 2334026
Pack # |  |  |  | BS0020 | 3 / 1526 | 1 / 1526 | 2 / 1526 | 4 / 1526 |  |  | Pack 4 | Pack 3 | Pack 2 | Pack 1
Batteries Received |  |  |  | 2015-05-18 | [6 empty] | Received Sept 15, 2015 | Received Sept 15, 2015 | Received Sept 15, 2015 | Received Sept 15, 2015
Voltage, stick 1, (Slot L1 / R7) |  |  |  | 3.930/3.930 | 3.482/3.489 (10Ohm60s) | 3.939 / 3.939 | 3.939/3.939 | 3.478/3.479 (0.4A 60sec) |  |  | 3.546/3.558 (10Ohm 60s) | 3.548/3.547 (10Ohm 60s) | 3.580/3.562 (10Ohm 60s) | 3.553/3.543 (10Ohm 60s)
Voltage, stick 2, (Slot L2 / R6) |  |  |  | 3.930/3.930 | 3.473/3.493 (10Ohm60s) | 3.934/3.933 | 3.935/3.935 | 3.544/3.490 (0.4A 60sec) |  |  | 3.504/3.557 (10Ohm 60s) | 3.488/3.528 (10Ohm 60s) | 3.563/3.567 (10Ohm 60s) | 3.557/3.568 (10Ohm 60s)
Voltage, stick 3, (Slot L3 / R5) |  |  |  | 3.930/3.930 | 3.486/3.518 (10Ohm60s) | 3.935/3.936 | 3.940/3.939 | 3.596/3.550 (0.4A 60sec) |  |  | 3.494/3.562 (10Ohm 60s) | 3.546/3.554 (10Ohm 60s) | 3.538/3.490 (10Ohm 60s) | 3.548/5.558 (10Ohm 60s)
Voltage, stick 4, (Slot L4 / R4) |  |  |  | 3.929/3.929 | 3.486/3.483 (10Ohm60s) | 3.939/3.939 | 3.931/3.937 | 3.536/3.546 (0.4A 60sec) |  |  | 3.497/3.549 (10Ohm 60s) | 3.567/3.495 (10Ohm 60s) | 3.560/3.558 (10Ohm 60s) | 3.552/3.533 (10Ohm 60s)
Voltage, stick 5, (Slot L5 / R3) |  |  |  | 3.930/3.930 | 3.517/3.568 (10Ohm60s) | 3.939/3.934 | 3.934/3.936 | 3.549/3.564 (0.4A 60sec) |  |  | 3.534/3.498 (10Ohm 60s) | 3.535/3.552 (10Ohm 60s) | 3.556/3.524 (10Ohm 60s) | 3.557/3.551 (10Ohm 60s)
Voltage, stick 6, (Slot L6 / R2) |  |  |  | 3.929/3.930 | 5.482/3.512 (10Ohm60s) | 3.937/3.939 | 3.939/3.935 | 3.535/3.538 (0.4A 60sec) |  |  | 3.535/3.501 (10Ohm 60s) | 3.552/3.528 (10Ohm 60s) | 3.559/3.534 (10Ohm 60s) | 3.491/3.563 (10Ohm 60s)
Voltage, stick 7, (Slot L7 / R1) |  |  |  | 3.930/3.930 | 3.527/3.484 (10Ohm60s) | 3.940/3.928 | 3.934/3.935 | 3.535/3.527 (0.4A 60sec) |  |  | 3.554/3.563 (10Ohm 60s) | 3.551/3.550 (10Ohm 60s) | 3.562/3.524 (10Ohm 60s) | 3.499/3.529 (10Ohm 60s)
Load testing | [7 empty] | 2A x 60 sec (3.13-3.28V) |  |  | 2A x 30sec (3.05-3.20V) | 2A x 30sec (3.05-3.20V) | 2A x 30sec (3.05-3.20V) | 2A x 30sec (2.95-3.15V)
Battery pack shims over aluminum plates |  |  |  | 0.035 inch, 6 ea | 0.035 inch, 6 ea | 0.057", 6ea | 0.057", 6ea | 0.050 inch, 6ea | 0.057", 6ea |  | not needed (revised side plates) | not needed (revised side plates) | not needed (revised side plates) | not needed (revised side plates)
Battery stick shims (on each stick) |  |  |  | 1"x0.1 wetherstrip 1 side | 1.25x0.003 double sided tape x 2 sides | 7/8x0.1 wetherstrip 2 sides | 7/8x0.1 wetherstrip 2 sides | 1.25x0.003 double sided tape x 2 sides | 1.25x0.003 double sided tape x 2 sides |  | 1.25x0.003 double sided tape x 2 sides | 1.25x0.003 double sided tape x 2 sides | 1.25x0.003 double sided tape x 2 sides | 1.25x0.003 double sided tape x 2 sides
Voltage AS3L / AS3R | 27.50 V / 27.499V | 27.18V / 27.19V | 27.16V / 27.16V | 27.508V / 27.511V | 23.303 / 23.400 (25.8 Ohm x 60 sec) | 27.570v / 27.540v | 27.556v /27.557v | 23.718 / 23.736 (25.8 Ohm x 60 sec) | 23.446 / 23.550 (25.8 Ohm x 30 sec) |  | 23.449/23.544 (25.8Ohm 60s) | 23.510/23.495 (25.8Ohm 60s) | 23.664/23.577 (25.8Ohm 60s) | 23.532/23.612 (25.8Ohm 60s)
Overall length of assembly at 4 quadrants: MotherBoard, Homer, Modem, Hom.Batt |  |  |  | 10.370, 10.400, 10.397, 10.410 | 10.388, 10.405, 10.389, 10.407 | 10.451, 10.440, 10.448, 10.438 |  | 10.438, 10.427, 10.421, 10.437 | 10.455, 10.436, 10.442, 10.438 |  | 10.435, 10.442, 10.424, 10.443 | 10.418, 10.424, 10.423, 10.435 | 10.432, 10.429, 10.423, 10.439 | 10.432, 10.431, 10.433, 10.437
10020895-AS3L Battery End Cap Assembly |  | AS3L SN003 11/26/2013 | AS3L SN002 4/8/2013 | AS3L SN3 9/23/2015 | AS3L SN4 9/23/2015 | AS3L SN5 9/29/2015 | AS3L SN6 9/29/2015 | AS3L SN1, 10/07/2015 | AS3L SN5 9/29/2015 |  | AS3L SN8, 2016-03-31 | AS3L SN9, 2016-03-31 | AS3L SN10, 2016-03-31 | AS3L SN11, 2016-03-31
Battery pack board - assembled by |  |  |  | Indtec | Indtec | Indtec | Indtec |  | Indtec |  | Indtec | Indtec | Indtec | Indtec
Check res between pins J1 to J7 (inf) |  |  |  | inf | inf | inf | inf |  | inf |  | inf | inf | inf | inf
10020895-AS3R Battery End Cap Assembly |  | AS3R SN003 11/26/2013 | AS3R SN002 4/8/2013 | AS3R SN003 11/26/2013 | AS3R SN4 9/23/2015 | AS3R SN5 9/29/2015 | AS3R SN6 9/29/2015 | AS3R SN3, 10/07/2013 | AS3R SN5 9/29/2015 |  | AS3R SN8, 2016-03-31 | AS3R SN9, 2016-03-31 | AS3R SN10, 2016-03-31 | AS3R SN11, 2016-03-31
Battery pack board - assembled by |  |  |  | Indtec | Indtec | Indtec | Indtec |  | Indtec |  | Indtec | Indtec | Indtec | Indtec
Check res between pins J1 to J7 (inf) |  |  |  | inf | inf | inf | inf |  | inf |  | inf | inf | inf | inf
10020895-AS4 Mother Board Plate Assembly |  | AS4 SN003 12/05/2013 | AS4 SN002 4/8/2013 | AS4 SN003 12/05/2013 | AS4 SN3 9/28/2015
Mother Board Part# |  | 10020895-MOB1 Rev1 | 10020895-MOB1 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 |  | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1 | 10020895-MOB2 Rev1
Mother Board SN | SN002 4/1/2013 | SN003 12/4/2013 | SN001 02/1/2013 | SN005 2015/09/25 | SN006 2015/09/27 | SN007 2015/09/30 | SN008 2015/09/30 | SN002 4/1/2013 | SN007 2015/09/30 | SN009 2016-03-14 | SN010 2016-03-23 | SN011 2016-03-24 | SN012 2016-03-24 | SN013 2016-03-24
Inductor | L1=100uH | L1=22uH | L1=47 uH | L1=33uH | L1=33 uH | L1=33 uH | L1=33 uH | L1=100uH | L1=33 uH | L1=33 uH | L1=33 uH | L1=33 uH | L1=33 uH | L1=33 uH
MP6050 Board | 3.3 Mod#4 | 3.3 MOD SN005 | 3.3 Mod#3 | 3.3 MOD SN005 | 3.3 MOD SN006 | 3.3 MOD SN007 | 3.3 MOD SN008 | 3.3 Mod#4 | 3.3 MOD SN007 | 3.3 MOD SN009 | 3.3 MOD SN010 | 3.3 MOD SN011 | 3.3 MOD SN012 | 3.3 MOD SN013
Persistor model | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M | PERCF21M
Persistor SN | CF2-12325 | CF2-12327 | CF2-12321 | CF2-14390 | CF2-14391 | CF2-14387 | CF2-14389 | CF2-14393 | CF2-12323 | CF2-14392 | CF2-12328 | CF2-12322 | CF2-12326 | CF2-12388
CF Card SN | SN002 | SN003 12/05/2013 | #1 | SN3 9/28/2015 | SN4 9/22/2015 | SN5 9/30/2015 | SN6 10/1/2015 | SN7 10/07/2015 | SN8 10/20/2015 | 2016-03-14 | beds#8 2016-03-23 | beds#9 2016-03-24 | beds#10 2016-03-24 | beds#11 2016-03-24
Coin Cell |  | CR2032 June 2012 |  | CR2032 9 MAR 2015 | CR2032 9 MAR 2015 | CR2032 9 MAR 2015 | CR2032 9 MAR 2015 | CR2032 9 MAR 2015 | CR2032 9 MAR 2015, 10/2015 | CR2032 10-2014 | CR2032 10-2014 | CR2032 10-2014 | CR2032 3-2016 | CR2032 3-2016
Persistor programmed | [9 empty] | Programming BEDS#7 2016-03-15 | Programming BEDS#8 2016-03-24 | Programming BEDS#9 2016-03-24
10020895-AS5 Modem Plate Assembly | AS5 SN001 3/10/2013 | AS5 SN003 11/26/2013 | AS5 SN002 4/8/2013 | SN3 9/30/2015 | SN4 9/22/2015 | SN5 9/22/2015 | SN6 9/22/2015 | AS5 SN001 3/10/2013 | SN5 9/22/2015 | SN7 3/11/2016 | SN8 3/11/2016 | SN9 3/11/2016 | SN10 3/24/2016
Modem Part # | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1 | ATM-903-LS1
Modem SN | 59016 | 59017 | 59019 | 65438 | 65434 | 65435 | 65436 | 59016 | 65435 | 65437 | 59018 | 65433
coin cell V1, 3.6V 16mm |  |  |  | CR1632 6-Aug-2015
10020895-AS6 Homer Battery Plate Assembly | AS6 SN001 3/6/2013 | AS6 SN003 11/26/2013 | AS6 SN002 4/4/2013 | AS6 SN3 9/17/2015 | AS6 SN4 9/17/2015 | AS6 SN5 9/17/2015 | AS6 SN6 9/17/2015 | AS6 SN1 10/07/2015 | AS6 SN5 10/21/2015 |  | AS6 SN8 2016-03-31 | AS6 SN9 2016-03-31 | AS6 SN10 2016-03-31 | AS6 SN11 2016-03-31
built date |  |  |  | 2015-09-17 | 2015-09-17 | 2015-09-17 | 2015-09-17 | 2015-10-07 | 2015-10-21 |  | 2016-03-31 | 2016-03-31 | 2016-03-31 | 2016-03-31
Assembled by: |  |  |  | Klimov | Klimov | Klimov | Klimov | klimov | Klimov |  | Klimov | Klimov | Klimov | Klimov
Voltage measured |  |  |  | 14.591, 7.287 | 14.590, 7.285 | 14.589, 7.283 | 14.590, 7.285 | 14.4, 7.19 | 7.3, 14.6 |  | 7.3, 14.6 | 7.3, 14.6 | 7.3, 14.6 | 7.3, 14.6
Battery Make |  |  |  | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Energy Sales Sunnyvale CA |  | Energy Sales Sunnyvale CA | Energy Sales Sunnyvale CA | Energy Sales Sunnyvale CA | Energy Sales Sunnyvale CA
Battery Type | 7835-007 | 7835-007 | 7835-007 | A3-7815-006-B2A | A3-7815-006-B2A | A3-7815-006-B2A | A3-7815-006-B2A | A3-7815-006-B2A
Battery Voltage (Nominal) | 14.5 |  | 14.5V | 7.3 14.6 | 14.6 7.3 | 14.6 7.3 | 14.6 7.3 | 7.3/ 14.3 | 7.2V / 14.4V |  | 7.2V / 14.4V | 7.2V / 14.4V | 7.2V / 14.4V | 7.2V / 14.4V
CPN |  |  | CPN:640-8515 | 640-8864 | 640-8864 | 640-8864 | 640-8864 | 640-8864 | ES3167 |  | ES3167 | ES3167 | ES3167 | ES3167
Battery SN | 270053-16 | 270053-13 | 270053-19 | 64028-001 | 654.73-008 | 64028-004 | 64028-009 | 64028-002 | E1527C |  | E1527C | E1527C | E1527C | E1527C
Battery Expiry Date | 10/2015 | 10/2015 | 10/2015 | Nov 2018 | November 2018 | November 2018 | Nov 2018 | Nov 2018
Battery Tested Date | 42/2010 |  | 42/2010 | 07/2014 | 11/2014 | 07/2014 | 07/2014 | 07/2014 | Marked "7-15 - new" |  | Marked "7-15 - new" | Marked "7-15 - new" | Marked "7-15 - new" | Marked "7-15 - new"
Battery Tester | GD |  | GD | A*H | gng? | A*H | A*H | A*H
Battery (other property) | [8 empty] | Li-SOCI2 battery |  | Li-SOCI2 battery | Li-SOCI2 battery | Li-SOCI2 battery | Li-SOCI2 battery | Comment | Does not work - PCB has some corrosion (battery failure instrument) | New homer, clean board - does not respond to ID41. Wrong address?
10020895-AS7 Homer PCB Plate Assembly | AS7 SN001 04/10/2013 | AS7 SN003 11/26/2013 | AS7 SN002 4/8/2013 | AS7 SN3 9/30/2015 | AS7 SN4 9/22/2015 | AS7 SN5 9/22/2015 | AS7 SN5 9/22/2015 | AS7 SN1 10/07/2015 | AS7 SN5 9/22/2015 |  | AS7 SN8 2016-03-31 | AS7 SN9 2016-03-31 | AS7 SN10 2016-03-31 | AS7 SN11 2016-03-31 | Homer PCB Plate Assembly | AS7 SN3 9/22/2015 | AS7 SN4 9/22/2015
Homer ID | ID37 | ID27 | ID44 | ID27 | ID89 | ID31 | ID33 | ID37 | ID31 |  | ID20 | ID28 | ID34 | ID41 | Homer ID | ID27 | ID41
Homer PCB SN | 273572-080 | 273572-129 | 251082-424 | 273572-129 | 213067-39 | 275937-1943 | 275937-1014 | 273572-080 | 275937-1943 |  | 275937-1278 | 280719-171 | 273572-1545 | 280719-1755 | Homer PCB SN | 273572-129 | 251082-746
Homer PCB Tested | 9/7/12 | 7-7-12 | 2-3-8 | 7-7-12 | 05/03 C4068 | 22/2/12 | 21/2/12 | 9/7/12 | 22/2/12 |  | 21/2/12 | 11/12/12 | 27/10/11 | 19/11/12 | Homer PCB Tested | 7-7-12 | 12-5-8
Source assemblies | [14 empty] | Source assemblies
Transponder | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC |  | TZ/OBC | TZ/OBC | TZ/OBC | TZ/OBC | Transponder | TZ/OBC | TZ/OBC
Type | 7815-000-06 | 7815-000-06 | 7815-000-06 | 7815-000-06 | 7815-000-00 | 7815-000-06 | 7815-000-06 | 7815-000-06 | 7815-000-06 |  | 7815-000-06 | 7815-000-06 | 7815-000-06 | 7815-000-06 | Type | 7815-000-06 | 7815-000-06
Manufacturer | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Sonardyne |  | Sonardyne | Sonardyne | Sonardyne | Sonardyne | Manufacturer | Sonardyne | Sonardyne
Homer ID | ID37 | ID27 | ID44 | ID27 | ID89 | ID31 | ID33 | ID37 | ID31 |  | ID20 |  | ID34 | ID41 | Homer ID | ID27 | Homer ID41 (AD5, RE4)
Homer SN | 279729-145 | 279729-148 | 253160-034 | 279224-142 | 213689-019 | 279224-146 | 279224-143 | 279729-145 | 279224-146 |  | 279224-141 |  | 277741-032 | 253160-031 | Homer SN | 279729-148 | 253160-031
Inner Housing | 279729-145 | 279729-148 |  | 279224-142 | 213688-91 | 279224-146 | 279224-143 | 279729-145 | 279224-146 |  | 279224-141 |  | 277741-032 | 253160-031 | Inner Housing | 279729-148 | 253160-031
[6 empty] | MBARI SO#9483 | MBARI SO#9483 |  | MBARI SO#9483 |  | MBARI SO#9483 |  | MBARI SO#9483
10020895-AS8 End Cap Homer Assembly | AS8 SN002 4/10/2013 | AS8 SN003 12/06/2013 | AS8 SN1H 03/08/2013 | AS8 SN3 9/30/2015 | AS8 SN4 9/30/2015 | AS8 SN5 9/30/2015 | AS8 SN6 9/30/2015 | AS8 SN2 10/8/2015 | AS8 SN5 9/30/2015
built by | [7 empty] | Larry Bird | Larry Bird 10/20/2015 |  | Larry Bird 3/31/2016 | Larry Bird 3/31/2016 | Larry Bird 3/31/2016 | Larry Bird 3/31/2016
Transducer type | 7815-055-A6 | 7815-055-A6 | 7815-055-A4 | 7815-055-A6 | WK 17/04-03 | 7815-055-A6 | 7815-055-a6 | 7815-055-A6 | 7815-055-A6 |  | 7815-055-A6 | 7815-055-A6 | 7815-055-A6 | 7815-055-A4
Transducer SN | 279767-038 | 279767-048 | 253161-057 | 279001-128 | WO 213627-150 | 279001-113 | 279001-122 | 279767-038 | 279001-113 |  | 279001-123 | 279767-048 | 276841-024 | 253161-059
Transducer label (visible outside) |  |  |  | BEDS#3 ID27 | BEDS#4 ID89 | BEDS#5 ID31 | BEDS#6 ID33 | BEDS#2 ID37 | BEDS#5 ID31 |  | BEDS#8 ID20 | BEDS#9 ID28 | BEDS#10 ID34 | BEDS#11 ID41
Pressure Sensor Part# | US331-000004-070BA | US331-000004-070BA | US331-000004-070BA | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG | PHE163 / 100bar SG
Pressure Sensor SN | 8-010813F004 | 8-010813F009 | 8-010813F012 | SN 20298001 | SN 20298002 | SN 20298003 | SN 20298004 |  | SN 20298003 | SN 21110001 | SN 21110002 | SN 21110003 | SN 21110004 | SN 21110005
Diaphragm | 10020865-017 Rev1 | 10020865-017 Rev2
Diaphragm Cover | 10020895-016 Rev2 | 10020895-016 Rev3
10020895-AS9 End Cap Modem Assembly | AS9 SN2M 04/10/2013 | AS9 SN003 12/06/2013 | AS9 SN1M 03/08/2013 | AS9 SN003 12/06/2013 | BEDS #4 9/28/2015 | BEDS #5 9/28/2015 | BEDS #6 9/28/2015 | AS9 SN2 10/08/2015 | BEDS #5 9/28/2015
label on transducer (visible outside) | [7 empty] | BEDS #2 ID37 | BEDS #5 ID31
built by | [7 empty] | L. Bird | L. Bird 10/20/2015 | L. Bird 10/20/2015 | L. Bird 10/20/2015 | L. Bird 10/20/2015 | L. Bird 10/20/2015 | L. Bird 10/20/2015
Modem Transducer Model | SDCR AT-12RT | SDCR AT-12RT | XDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT | SDCR AT-12RT
Modem Transducer Part# | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21 | C-400-21
Modem Transducer SN# | 61887 | 59092 | 59089 | 59092 | 65252 | 65248 | 59088 | 61887 | 65248 |  | 65117 | 65249 | 65250 | 65251
Note | active (shore) | battery leak, disassembled | deployed | 4 minutes after the hour | 6 minutes after the hour | 8 minutes after the hour | 10 minutes after the hour | 2 minutes after the hour. | 8 minutes after the hour
03/26/2014 Ducer SN 61887 from repair installed in BEDS#2

## Slot Allocation
Battery Slot Allocation and Recording
Assembly: | AS2 SN003
Slot# | Model | Part# | Batch# | SN# | Voltage 11/26/2013 | Voltage 5/9/2014 | Note
Slot L1 | CSC93DD | 3B0036-XB | 2334026 | 3027 | 3.886 | 3.859 | positive wire missing; signs of corrosion under paper disk
Slot L2 | same | same | same | 7331 | 3.886 | 3.86 | failed cell; 2 pitted areas on the edge on positive side; electrolyte leaked out
Slot L3 | same | same | same | 7305 | 3.886 | 3.344
Slot L4 | same | same | same | 7306 | 3.885 | 3.85 | severe connector corrosion
Slot L5 | same | same | same | 7339 | 3.885 | 3.061
Slot L6 | same | same | same | 7340 | 3.885 | 3.739
Slot L7 | same | same | same | 7334 | 3.885 | 3.852
Slot R7 | same | same | same | 3026 | 3.885 | 3.856
Slot R6 | same | same | same | 7332 | 3.885 | 3.856 | other side of failed cell in slot L2
Slot R5 | same | same | same | 7325 | 3.885 | 3.856
Slot R4 | same | same | same | 7336 | 3.885 | 3.856
Slot R3 | same | same | same | 7335 | 3.886 | 3.856
Slot R2 | same | same | same | 3029 | 3.886 | 3.857
Slot R1 | same | same | same | 7327 | 3.886 | 3.856