## Sheet1
Manufacturer | Part number |  | Linearity (+/- %) | Hysteresis (+/- %) | Stability (+/- %) | Temp.Sens. (+/-%) per C | Temp Range (+/-), C | Depth range, m | Repeitability, (+/- %) | Repeatability, (+/- m) | Combined Accuracy (+/-%) | Combined Accuracy (+/- m) | ADC resolution, mV/LSB | Sensor sensitivity, mV/m | Depth resolution, m/LSB | Dimensions | price | Note
Keller | PA-6ST/80400.xx / 50bar/ 0…50C | nom. | 0.25% |  | 0.1% | 0.02% | 5 | 500 | 0.2% | 1 | 0.45% | 2.25 | 0.038147 | 4 | 0.0095367 | 0.625D x 0.75Hex | 115 | Temp range +/-5C
|  | max. | 0.5% |  | 0.2% | 0.09% | 5 | 500 | 0.65% | 3.25 | 1.15% | 5.75 | 0.038147 | 4 | 0.0095367
Measurement Specialties | US300 series | nom. | 0.1% |  |  | 0.05% | 5 | 200 | 0.25% | 0.5 | 0.35% | 0.7 | 0.038147 | 10 | 0.0038147 | 0.5D x 0.625Hex | 127 | Temp range +/-5C; 500m sensor
|  | max. | 0.15% |  |  | 0.1% | 5 | 200 | 0.5% | 1 | 0.65% | 1.3 | 0.038147 | 10 | 0.0038147
Measurement Specialties | US300 series | nom. | 0.1% |  |  | 0.05% | 5 | 350 | 0.25% | 0.875 | 0.35% | 1.225 | 0.038147 | 5.7143 | 0.0066757 | 0.5D x 0.625Hex | 127 | Temp range +/-5C; 500m sensor
|  | max. | 0.15% |  |  | 0.1% | 5 | 350 | 0.5% | 1.75 | 0.65% | 2.275 | 0.038147 | 5.7143 | 0.0066757
Measurement Specialties | US300 series | nom. | 0.1% |  |  | 0.05% | 5 | 500 | 0.25% | 1.25 | 0.35% | 1.75 | 0.038147 | 4 | 0.0095367 | 0.5D x 0.625Hex | 127 | Temp range +/-5C; 500m sensor
|  | max. | 0.15% |  |  | 0.1% | 5 | 500 | 0.5% | 2.5 | 0.65% | 3.25 | 0.038147 | 4 | 0.0095367
Measurement Specialties | US300 series | nom. | 0.1% |  |  | 0.05% | 5 | 700 | 0.25% | 1.75 | 0.35% | 2.45 | 0.038147 | 2.8571 | 0.013351 | 0.5D x 0.625Hex | 127 | Temp range +/-5C; 700m sensor
|  | max. | 0.15% |  |  | 0.1% | 5 | 700 | 0.5% | 3.5 | 0.65% | 4.55 | 0.038147 | 2.8571 | 0.013351
Measurement Specialties | US300 series | nom. | 0.1% |  |  | 0.05% | 5 | 1000 | 0.25% | 2.5 | 0.35% | 3.5 | 0.038147 | 2 | 0.019073 | 0.5D x 0.625Hex | 127 | Temp range +/-5C; 1000m sensor
|  | max. | 0.15% |  |  | 0.1% | 5 | 1000 | 0.5% | 5 | 0.65% | 6.5 | 0.038147 | 2 | 0.019073
Paine | 310-38-520 |  | 0.02% |  |  |  | 10 | 3340 | 0.02% | 0.668 | 0.02% | 0.668 | 0.038147 | 0.5988 | 0.063705 | 0.5D x 0.44Hex |  | Amalong with polynominal model P (T, mV); includes RTD
EFE (France) | PHE163 | nom. | 0.25% |  | 0.05% | 0.02% | 10 | 500 | 0.25% | 1.25 | 0.5% | 2.5 | 0.038147 | 4 | 0.0095367 |  | 725 euro | Ti sensor 500m
|  | max. | 0.25% |  | 0.05% | 0.02% | 10 | 500 | 0.25% | 1.25 | 0.5% | 2.5 | 0.038147 | 4 | 0.0095367
EFE (France) | PHE163 | nom. | 0.25% |  | 0.05% | 0.02% | 10 | 1000 | 0.25% | 2.5 | 0.5% | 5 | 0.038147 | 2 | 0.019073 |  | 725 euro | Ti sensor 1000m
|  | max. | 0.25% |  | 0.05% | 0.02% | 10 | 1000 | 0.25% | 2.5 | 0.5% | 5 | 0.038147 | 2 | 0.019073
Legend:
Existing sensors
Automatically calculated value
User input value
Calculated for 16 bit ADC and 2.5V reference
For 0.5-4.5V sensor output scaled to 0.25-2.25V ADC input