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	Completed by Customer
	Date:
	12/21/15

	BILL TO:
	SHIP TO:

	Company
	MBARI
	
	Company
	MBARI

	Address
	7700 Sandholdt Rd
	
	Address
	7700 Sandholdt Rd

	
	Moss Landing
	
	
	Moss Landing

	
	CA, 95039
	
	
	CA, 95039

	Contact Name
	Alana Sherman
	Phone No.
	831-775-1780

	Email Address
	Alana@mbari.org
	Fax No.  
	     


	Original Purchase Order #
	unknown
	

	
	
	
	

	Model/Part #
	Description
	Serial #
	Date Sold

	ATM-903-LS1
	Modem board set
	59017
	?     

	     
	     
	     
	     

	     
	     
	     
	     

	     
	     
	     
	     

	Repair Service Requested:
	Board was exposed to leaking Li batteries and then washed, there are some signs of corrosion but board is now non-operational. We would like to have the board repaired or at least evaluated to see if a repair is cost effective.

	Requested Delivery Date
	1/30/16
	

	
	
	
	

	Completed by Teledyne Benthos 
	

	Type of Service
	 FORMCHECKBOX 

	Repair
	 FORMCHECKBOX 

	Warranty

	
	 FORMCHECKBOX 

	Upgrade
	 FORMCHECKBOX 

	Other
	     

	Original CO #
	     
	


	Completed By:
	     
	
	     

	
	Name (print)
	
	Date


Form F11-001
Page 1  of  1
Rev.Date 06/25/09

[image: image1.png][image: image2.jpg]