## Slide 1: Benthic Event Detectors
C. Paull, K. Anderson, L. Bird, D. Graves, R. Herlien, B. Kieft, D. Klimov, E. Lundsten, M. McCann, A. Sherman, E. Sumner
    Work began in 2010 to further quantify sediment debris flows
      Event Detection
      Event Frequency
      Event Duration
      Dynamics of motion

## Slide 2: Overview
Core instrument housing (1000m/1 year)
Acoustic modem for data
Transponder for geolocation
Inertial motion unit

## Slide 3: Episodic Events
When?
How Long?
How Many?
Is the ship available for survey?

## Slide 4: BEDs Functionality
Awakens with motion
Measures time/duration of events
  Accurate clock:
  .31 ppm observed (0.8 seconds/month)
Measures pressure (accuracy 0.3% 70bar @1 Hz)
Records dynamics of motion (@ 50 Hz)
Monitors internal health
Data transferred acoustically

## Slide 5: Deployment

## Slide 6: Recovery (sometimes)

## Slide 7: Data Recovery

## Slide 8: Data Recovery

## Slide 9: Events Since April, 2013

## Slide 10: Depth – June 2013

## Slide 11: Motion – June 2013

## Slide 12: Visualization

## Slide 13: Ongoing Efforts
Refining data transfer protocol
Waveglider operations
  Data transfer
  Geolocation?
Impact of shape/density
8 BEDs available for experiment
  Deploy all or 4 at a time?
  Deployment Location?

## Slide 15: June 1, 2013

## Slide 16: February 18, 2014

## Slide 17: March 30, 2014