Long Range AUV water sampler in support of CANON

Project # 901009 Update 04/26/12

L. Bird m.e. Support Engineering                                                                                                 Engineering  Lab

- CANON Science Requirements

  - 4 liter samples rapidly acquired and filtered through modules

  - 50 to 100 ml samples (treated with fixative) returned for analysis

  - Common sample paths and collectors flushed and/or disinfected with agent or…

  - Individual one use sample paths and collectors

- ESP Science Requirements

  - Rapidly acquired sample or…

  - Vehicles hovers while sample is acquired

  - Discreet (one use) sample path and collector or…

  - Flushed and disinfected sample path and collector

- LRAUV capabilities

  - Power; 14-15 nominal volts @2 amps

  - Buoyancy; package must be neutral

  - Hovering

    - +/-  1 meter, depth only

  - Available Space; (Figure 1)

    - No space in short  (16”) Nose Section

    - 6.5” diameter X 10.0” length within Long (24”) Nose Section

    - 14.0” outboard space on Long Nose Section, when configured without ESP section

    - Possibly some room (TBD) in ESP section, (dry space within pressure housing)

    - Maximum vehicle length 130.00 inches (excludes use of ESP section & outboard space)

  - Possible Configurations

    - Core vehicle w/ ESP section & Short Nose, (no water sampling outside ESP section)

    - Core vehicle w/ ESP section & Long Nose, 6.5” diameter X 10.0”  ( capacity up to 2 liters)

    - Core vehicle no ESP section w/ Long nose 6.5” diameter X 10.0”  & 14” outboard space (capacity 4 liters +)

Figure 1. LRAUV Configurations

- Options Collection

  - Direct pump

    - Simplest option

    - Inherently slow acquisition

    - Requires vehicle to hover for entire sample and filter period

    - Pump and fluid path can become contaminated

    - Pump and filter path can be flushed and/or disinfected with agent

  - IV bag filled and emptied by pump

    - As above, but allows vehicle too proceed after sample has been acquired

  - Collapsible IV bag(s) within a water filled vessel, filled and emptied by pump (figure2)

    - One use, IV bags addresses contamination issues

    - Sample size up to 2+ liters

    - Pump creates delta in pressure within vessel, causing IV bag to fill, pump never contacts sample water. Pump reverses forcing sample thru filter

    - Valves required for filtration cycle

    - Number of discreet samples limited to number of bags

    - As is with the directly filled IV bag, vehicle must hover to acquire sample

    - Flushing or disinfecting IV bags problematic

    - Cylinder must be filled with water and sealed on deck

Figure 2. IV Bags within cylinder

  - Gulper type piston and cylinder driven by electric actuator (figure3)

    - Sample size 1.5 liter (contained within Long Nose Cone)

    - Sample size 4 liter (utilizing outboard space)

    - Sample can be rapidly acquired < 5 seconds

    - Gulper can be readily flushed and disinfected

    - Gulper acts as pump and can generate significant pressures

    - Unlimited number of cycles

    - Some water may be entrained in sampler, < 3 ml

    - Gulper can be contaminated by aggressive effluent samples

    - Heaviest option

Figure 3. 1.5 liter Gulper

  - Other Options

    - Storing energy to aid in more rapid sampling and filtering in springs, capacitors, etc.

      - Limits number of samples

      - Adds weight

      - Takes space

      - ???

- Options Sampling

  - Filtered Samples

    - Size and specification of filter (TBD)

    - Some type of manifold required to deliver collected sample to individual filter modules or…

    - Each IV bag and filter are a dedicated unit

    - Fixative may be required

  - Samples Returned for Analysis

    - 50 to 100 ml

    - Stored in in IV bags or syringes

    - IV bags or syringes easily treated with fixative

    - IV bags in the water filled cylinder option could be directly filled

    - Syringes or IV bags in the Gulper option would require a manifold

- Other Considerations

  - Should there be two separate designs?

    - Less than 2 liter sampler (Gulper or IV bag) that lives in the long nose cone and can supply ESP with water samples in addition to doing some, (small scale) sampling for CANON purposes.

    - 4 liter sampler (Gulper or IV bag) that makes use of the outboard space, when vehicle is not configured with ESP, and can better address CANON requirements

  - Available space in ESP pressure housing

    - Space available still TBD

    - Any sampling device housed here must be pressure tolerant to 300 meters

    - For any sample collected in this space any equal amount of water (pre-loaded) in this section must be expelled at depth

  - Software/Control Engineering

    - Core vehicle control engineering will be required

    - ESP interface engineering will be required