## Slide 1: SEABIRD SBE 16+ with C-STAR
SN 16P27581-4198
Returned from Seabird after calibration but not used.
Missing pump and Transmissometer tube.
Probably needs re-calibration before use.
Mark Chaffey Aug. 14, 2017

## Slide 2: SEABIRD SBE 16+ with C-STAR
SN 16P41561-4952
Used on CCE Experiment
No battery
Complete with Transmissometer, pump and backscatter sensor.
Needs refurbishment and calibration before use.
Mark Chaffey Aug. 14, 2017

## Slide 3: SEABIRD CTD SBE 16+ V2 with C-STAR
SN 16P51851-6133
Used on CCE Experiment
No battery
Complete with Transmissometer, pump and backscatter sensor.
Needs refurbishment and calibration before use.
Mark Chaffey Aug. 14, 2017