RMA 1512-1303

SHIPPING ADDRESS:

NortekUSA

27 Drydock Avenue

Boston, MA 02210-2377

Phone: (617)206-5750

Aquadopp Profiler AQD 2071/2053, ISI ID 1553

Problem:

Intermittent serial communications. Serial communications unreliable.

RETURN ADDRESS:

MARK CHAFFEY

MBARI

7700 SANDHOLDT ROAD

MOSS LANDING, CA 95039

PHONE (831) 775-1708