RMA 1512-1303
SHIPPING ADDRESS:
NortekUSA
27 Drydock Avenue
Boston, MA 02210-2377
Phone: (617)206-5750

Aquadopp Profiler AQD 2071/2053, ISI ID 1553

Problem:
Intermittent serial communications. Serial communications unreliable.
RETURN ADDRESS:
MARK CHAFFEY
MBARI
7700 SANDHOLDT ROAD
MOSS LANDING, CA 95039
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