## Slide 1: BIN & Instrument Clock Management
NTP UTC Server
Manually Set Instrument Clocks
System Clock
Set RTC Time to NTP
Battery RTC
Instrument Internal Logging
System Clock
Timestamp Data
Log RTC Time
Battery RTC
Record UTC/RTC Offset
Manually Read Instrument Clocks
System Clock
Battery RTC
Pre-Deployment
Deployment
Post Deployment
Battery Real Time Clock (RTC):
±1 Minute/Year (0°C to +40°C)