## Sheet4
Values
Area cm^2 | Number of seconds | Average of 690 Fluoro minus measure ref | Average of 590 Fluoro minus measure ref
4.9222 | 1 | 80 | 71.5 |  |  |  | Values |  |  |  |  | Values
4.0224 | 1 | 104.3333 | 76.3333 |  |  | Area cm^2 | StdDev of 690 Fluoro minus measure ref | StdDev of 590 Fluoro minus measure ref |  |  | Area cm^2 | Count of 690 Fluoro minus measure ref | Count of 590 Fluoro minus measure ref
3.0136 | 1 | 81 | 77 |  |  | 4.9222 | 21.6216 | 20.0448 |  |  | 4.9222 | 12 | 12
1.9837 | 1 | 62 | 70.3333 |  |  | 4.0224 | 8.7464 | 12.3872 |  |  | 4.0224 | 6 | 6
1.0044 | 1 | 39.6667 | 49.3333 |  |  | 3.0136 | 8.2563 | 6.7602 |  |  | 3.0136 | 6 | 6
0 | 1 | 0.66667 | 23.3333 |  |  | 1.9837 | 10.6521 | 8.8412 |  |  | 1.9837 | 6 | 6
leaf | 1 | 400 | 10.3333 |  |  | 1.0044 | 6.1292 | 10.7257 |  |  | 1.0044 | 6 | 6
Grand Total |  | 105.9583 | 56.2083 |  |  | 0 | 7.8249 | 16.2352 |  |  | 0 | 4 | 4
[6 empty] | leaf | 70.0897 | 8.6939 |  |  | leaf | 4 | 4
[6 empty] | Grand Total | 111.9779 | 27.0397 |  |  | Grand Total | 44 | 44
4.9222 | 2 | 73.8333 | 69.4167
4.0224 | 2 | 95.6667 | 82.8333
3.0136 | 2 | 84.3333 | 81
1.9837 | 2 | 72.6667 | 85.3333
1.0044 | 2 | 47 | 61.8333
0 | 2 | 15.5 | 25
leaf | 2 | 537.5 | -2
Area cm^2 | Number of seconds | Average of 690 Fluoro minus measure ref | Average of 590 Fluoro minus measure ref
4.9222 | 1 | 80 | 71.5
4.0224 | 1 | 104.3333 | 76.3333
3.0136 | 1 | 81 | 77
1.9837 | 1 | 62 | 70.3333
1.0044 | 1 | 39.6667 | 49.3333
0 | 1 | 0.66667 | 23.3333
leaf | 1 | 400 | 10.3333
[5 empty] | Average of 690 Fluoro minus measure ref | StdDev of 690 Fluoro minus measure ref | SE |  | Average of 590 Fluoro minus measure ref | StdDev of 590 Fluoro minus measure ref | SE
|  |  |  | 1.0044 | 43.3333 | 6.1292 | 2.5022 |  | 55.5833 | 10.7257 | 4.3788
|  |  |  | 1.9837 | 67.3333 | 10.6521 | 4.3487 |  | 77.8333 | 8.8412 | 3.6094
|  |  |  | 3.0136 | 82.6667 | 8.2563 | 3.3706 |  | 79 | 6.7602 | 2.7598
|  |  |  | 4.0224 | 100 | 8.7464 | 3.5707 |  | 79.5833 | 12.3872 | 5.057
|  |  |  | 4.9222 | 96.0833 | 6.9744 | 2.8473 |  | 88.25 | 5.9055 | 2.4109

## Sheet1
File name | Pixel area of purple round
sfs:Calibration_Rng_151030-225929 | 2380572 | frosted in air 100% bagged |  | object % size reference | measured area (pixels) | predicted according to linear relationship of first four samples | Under/over sample amount | size (cm^2) VARS | error (%) VARS
sfs:Calibration_Rng_151030-230850 | 2394280 | Frosted in air 100% not bagged |  | 20 | 520408 | 519900 | 508 | 1.0044 | 0.097711
sfs:Calibration_Rng_151030-231843 | 477880 | Polished in air 20% not bagged |  | 40 | 1027840 | 1039800 | -11960 | 1.9837 | -1.1502
sfs:Calibration_Rng_151031-030734 | 2595884 | in water 100% |  | 60 | 1561476 | 1559700 | 1776 | 3.0136 | 0.11387
sfs:Calibration_Rng_151031-032429 | 2084141 | in water 80% |  | 80 | 2084141 | 2079600 | 4541 | 4.0224 | 0.21836
sfs:Calibration_Rng_151031-034158 | 1561476 | in water 60% |  | 100 | 2550388 | 2599500 | -49112 | 4.9222 | -1.8893
sfs:Calibration_Rng_151031-035716 | 1027840 | in water 40%
sfs:Calibration_Rng_151031-041331 | 520408 | in water 20%
sfs:Calibration_Rng_151031-043050 | 2550388 | in water 100%
sfs:Calibration_Rng_151031-024029 | 1666811 | leaf
|  |  | SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Number of seconds | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | ImageJ area UW | Predicted | 690 Fluoro minus measure ref | 590 Fluoro minus measure ref | Area cm^2 | 690 Fluoro minus measure ref COUNTS PER SECOND | 590 Fluoro minus measure ref COUNTS PER SECOND
|  |  | 2015-10-31T02:10:52.84 | 1000 | 3 | 0 | 1000 | 1 | 439 | 1072 | 1000 | 3 | 0 | 1000 | 437 | 1102 | 1000 | 3 | 1 | 0 | 0 |  | -2 | 30 | 0 | -2 | 30
|  |  | 2015-10-31T02:12:10.84 | 1000 | 3 | 1 | 1000 | 1 | 437 | 1062 | 1000 | 3 | 0 | 1000 | 437 | 1101 | 1000 | 6 | 0 | 0 | 0 |  | 0 | 39 | 0 | 0 | 39
|  |  | 2015-10-31T02:13:28.84 | 1000 | 3 | 0 | 1000 | 1 | 435 | 1079 | 1000 | 2 | 0 | 1000 | 439 | 1080 | 1000 | 4 | 0 | 0 | 0 |  | 4 | 1 | 0 | 4 | 1
|  |  | 2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 2 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0 | 0 |  | 15.5 | 25 | 0 | 7.75 | 12.5
|  |  | 2015-10-31T02:35:25.66 | 1000 | 3 | 1 | 1000 | 1 | 442 | 1064 | 1000 | 3 | 0 | 1000 | 827 | 1074 | 1000 | 4 | 0 | leaf | 1666811 |  | 385 | 10 | leaf | 385 | 10
|  |  | 2015-10-31T02:36:43.70 | 1000 | 3 | 1 | 1000 | 1 | 434 | 1065 | 1000 | 3 | 1 | 1000 | 831 | 1083 | 1000 | 4 | 1 | leaf | 1666811 |  | 397 | 18 | leaf | 397 | 18
|  |  | 2015-10-31T02:38:01.80 | 1000 | 3 | 1 | 1000 | 1 | 440 | 1070 | 1000 | 2 | 1 | 1000 | 858 | 1073 | 1000 | 3 | 0 | leaf | 1666811 |  | 418 | 3 | leaf | 418 | 3
|  |  | 2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 2 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf | 1666811 |  | 537.5 | -2 | leaf | 268.75 | -1
|  |  | 2015-10-31T02:59:42.65 | 1000 | 3 | 0 | 1000 | 1 | 433 | 1059 | 1000 | 4 | 1 | 1000 | 490 | 1112 | 1000 | 2 | 0 | 1 | 2550388 | 2599500 | 57 | 53 | 4.9222 | 57 | 53
|  |  | 2015-10-31T03:01:00.61 | 1000 | 3 | 0 | 1000 | 1 | 425 | 1072 | 1000 | 3 | 1 | 1000 | 483 | 1109 | 1000 | 3 | 0 | 1 | 2550388 | 2599500 | 58 | 37 | 4.9222 | 58 | 37
|  |  | 2015-10-31T03:02:20.56 | 1000 | 2 | 0 | 1000 | 1 | 423 | 1059 | 1000 | 4 | 0 | 1000 | 490 | 1124 | 1000 | 3 | 0 | 1 | 2550388 | 2599500 | 67 | 65 | 4.9222 | 67 | 65
|  |  | 2015-10-31T03:03:43.54 | 2000 | 6 | 0 | 2000 | 2 | 855 | 2124 | 2000 | 6 | 0 | 2000 | 983 | 2221 | 2000 | 6 | 1 | 1 | 2550388 | 2599500 | 64 | 48.5 | 4.9222 | 32 | 24.25
|  |  | 2015-10-31T03:05:06.79 | 2000 | 7 | 1 | 2000 | 2 | 877 | 2116 | 2000 | 7 | 0 | 2000 | 955 | 2225 | 2000 | 7 | 0 | 1 | 2550388 | 2599500 | 39 | 54.5 | 4.9222 | 19.5 | 27.25
|  |  | 2015-10-31T03:06:29.90 | 2000 | 6 | 0 | 2000 | 2 | 850 | 2126 | 2000 | 6 | 0 | 2000 | 973 | 2242 | 2000 | 7 | 0 | 1 | 2550388 | 2599500 | 61.5 | 58 | 4.9222 | 30.75 | 29
|  |  | 2015-10-31T03:16:41.95 | 1000 | 2 | 0 | 1000 | 1 | 425 | 1083 | 1000 | 2 | 0 | 1000 | 542 | 1139 | 1000 | 2 | 1 | 0.8 | 2084141 | 2079600 | 117 | 56 | 4.0224 | 117 | 56
|  |  | 2015-10-31T03:17:59.85 | 1000 | 3 | 0 | 1000 | 1 | 430 | 1074 | 1000 | 4 | 1 | 1000 | 528 | 1159 | 1000 | 3 | 0 | 0.8 | 2084141 | 2079600 | 98 | 85 | 4.0224 | 98 | 85
|  |  | 2015-10-31T03:19:17.91 | 1000 | 2 | 0 | 1000 | 1 | 425 | 1065 | 1000 | 2 | 1 | 1000 | 523 | 1153 | 1000 | 3 | 0 | 0.8 | 2084141 | 2079600 | 98 | 88 | 4.0224 | 98 | 88
|  |  | 2015-10-31T03:20:40.14 | 2000 | 7 | 0 | 2000 | 2 | 872 | 2154 | 2000 | 6 | 0 | 2000 | 1065 | 2333 | 2000 | 7 | 0 | 0.8 | 2084141 | 2079600 | 96.5 | 89.5 | 4.0224 | 48.25 | 44.75
|  |  | 2015-10-31T03:22:03.35 | 2000 | 6 | 0 | 2000 | 2 | 870 | 2162 | 2000 | 7 | 0 | 2000 | 1053 | 2316 | 2000 | 6 | 0 | 0.8 | 2084141 | 2079600 | 91.5 | 77 | 4.0224 | 45.75 | 38.5
|  |  | 2015-10-31T03:23:26.42 | 2000 | 7 | 0 | 2000 | 2 | 871 | 2171 | 2000 | 7 | 0 | 2000 | 1069 | 2335 | 2000 | 7 | 0 | 0.8 | 2084141 | 2079600 | 99 | 82 | 4.0224 | 49.5 | 41
|  |  | 2015-10-31T03:34:10.20 | 1000 | 2 | 1 | 1000 | 1 | 431 | 1075 | 1000 | 4 | 0 | 1000 | 506 | 1161 | 1000 | 3 | 0 | 0.6 | 1561476 | 1559700 | 75 | 86 | 3.0136 | 75 | 86
|  |  | 2015-10-31T03:35:28.21 | 1000 | 2 | 1 | 1000 | 1 | 432 | 1065 | 1000 | 2 | 1 | 1000 | 518 | 1136 | 1000 | 3 | 0 | 0.6 | 1561476 | 1559700 | 86 | 71 | 3.0136 | 86 | 71
|  |  | 2015-10-31T03:36:46.17 | 1000 | 3 | 1 | 1000 | 1 | 437 | 1083 | 1000 | 4 | 0 | 1000 | 519 | 1157 | 1000 | 4 | 1 | 0.6 | 1561476 | 1559700 | 82 | 74 | 3.0136 | 82 | 74
|  |  | 2015-10-31T03:38:09.16 | 2000 | 8 | 0 | 2000 | 2 | 868 | 2152 | 2000 | 6 | 0 | 2000 | 1044 | 2301 | 2000 | 7 | 0 | 0.6 | 1561476 | 1559700 | 88 | 74.5 | 3.0136 | 44 | 37.25
|  |  | 2015-10-31T03:39:32.21 | 2000 | 6 | 0 | 2000 | 2 | 886 | 2132 | 2000 | 7 | 0 | 2000 | 1029 | 2295 | 2000 | 6 | 1 | 0.6 | 1561476 | 1559700 | 71.5 | 81.5 | 3.0136 | 35.75 | 40.75
|  |  | 2015-10-31T03:40:55.26 | 2000 | 6 | 0 | 2000 | 2 | 859 | 2117 | 2000 | 7 | 0 | 2000 | 1046 | 2291 | 2000 | 7 | 0 | 0.6 | 1561476 | 1559700 | 93.5 | 87 | 3.0136 | 46.75 | 43.5
|  |  | 2015-10-31T03:49:26.93 | 1000 | 4 | 0 | 1000 | 1 | 433 | 1087 | 1000 | 3 | 0 | 1000 | 503 | 1158 | 1000 | 3 | 0 | 0.4 | 1027840 | 1039800 | 70 | 71 | 1.9837 | 70 | 71
|  |  | 2015-10-31T03:50:45.13 | 1000 | 3 | 1 | 1000 | 1 | 444 | 1071 | 1000 | 3 | 1 | 1000 | 490 | 1139 | 1000 | 3 | 0 | 0.4 | 1027840 | 1039800 | 46 | 68 | 1.9837 | 46 | 68
|  |  | 2015-10-31T03:52:03.37 | 1000 | 2 | 0 | 1000 | 1 | 436 | 1077 | 1000 | 5 | 0 | 1000 | 506 | 1149 | 1000 | 2 | 0 | 0.4 | 1027840 | 1039800 | 70 | 72 | 1.9837 | 70 | 72
|  |  | 2015-10-31T03:53:26.57 | 2000 | 7 | 0 | 2000 | 2 | 889 | 2147 | 2000 | 6 | 1 | 2000 | 1029 | 2321 | 2000 | 10 | 0 | 0.4 | 1027840 | 1039800 | 70 | 87 | 1.9837 | 35 | 43.5
|  |  | 2015-10-31T03:54:49.91 | 2000 | 6 | 0 | 2000 | 2 | 865 | 2140 | 2000 | 5 | 0 | 2000 | 1015 | 2318 | 2000 | 7 | 1 | 0.4 | 1027840 | 1039800 | 75 | 89 | 1.9837 | 37.5 | 44.5
|  |  | 2015-10-31T03:56:13.29 | 2000 | 6 | 0 | 2000 | 2 | 883 | 2167 | 2000 | 5 | 0 | 2000 | 1029 | 2327 | 2000 | 5 | 1 | 0.4 | 1027840 | 1039800 | 73 | 80 | 1.9837 | 36.5 | 40
|  |  | 2015-10-31T04:05:42.74 | 1000 | 3 | 0 | 1000 | 1 | 437 | 1079 | 1000 | 3 | 0 | 1000 | 471 | 1122 | 1000 | 3 | 0 | 0.2 | 520408 | 519900 | 34 | 43 | 1.0044 | 34 | 43
|  |  | 2015-10-31T04:07:00.69 | 1000 | 3 | 0 | 1000 | 1 | 432 | 1072 | 1000 | 3 | 0 | 1000 | 472 | 1133 | 1000 | 2 | 0 | 0.2 | 520408 | 519900 | 40 | 61 | 1.0044 | 40 | 61
|  |  | 2015-10-31T04:08:18.68 | 1000 | 2 | 0 | 1000 | 1 | 428 | 1069 | 1000 | 4 | 0 | 1000 | 473 | 1113 | 1000 | 3 | 0 | 0.2 | 520408 | 519900 | 45 | 44 | 1.0044 | 45 | 44
|  |  | 2015-10-31T04:09:41.66 | 2000 | 8 | 0 | 2000 | 2 | 861 | 2176 | 2000 | 7 | 0 | 2000 | 951 | 2283 | 2000 | 7 | 1 | 0.2 | 520408 | 519900 | 45 | 53.5 | 1.0044 | 22.5 | 26.75
|  |  | 2015-10-31T04:11:04.88 | 2000 | 8 | 0 | 2000 | 2 | 851 | 2137 | 2000 | 6 | 0 | 2000 | 956 | 2261 | 2000 | 8 | 1 | 0.2 | 520408 | 519900 | 52.5 | 62 | 1.0044 | 26.25 | 31
|  |  | 2015-10-31T04:12:28.56 | 2000 | 6 | 0 | 2000 | 2 | 869 | 2132 | 2000 | 7 | 0 | 2000 | 956 | 2272 | 2000 | 6 | 0 | 0.2 | 520408 | 519900 | 43.5 | 70 | 1.0044 | 21.75 | 35
|  |  | 2015-10-31T04:23:01.82 | 1000 | 3 | 0 | 1000 | 1 | 432 | 1074 | 1000 | 2 | 1 | 1000 | 526 | 1162 | 1000 | 4 | 0 | 1 | 2550388 | 2599500 | 94 | 88 | 4.9222 | 94 | 88
|  |  | 2015-10-31T04:24:19.86 | 1000 | 3 | 0 | 1000 | 1 | 423 | 1060 | 1000 | 2 | 1 | 1000 | 529 | 1149 | 1000 | 3 | 1 | 1 | 2550388 | 2599500 | 106 | 89 | 4.9222 | 106 | 89
|  |  | 2015-10-31T04:25:37.86 | 1000 | 4 | 1 | 1000 | 1 | 433 | 1079 | 1000 | 3 | 0 | 1000 | 531 | 1176 | 1000 | 3 | 0 | 1 | 2550388 | 2599500 | 98 | 97 | 4.9222 | 98 | 97
|  |  | 2015-10-31T04:27:00.88 | 2000 | 6 | 1 | 2000 | 2 | 888 | 2144 | 2000 | 7 | 0 | 2000 | 1059 | 2323 | 2000 | 7 | 1 | 1 | 2550388 | 2599500 | 85.5 | 89.5 | 4.9222 | 42.75 | 44.75
|  |  | 2015-10-31T04:28:24.69 | 2000 | 7 | 0 | 2000 | 2 | 854 | 2138 | 2000 | 8 | 0 | 2000 | 1054 | 2295 | 2000 | 9 | 0 | 1 | 2550388 | 2599500 | 100 | 78.5 | 4.9222 | 50 | 39.25
|  |  | 2015-10-31T04:29:47.13 | 2000 | 6 | 1 | 2000 | 2 | 861 | 2132 | 2000 | 8 | 0 | 2000 | 1047 | 2307 | 2000 | 7 | 0 | 1 | 2550388 | 2599500 | 93 | 87.5 | 4.9222 | 46.5 | 43.75