## Sheet1
File name | Pixel area of purple round
sfs:Calibration_Rng_151030-225929 | 2380572 | frosted in air 100% bagged |  | object % size reference | measured area (pixels) | predicted according to linear relationship of first four samples | Under/over sample amount
sfs:Calibration_Rng_151030-230850 | 2394280 | Frosted in air 100% not bagged |  | 20 | 520408 | 519900 | 508
sfs:Calibration_Rng_151030-231843 | 477880 | Polished in air 20% not bagged |  | 40 | 1027840 | 1039800 | -11960
sfs:Calibration_Rng_151031-030734 | 2595884 | in water 100% |  | 60 | 1561476 | 1559700 | 1776
sfs:Calibration_Rng_151031-032429 | 2084141 | in water 80% |  | 80 | 2084141 | 2079600 | 4541
sfs:Calibration_Rng_151031-034158 | 1561476 | in water 60% |  | 100 | 2550388 | 2599500 | -49112
sfs:Calibration_Rng_151031-035716 | 1027840 | in water 40%
sfs:Calibration_Rng_151031-041331 | 520408 | in water 20%
sfs:Calibration_Rng_151031-043050 | 2550388 | in water 100%
sfs:Calibration_Rng_151031-024029 | 1666811 | leaf
|  |  | SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | ImageJ area UW | Predicted
|  |  | 2015-10-31T02:10:52.84 | 1000 | 3 | 0 | 1000 | 439 | 1072 | 1000 | 3 | 0 | 1000 | 437 | 1102 | 1000 | 3 | 1 | 0 | 0
|  |  | 2015-10-31T02:12:10.84 | 1000 | 3 | 1 | 1000 | 437 | 1062 | 1000 | 3 | 0 | 1000 | 437 | 1101 | 1000 | 6 | 0 | 0 | 0
|  |  | 2015-10-31T02:13:28.84 | 1000 | 3 | 0 | 1000 | 435 | 1079 | 1000 | 2 | 0 | 1000 | 439 | 1080 | 1000 | 4 | 0 | 0 | 0
|  |  | 2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0 | 0
|  |  | 2015-10-31T02:35:25.66 | 1000 | 3 | 1 | 1000 | 442 | 1064 | 1000 | 3 | 0 | 1000 | 827 | 1074 | 1000 | 4 | 0 | leaf | 1666811
|  |  | 2015-10-31T02:36:43.70 | 1000 | 3 | 1 | 1000 | 434 | 1065 | 1000 | 3 | 1 | 1000 | 831 | 1083 | 1000 | 4 | 1 | leaf | 1666811
|  |  | 2015-10-31T02:38:01.80 | 1000 | 3 | 1 | 1000 | 440 | 1070 | 1000 | 2 | 1 | 1000 | 858 | 1073 | 1000 | 3 | 0 | leaf | 1666811
|  |  | 2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf | 1666811
|  |  | 2015-10-31T02:59:42.65 | 1000 | 3 | 0 | 1000 | 433 | 1059 | 1000 | 4 | 1 | 1000 | 490 | 1112 | 1000 | 2 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T03:01:00.61 | 1000 | 3 | 0 | 1000 | 425 | 1072 | 1000 | 3 | 1 | 1000 | 483 | 1109 | 1000 | 3 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T03:02:20.56 | 1000 | 2 | 0 | 1000 | 423 | 1059 | 1000 | 4 | 0 | 1000 | 490 | 1124 | 1000 | 3 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T03:03:43.54 | 2000 | 6 | 0 | 2000 | 855 | 2124 | 2000 | 6 | 0 | 2000 | 983 | 2221 | 2000 | 6 | 1 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T03:05:06.79 | 2000 | 7 | 1 | 2000 | 877 | 2116 | 2000 | 7 | 0 | 2000 | 955 | 2225 | 2000 | 7 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T03:06:29.90 | 2000 | 6 | 0 | 2000 | 850 | 2126 | 2000 | 6 | 0 | 2000 | 973 | 2242 | 2000 | 7 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T03:16:41.95 | 1000 | 2 | 0 | 1000 | 425 | 1083 | 1000 | 2 | 0 | 1000 | 542 | 1139 | 1000 | 2 | 1 | 0.8 | 2084141 | 2079600
|  |  | 2015-10-31T03:17:59.85 | 1000 | 3 | 0 | 1000 | 430 | 1074 | 1000 | 4 | 1 | 1000 | 528 | 1159 | 1000 | 3 | 0 | 0.8 | 2084141 | 2079600
|  |  | 2015-10-31T03:19:17.91 | 1000 | 2 | 0 | 1000 | 425 | 1065 | 1000 | 2 | 1 | 1000 | 523 | 1153 | 1000 | 3 | 0 | 0.8 | 2084141 | 2079600
|  |  | 2015-10-31T03:20:40.14 | 2000 | 7 | 0 | 2000 | 872 | 2154 | 2000 | 6 | 0 | 2000 | 1065 | 2333 | 2000 | 7 | 0 | 0.8 | 2084141 | 2079600
|  |  | 2015-10-31T03:22:03.35 | 2000 | 6 | 0 | 2000 | 870 | 2162 | 2000 | 7 | 0 | 2000 | 1053 | 2316 | 2000 | 6 | 0 | 0.8 | 2084141 | 2079600
|  |  | 2015-10-31T03:23:26.42 | 2000 | 7 | 0 | 2000 | 871 | 2171 | 2000 | 7 | 0 | 2000 | 1069 | 2335 | 2000 | 7 | 0 | 0.8 | 2084141 | 2079600
|  |  | 2015-10-31T03:34:10.20 | 1000 | 2 | 1 | 1000 | 431 | 1075 | 1000 | 4 | 0 | 1000 | 506 | 1161 | 1000 | 3 | 0 | 0.6 | 1561476 | 1559700
|  |  | 2015-10-31T03:35:28.21 | 1000 | 2 | 1 | 1000 | 432 | 1065 | 1000 | 2 | 1 | 1000 | 518 | 1136 | 1000 | 3 | 0 | 0.6 | 1561476 | 1559700
|  |  | 2015-10-31T03:36:46.17 | 1000 | 3 | 1 | 1000 | 437 | 1083 | 1000 | 4 | 0 | 1000 | 519 | 1157 | 1000 | 4 | 1 | 0.6 | 1561476 | 1559700
|  |  | 2015-10-31T03:38:09.16 | 2000 | 8 | 0 | 2000 | 868 | 2152 | 2000 | 6 | 0 | 2000 | 1044 | 2301 | 2000 | 7 | 0 | 0.6 | 1561476 | 1559700
|  |  | 2015-10-31T03:39:32.21 | 2000 | 6 | 0 | 2000 | 886 | 2132 | 2000 | 7 | 0 | 2000 | 1029 | 2295 | 2000 | 6 | 1 | 0.6 | 1561476 | 1559700
|  |  | 2015-10-31T03:40:55.26 | 2000 | 6 | 0 | 2000 | 859 | 2117 | 2000 | 7 | 0 | 2000 | 1046 | 2291 | 2000 | 7 | 0 | 0.6 | 1561476 | 1559700
|  |  | 2015-10-31T03:49:26.93 | 1000 | 4 | 0 | 1000 | 433 | 1087 | 1000 | 3 | 0 | 1000 | 503 | 1158 | 1000 | 3 | 0 | 0.4 | 1027840 | 1039800
|  |  | 2015-10-31T03:50:45.13 | 1000 | 3 | 1 | 1000 | 444 | 1071 | 1000 | 3 | 1 | 1000 | 490 | 1139 | 1000 | 3 | 0 | 0.4 | 1027840 | 1039800
|  |  | 2015-10-31T03:52:03.37 | 1000 | 2 | 0 | 1000 | 436 | 1077 | 1000 | 5 | 0 | 1000 | 506 | 1149 | 1000 | 2 | 0 | 0.4 | 1027840 | 1039800
|  |  | 2015-10-31T03:53:26.57 | 2000 | 7 | 0 | 2000 | 889 | 2147 | 2000 | 6 | 1 | 2000 | 1029 | 2321 | 2000 | 10 | 0 | 0.4 | 1027840 | 1039800
|  |  | 2015-10-31T03:54:49.91 | 2000 | 6 | 0 | 2000 | 865 | 2140 | 2000 | 5 | 0 | 2000 | 1015 | 2318 | 2000 | 7 | 1 | 0.4 | 1027840 | 1039800
|  |  | 2015-10-31T03:56:13.29 | 2000 | 6 | 0 | 2000 | 883 | 2167 | 2000 | 5 | 0 | 2000 | 1029 | 2327 | 2000 | 5 | 1 | 0.4 | 1027840 | 1039800
|  |  | 2015-10-31T04:05:42.74 | 1000 | 3 | 0 | 1000 | 437 | 1079 | 1000 | 3 | 0 | 1000 | 471 | 1122 | 1000 | 3 | 0 | 0.2 | 520408 | 519900
|  |  | 2015-10-31T04:07:00.69 | 1000 | 3 | 0 | 1000 | 432 | 1072 | 1000 | 3 | 0 | 1000 | 472 | 1133 | 1000 | 2 | 0 | 0.2 | 520408 | 519900
|  |  | 2015-10-31T04:08:18.68 | 1000 | 2 | 0 | 1000 | 428 | 1069 | 1000 | 4 | 0 | 1000 | 473 | 1113 | 1000 | 3 | 0 | 0.2 | 520408 | 519900
|  |  | 2015-10-31T04:09:41.66 | 2000 | 8 | 0 | 2000 | 861 | 2176 | 2000 | 7 | 0 | 2000 | 951 | 2283 | 2000 | 7 | 1 | 0.2 | 520408 | 519900
|  |  | 2015-10-31T04:11:04.88 | 2000 | 8 | 0 | 2000 | 851 | 2137 | 2000 | 6 | 0 | 2000 | 956 | 2261 | 2000 | 8 | 1 | 0.2 | 520408 | 519900
|  |  | 2015-10-31T04:12:28.56 | 2000 | 6 | 0 | 2000 | 869 | 2132 | 2000 | 7 | 0 | 2000 | 956 | 2272 | 2000 | 6 | 0 | 0.2 | 520408 | 519900
|  |  | 2015-10-31T04:23:01.82 | 1000 | 3 | 0 | 1000 | 432 | 1074 | 1000 | 2 | 1 | 1000 | 526 | 1162 | 1000 | 4 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T04:24:19.86 | 1000 | 3 | 0 | 1000 | 423 | 1060 | 1000 | 2 | 1 | 1000 | 529 | 1149 | 1000 | 3 | 1 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T04:25:37.86 | 1000 | 4 | 1 | 1000 | 433 | 1079 | 1000 | 3 | 0 | 1000 | 531 | 1176 | 1000 | 3 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T04:27:00.88 | 2000 | 6 | 1 | 2000 | 888 | 2144 | 2000 | 7 | 0 | 2000 | 1059 | 2323 | 2000 | 7 | 1 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T04:28:24.69 | 2000 | 7 | 0 | 2000 | 854 | 2138 | 2000 | 8 | 0 | 2000 | 1054 | 2295 | 2000 | 9 | 0 | 1 | 2550388 | 2599500
|  |  | 2015-10-31T04:29:47.13 | 2000 | 6 | 1 | 2000 | 861 | 2132 | 2000 | 8 | 0 | 2000 | 1047 | 2307 | 2000 | 7 | 0 | 1 | 2550388 | 2599500