## calibration 10 thru 17
SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Seconds | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | Area cm^2 | RAW data 690 | RAW data 590 | counts per second 690 | counts per second 590 | 690 second higher (1-tailed p Wilcoxon mann whitney) | 590 second higher (1-tailed p Wilcoxon mann whitney)
2015-10-31T02:10:52.84 | 1000 | 3 | 0 | 1000 | 439 | 1072 | 1000 | 3 | 0 | 1000 | 1 | 437 | 1102 | 1000 | 3 | 1 | 0% | 0 | -2 | 30 | -2 | 30
2015-10-31T02:12:10.84 | 1000 | 3 | 1 | 1000 | 437 | 1062 | 1000 | 3 | 0 | 1000 | 1 | 437 | 1101 | 1000 | 6 | 0 | 0% | 0 | 0 | 39 | 0 | 39
2015-10-31T02:13:28.84 | 1000 | 3 | 0 | 1000 | 435 | 1079 | 1000 | 2 | 0 | 1000 | 1 | 439 | 1080 | 1000 | 4 | 0 | 0% | 0 | 4 | 1 | 4 | 1
2015-10-31T04:05:42.74 | 1000 | 3 | 0 | 1000 | 437 | 1079 | 1000 | 3 | 0 | 1000 | 1 | 471 | 1122 | 1000 | 3 | 0 | 20% | 1.0044 | 34 | 43 | 34 | 43 | 0.0693 | 0.0633
2015-10-31T04:07:00.69 | 1000 | 3 | 0 | 1000 | 432 | 1072 | 1000 | 3 | 0 | 1000 | 1 | 472 | 1133 | 1000 | 2 | 0 | 20% | 1.0044 | 40 | 61 | 40 | 61 | 0.0693 | 0.0633
2015-10-31T04:08:18.68 | 1000 | 2 | 0 | 1000 | 428 | 1069 | 1000 | 4 | 0 | 1000 | 1 | 473 | 1113 | 1000 | 3 | 0 | 20% | 1.0044 | 45 | 44 | 45 | 44 | 0.0693 | 0.0633
2015-10-31T03:49:26.93 | 1000 | 4 | 0 | 1000 | 433 | 1087 | 1000 | 3 | 0 | 1000 | 1 | 503 | 1158 | 1000 | 3 | 0 | 40% | 1.9837 | 70 | 71 | 70 | 71 | 0.0523 | 0.0248
2015-10-31T03:50:45.13 | 1000 | 3 | 1 | 1000 | 444 | 1071 | 1000 | 3 | 1 | 1000 | 1 | 490 | 1139 | 1000 | 3 | 0 | 40% | 1.9837 | 46 | 68 | 46 | 68 | 0.0523 | 0.0248
2015-10-31T03:52:03.37 | 1000 | 2 | 0 | 1000 | 436 | 1077 | 1000 | 5 | 0 | 1000 | 1 | 506 | 1149 | 1000 | 2 | 0 | 40% | 1.9837 | 70 | 72 | 70 | 72 | 0.0523 | 0.0248
2015-10-31T03:34:10.20 | 1000 | 2 | 1 | 1000 | 431 | 1075 | 1000 | 4 | 0 | 1000 | 1 | 506 | 1161 | 1000 | 3 | 0 | 60% | 3.0136 | 75 | 86 | 75 | 86 | 0.2563 | 0.1376
2015-10-31T03:35:28.21 | 1000 | 2 | 1 | 1000 | 432 | 1065 | 1000 | 2 | 1 | 1000 | 1 | 518 | 1136 | 1000 | 3 | 0 | 60% | 3.0136 | 86 | 71 | 86 | 71 | 0.2563 | 0.1376
2015-10-31T03:36:46.17 | 1000 | 3 | 1 | 1000 | 437 | 1083 | 1000 | 4 | 0 | 1000 | 1 | 519 | 1157 | 1000 | 4 | 1 | 60% | 3.0136 | 82 | 74 | 82 | 74 | 0.2563 | 0.1376
2015-10-31T03:16:41.95 | 1000 | 2 | 0 | 1000 | 425 | 1083 | 1000 | 2 | 0 | 1000 | 1 | 542 | 1139 | 1000 | 2 | 1 | 80% | 4.0224 | 117 | 56 | 117 | 56 | 0.1341 | 0.4136
2015-10-31T03:17:59.85 | 1000 | 3 | 0 | 1000 | 430 | 1074 | 1000 | 4 | 1 | 1000 | 1 | 528 | 1159 | 1000 | 3 | 0 | 80% | 4.0224 | 98 | 85 | 98 | 85 | 0.1341 | 0.4136
2015-10-31T03:19:17.91 | 1000 | 2 | 0 | 1000 | 425 | 1065 | 1000 | 2 | 1 | 1000 | 1 | 523 | 1153 | 1000 | 3 | 0 | 80% | 4.0224 | 98 | 88 | 98 | 88 | 0.1341 | 0.4136
2015-10-31T02:59:42.65 | 1000 | 3 | 0 | 1000 | 433 | 1059 | 1000 | 4 | 1 | 1000 | 1 | 490 | 1112 | 1000 | 2 | 0 | 100% | 4.9222 | 57 | 53 | 57 | 53
2015-10-31T03:01:00.61 | 1000 | 3 | 0 | 1000 | 425 | 1072 | 1000 | 3 | 1 | 1000 | 1 | 483 | 1109 | 1000 | 3 | 0 | 100% | 4.9222 | 58 | 37 | 58 | 37
2015-10-31T03:02:20.56 | 1000 | 2 | 0 | 1000 | 423 | 1059 | 1000 | 4 | 0 | 1000 | 1 | 490 | 1124 | 1000 | 3 | 0 | 100% | 4.9222 | 67 | 65 | 67 | 65
2015-10-31T04:23:01.82 | 1000 | 3 | 0 | 1000 | 432 | 1074 | 1000 | 2 | 1 | 1000 | 1 | 526 | 1162 | 1000 | 4 | 0 | 100% | 4.9222 | 94 | 88 | 94 | 88
2015-10-31T04:24:19.86 | 1000 | 3 | 0 | 1000 | 423 | 1060 | 1000 | 2 | 1 | 1000 | 1 | 529 | 1149 | 1000 | 3 | 1 | 100% | 4.9222 | 106 | 89 | 106 | 89
2015-10-31T04:25:37.86 | 1000 | 4 | 1 | 1000 | 433 | 1079 | 1000 | 3 | 0 | 1000 | 1 | 531 | 1176 | 1000 | 3 | 0 | 100% | 4.9222 | 98 | 97 | 98 | 97
2015-10-31T02:35:25.66 | 1000 | 3 | 1 | 1000 | 442 | 1064 | 1000 | 3 | 0 | 1000 | 1 | 827 | 1074 | 1000 | 4 | 0 | leaf | 3.1781 | 385 | 10 | 385 | 10
2015-10-31T02:36:43.70 | 1000 | 3 | 1 | 1000 | 434 | 1065 | 1000 | 3 | 1 | 1000 | 1 | 831 | 1083 | 1000 | 4 | 1 | leaf | 3.1781 | 397 | 18 | 397 | 18
2015-10-31T02:38:01.80 | 1000 | 3 | 1 | 1000 | 440 | 1070 | 1000 | 2 | 1 | 1000 | 1 | 858 | 1073 | 1000 | 3 | 0 | leaf | 3.1781 | 418 | 3 | 418 | 3
2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 2 | 889 | 2178 | 2000 | 7 | 1 | 0% | 0 | 31 | 50 | 15.5 | 25
2015-10-31T04:09:41.66 | 2000 | 8 | 0 | 2000 | 861 | 2176 | 2000 | 7 | 0 | 2000 | 2 | 951 | 2283 | 2000 | 7 | 1 | 20% | 1.0044 | 90 | 107 | 45 | 53.5 | 0.0693 | 0.0633
2015-10-31T04:11:04.88 | 2000 | 8 | 0 | 2000 | 851 | 2137 | 2000 | 6 | 0 | 2000 | 2 | 956 | 2261 | 2000 | 8 | 1 | 20% | 1.0044 | 105 | 124 | 52.5 | 62 | 0.0693 | 0.0633
2015-10-31T04:12:28.56 | 2000 | 6 | 0 | 2000 | 869 | 2132 | 2000 | 7 | 0 | 2000 | 2 | 956 | 2272 | 2000 | 6 | 0 | 20% | 1.0044 | 87 | 140 | 43.5 | 70 | 0.0693 | 0.0633
2015-10-31T03:53:26.57 | 2000 | 7 | 0 | 2000 | 889 | 2147 | 2000 | 6 | 1 | 2000 | 2 | 1029 | 2321 | 2000 | 10 | 0 | 40% | 1.9837 | 140 | 174 | 70 | 87 | 0.0523 | 0.0248
2015-10-31T03:54:49.91 | 2000 | 6 | 0 | 2000 | 865 | 2140 | 2000 | 5 | 0 | 2000 | 2 | 1015 | 2318 | 2000 | 7 | 1 | 40% | 1.9837 | 150 | 178 | 75 | 89 | 0.0523 | 0.0248
2015-10-31T03:56:13.29 | 2000 | 6 | 0 | 2000 | 883 | 2167 | 2000 | 5 | 0 | 2000 | 2 | 1029 | 2327 | 2000 | 5 | 1 | 40% | 1.9837 | 146 | 160 | 73 | 80 | 0.0523 | 0.0248
2015-10-31T03:38:09.16 | 2000 | 8 | 0 | 2000 | 868 | 2152 | 2000 | 6 | 0 | 2000 | 2 | 1044 | 2301 | 2000 | 7 | 0 | 60% | 3.0136 | 176 | 149 | 88 | 74.5 | 0.2563 | 0.1376
2015-10-31T03:39:32.21 | 2000 | 6 | 0 | 2000 | 886 | 2132 | 2000 | 7 | 0 | 2000 | 2 | 1029 | 2295 | 2000 | 6 | 1 | 60% | 3.0136 | 143 | 163 | 71.5 | 81.5 | 0.2563 | 0.1376
2015-10-31T03:40:55.26 | 2000 | 6 | 0 | 2000 | 859 | 2117 | 2000 | 7 | 0 | 2000 | 2 | 1046 | 2291 | 2000 | 7 | 0 | 60% | 3.0136 | 187 | 174 | 93.5 | 87 | 0.2563 | 0.1376
2015-10-31T03:20:40.14 | 2000 | 7 | 0 | 2000 | 872 | 2154 | 2000 | 6 | 0 | 2000 | 2 | 1065 | 2333 | 2000 | 7 | 0 | 80% | 4.0224 | 193 | 179 | 96.5 | 89.5 | 0.1341 | 0.4136
2015-10-31T03:22:03.35 | 2000 | 6 | 0 | 2000 | 870 | 2162 | 2000 | 7 | 0 | 2000 | 2 | 1053 | 2316 | 2000 | 6 | 0 | 80% | 4.0224 | 183 | 154 | 91.5 | 77 | 0.1341 | 0.4136
2015-10-31T03:23:26.42 | 2000 | 7 | 0 | 2000 | 871 | 2171 | 2000 | 7 | 0 | 2000 | 2 | 1069 | 2335 | 2000 | 7 | 0 | 80% | 4.0224 | 198 | 164 | 99 | 82 | 0.1341 | 0.4136
2015-10-31T03:03:43.54 | 2000 | 6 | 0 | 2000 | 855 | 2124 | 2000 | 6 | 0 | 2000 | 2 | 983 | 2221 | 2000 | 6 | 1 | 100% | 4.9222 | 128 | 97 | 64 | 48.5
2015-10-31T03:05:06.79 | 2000 | 7 | 1 | 2000 | 877 | 2116 | 2000 | 7 | 0 | 2000 | 2 | 955 | 2225 | 2000 | 7 | 0 | 100% | 4.9222 | 78 | 109 | 39 | 54.5
2015-10-31T03:06:29.90 | 2000 | 6 | 0 | 2000 | 850 | 2126 | 2000 | 6 | 0 | 2000 | 2 | 973 | 2242 | 2000 | 7 | 0 | 100% | 4.9222 | 123 | 116 | 61.5 | 58
2015-10-31T04:27:00.88 | 2000 | 6 | 1 | 2000 | 888 | 2144 | 2000 | 7 | 0 | 2000 | 2 | 1059 | 2323 | 2000 | 7 | 1 | 100% | 4.9222 | 171 | 179 | 85.5 | 89.5
2015-10-31T04:28:24.69 | 2000 | 7 | 0 | 2000 | 854 | 2138 | 2000 | 8 | 0 | 2000 | 2 | 1054 | 2295 | 2000 | 9 | 0 | 100% | 4.9222 | 200 | 157 | 100 | 78.5
2015-10-31T04:29:47.13 | 2000 | 6 | 1 | 2000 | 861 | 2132 | 2000 | 8 | 0 | 2000 | 2 | 1047 | 2307 | 2000 | 7 | 0 | 100% | 4.9222 | 186 | 175 | 93 | 87.5
2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 2 | 1943 | 2138 | 2000 | 8 | 0 | leaf | 3.1781 | 1075 | -4 | 537.5 | -2
Leaf is 1647533 pixels according to VARS
72 pixels per mm
[13 empty] | cm^2 = x pixels | 518400
[13 empty] | area of leaf | 3.1781

## calculations
|  | Values | [5 empty] | Values
Area cm^2 | Seconds | Average of RAW data 690 | Average of RAW data 590 |  |  | Area cm^2 | Seconds | Average of RAW data 690 | StdDev of RAW data 690 | Count of RAW data 690 | SE 690 | Average of RAW data 590 | StdDev of RAW data 590 | Count of RAW data 590 | SE 590
0 | 1 | 0.66667 | 23.3333 |  |  | 0 | 1 | 0.66667 | 3.0551 | 3 | 1.7638 | 23.3333 | 19.8578 | 3 | 11.4649
1.0044 | 1 | 39.6667 | 49.3333 |  |  | 1.0044 | 1 | 39.6667 | 5.5076 | 3 | 3.1798 | 49.3333 | 10.116 | 3 | 5.8405
1.9837 | 1 | 62 | 70.3333 |  |  | 1.9837 | 1 | 62 | 13.8564 | 3 | 8 | 70.3333 | 2.0817 | 3 | 1.2019
3.0136 | 1 | 81 | 77 |  |  | 3.0136 | 1 | 81 | 5.5678 | 3 | 3.2146 | 77 | 7.9373 | 3 | 4.5826
4.0224 | 1 | 104.3333 | 76.3333 |  |  | 4.0224 | 1 | 104.3333 | 10.9697 | 3 | 6.3333 | 76.3333 | 17.673 | 3 | 10.2035
4.9222 | 1 | 80 | 71.5
Grand Total |  | 63.9524 | 62.7619
[6 empty] | 690 |  |  |  | 690 |  | 590 testing |  | Equation: Power, 3 Parameter
|  | Values |  |  |  | testing formula |  |  |  | testing formula |  |  |  | f=y0+a*x^b
Area cm^2 | Seconds | StdDev of RAW data 690 | StdDev of RAW data 590 |  | y0 | 7.9757 |  |  | a | 38.2387 |  | y0 | 22.5648
0 | 1 | 3.0551 | 19.8578 |  | a | 24.7191 | f |  | b | 0.7091 |  | a | 59.9633
1.0044 | 1 | 5.5076 | 10.116 |  | b | [6 empty] | b | 0.6913
1.9837 | 1 | 13.8564 | 2.0817 |  | x | 0 | 7.9757 |  | 0 | 0 |  | 0 | 22.5648
3.0136 | 1 | 5.5678 | 7.9373 |  | x | 1 | 32.6948 |  | 1 | 38.2387 |  | 1 | 52.491
4.0224 | 1 | 10.9697 | 17.673 |  | x | 2 | 57.4139 |  | 2 | 62.512 |  | 2 | 67.4818
Grand Total |  | 37.5193 | 24.0638 |  | x | 3 | 82.133 |  | 3 | 83.3355 |  | 3 | 74.991
[5 empty] | x | 4 | 106.8521 |  | 4 | 102.1936 |  | 4 | 78.7526
[5 empty] | x | 5 | 131.5712 |  | 5 | 119.7134 |  | 5 | 80.6369
[5 empty] | x | 6 | 156.2903 |  | 6 | 136.2355 |  | 6 | 81.5807
|  | Values |  |  | x | 7 | 181.0094 |  | 7 | 151.9715 |  | 7 | 82.0535
Area cm^2 | Seconds | Count of RAW data 690 | Count of RAW data 590 |  | x | 8 | 205.7285 |  | 8 | 167.0645 |  | 8 | 82.2904
0 | 1 | 3 | 3 |  | x | 9 | 230.4476 |  | 9 | 181.617 |  | 9 | 82.409
1.0044 | 1 | 3 | 3 |  |  | 10 | 255.1667 |  | 10 | 195.7055 |  | 10 | 82.4685
1.9837 | 1 | 3 | 3
3.0136 | 1 | 3 | 3
4.0224 | 1 | 3 | 3
Grand Total |  | 15 | 15
LEAF COUNTS PER SECOND, 1 second readings only
|  | 690 | 590
| 1 | 385 | 10 | 3.1781
| 1 | 397 | 18 | 3.1781
| 1 | 418 | 3 | 3.1781
LEAF | AVG | 400 | 10.3333
| STDEV | 16.7033 | 7.5056
| SE | 9.6437 | 4.3333

## stats compare 1 and 2 seconds
Values
Phosphorescense Integration Time | Area cm^2 | Average of counts per second 690 | Average of counts per second 590
1000 | 0 | 0.66667 | 23.3333
| 1.0044 | 39.6667 | 49.3333
| 1.9837 | 62 | 70.3333
| 3.0136 | 81 | 77 |  |  | WILCOXON SIGNED RANK TEST
| 4.0224 | 104.3333 | 76.3333 | Counts per second 690 nm
| leaf | 400 | 10.3333 | 1 s | 2 s | Summary of Exact distribution of WILCOXON SIGNED RANK statistic:
2000 | 0 | 15.5 | 25 | 15.5 | 0.66667 | Min Max Mean Std-dev Observed Standardized
| 1.0044 | 47 | 61.8333 | 47 | 39.6667 | 0.0000 21.00 10.50 4.770 18.00 1.572
| 1.9837 | 72.6667 | 85.3333 | 72.6667 | 62
| 3.0136 | 84.3333 | 81 | 84.3333 | 81 | Asymptotic Inference:
| 4.0224 | 95.6667 | 82.8333 | 95.6667 | 104.3333 | One-sided p-value: Pr { Test Statistic .GE. Observed } = 0.0579
| leaf | 537.5 | -2 | 537.5 | 400 | Two-sided p-value: 2 * One-sided = 0.1159
Grand Total |  | 109.8438 | 58.625
|  |  |  | Counts per second 590 nm |  | WILCOXON SIGNED RANK TEST
|  |  |  | 1 s | 2 s
|  |  |  | 25 | 23.3333 | Summary of Exact distribution of WILCOXON SIGNED RANK statistic:
|  |  |  | 61.8333 | 49.3333 | Min Max Mean Std-dev Observed Standardized
|  |  |  | 85.3333 | 70.3333 | 0.0000 21.00 10.50 4.770 17.00 1.363
|  |  |  | 81 | 77
|  |  |  | 82.8333 | 76.3333 | Asymptotic Inference:
|  |  |  | -2 | 10.3333 | One-sided p-value: Pr { Test Statistic .GE. Observed } = 0.0865
Two-sided p-value: 2 * One-sided = 0.1730