## RAW calibration 10 thru 17
SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | Set | order | data 690 | data 590
2015-10-31T02:10:52.84 | 1000 | 3 | 0 | 1000 | 439 | 1072 | 1000 | 3 | 0 | 1000 | 437 | 1102 | 1000 | 3 | 1 | 0% |  | 1 | -2 | 30
2015-10-31T02:12:10.84 | 1000 | 3 | 1 | 1000 | 437 | 1062 | 1000 | 3 | 0 | 1000 | 437 | 1101 | 1000 | 6 | 0 | 0% |  | 2 | 0 | 39
2015-10-31T02:13:28.84 | 1000 | 3 | 0 | 1000 | 435 | 1079 | 1000 | 2 | 0 | 1000 | 439 | 1080 | 1000 | 4 | 0 | 0% |  | 3 | 4 | 1
2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0% |  | 4 | 31 | 50
2015-10-31T02:35:25.66 | 1000 | 3 | 1 | 1000 | 442 | 1064 | 1000 | 3 | 0 | 1000 | 827 | 1074 | 1000 | 4 | 0 | leaf |  | 5 | 385 | 10
2015-10-31T02:36:43.70 | 1000 | 3 | 1 | 1000 | 434 | 1065 | 1000 | 3 | 1 | 1000 | 831 | 1083 | 1000 | 4 | 1 | leaf |  | 6 | 397 | 18
2015-10-31T02:38:01.80 | 1000 | 3 | 1 | 1000 | 440 | 1070 | 1000 | 2 | 1 | 1000 | 858 | 1073 | 1000 | 3 | 0 | leaf |  | 7 | 418 | 3
2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf |  | 8 | 1075 | -4
2015-10-31T02:59:42.65 | 1000 | 3 | 0 | 1000 | 433 | 1059 | 1000 | 4 | 1 | 1000 | 490 | 1112 | 1000 | 2 | 0 | 100% |  | 9 | 57 | 53
2015-10-31T03:01:00.61 | 1000 | 3 | 0 | 1000 | 425 | 1072 | 1000 | 3 | 1 | 1000 | 483 | 1109 | 1000 | 3 | 0 | 100% |  | 10 | 58 | 37
2015-10-31T03:02:20.56 | 1000 | 2 | 0 | 1000 | 423 | 1059 | 1000 | 4 | 0 | 1000 | 490 | 1124 | 1000 | 3 | 0 | 100% |  | 11 | 67 | 65
2015-10-31T03:03:43.54 | 2000 | 6 | 0 | 2000 | 855 | 2124 | 2000 | 6 | 0 | 2000 | 983 | 2221 | 2000 | 6 | 1 | 100% |  | 12 | 128 | 97
2015-10-31T03:05:06.79 | 2000 | 7 | 1 | 2000 | 877 | 2116 | 2000 | 7 | 0 | 2000 | 955 | 2225 | 2000 | 7 | 0 | 100% |  | 13 | 78 | 109
2015-10-31T03:06:29.90 | 2000 | 6 | 0 | 2000 | 850 | 2126 | 2000 | 6 | 0 | 2000 | 973 | 2242 | 2000 | 7 | 0 | 100% |  | 14 | 123 | 116
2015-10-31T03:16:41.95 | 1000 | 2 | 0 | 1000 | 425 | 1083 | 1000 | 2 | 0 | 1000 | 542 | 1139 | 1000 | 2 | 1 | 80% |  | 15 | 117 | 56
2015-10-31T03:17:59.85 | 1000 | 3 | 0 | 1000 | 430 | 1074 | 1000 | 4 | 1 | 1000 | 528 | 1159 | 1000 | 3 | 0 | 80% |  | 16 | 98 | 85
2015-10-31T03:19:17.91 | 1000 | 2 | 0 | 1000 | 425 | 1065 | 1000 | 2 | 1 | 1000 | 523 | 1153 | 1000 | 3 | 0 | 80% |  | 17 | 98 | 88
2015-10-31T03:20:40.14 | 2000 | 7 | 0 | 2000 | 872 | 2154 | 2000 | 6 | 0 | 2000 | 1065 | 2333 | 2000 | 7 | 0 | 80% |  | 18 | 193 | 179
2015-10-31T03:22:03.35 | 2000 | 6 | 0 | 2000 | 870 | 2162 | 2000 | 7 | 0 | 2000 | 1053 | 2316 | 2000 | 6 | 0 | 80% |  | 19 | 183 | 154
2015-10-31T03:23:26.42 | 2000 | 7 | 0 | 2000 | 871 | 2171 | 2000 | 7 | 0 | 2000 | 1069 | 2335 | 2000 | 7 | 0 | 80% |  | 20 | 198 | 164
2015-10-31T03:34:10.20 | 1000 | 2 | 1 | 1000 | 431 | 1075 | 1000 | 4 | 0 | 1000 | 506 | 1161 | 1000 | 3 | 0 | 60% |  | 21 | 75 | 86
2015-10-31T03:35:28.21 | 1000 | 2 | 1 | 1000 | 432 | 1065 | 1000 | 2 | 1 | 1000 | 518 | 1136 | 1000 | 3 | 0 | 60% |  | 22 | 86 | 71
2015-10-31T03:36:46.17 | 1000 | 3 | 1 | 1000 | 437 | 1083 | 1000 | 4 | 0 | 1000 | 519 | 1157 | 1000 | 4 | 1 | 60% |  | 23 | 82 | 74
2015-10-31T03:38:09.16 | 2000 | 8 | 0 | 2000 | 868 | 2152 | 2000 | 6 | 0 | 2000 | 1044 | 2301 | 2000 | 7 | 0 | 60% |  | 24 | 176 | 149
2015-10-31T03:39:32.21 | 2000 | 6 | 0 | 2000 | 886 | 2132 | 2000 | 7 | 0 | 2000 | 1029 | 2295 | 2000 | 6 | 1 | 60% |  | 25 | 143 | 163
2015-10-31T03:40:55.26 | 2000 | 6 | 0 | 2000 | 859 | 2117 | 2000 | 7 | 0 | 2000 | 1046 | 2291 | 2000 | 7 | 0 | 60% |  | 26 | 187 | 174
2015-10-31T03:49:26.93 | 1000 | 4 | 0 | 1000 | 433 | 1087 | 1000 | 3 | 0 | 1000 | 503 | 1158 | 1000 | 3 | 0 | 40% |  | 27 | 70 | 71
2015-10-31T03:50:45.13 | 1000 | 3 | 1 | 1000 | 444 | 1071 | 1000 | 3 | 1 | 1000 | 490 | 1139 | 1000 | 3 | 0 | 40% |  | 28 | 46 | 68
2015-10-31T03:52:03.37 | 1000 | 2 | 0 | 1000 | 436 | 1077 | 1000 | 5 | 0 | 1000 | 506 | 1149 | 1000 | 2 | 0 | 40% |  | 29 | 70 | 72
2015-10-31T03:53:26.57 | 2000 | 7 | 0 | 2000 | 889 | 2147 | 2000 | 6 | 1 | 2000 | 1029 | 2321 | 2000 | 10 | 0 | 40% |  | 30 | 140 | 174
2015-10-31T03:54:49.91 | 2000 | 6 | 0 | 2000 | 865 | 2140 | 2000 | 5 | 0 | 2000 | 1015 | 2318 | 2000 | 7 | 1 | 40% |  | 31 | 150 | 178
2015-10-31T03:56:13.29 | 2000 | 6 | 0 | 2000 | 883 | 2167 | 2000 | 5 | 0 | 2000 | 1029 | 2327 | 2000 | 5 | 1 | 40% |  | 32 | 146 | 160
2015-10-31T04:05:42.74 | 1000 | 3 | 0 | 1000 | 437 | 1079 | 1000 | 3 | 0 | 1000 | 471 | 1122 | 1000 | 3 | 0 | 20% |  | 33 | 34 | 43
2015-10-31T04:07:00.69 | 1000 | 3 | 0 | 1000 | 432 | 1072 | 1000 | 3 | 0 | 1000 | 472 | 1133 | 1000 | 2 | 0 | 20% |  | 34 | 40 | 61
2015-10-31T04:08:18.68 | 1000 | 2 | 0 | 1000 | 428 | 1069 | 1000 | 4 | 0 | 1000 | 473 | 1113 | 1000 | 3 | 0 | 20% |  | 35 | 45 | 44
2015-10-31T04:09:41.66 | 2000 | 8 | 0 | 2000 | 861 | 2176 | 2000 | 7 | 0 | 2000 | 951 | 2283 | 2000 | 7 | 1 | 20% |  | 36 | 90 | 107
2015-10-31T04:11:04.88 | 2000 | 8 | 0 | 2000 | 851 | 2137 | 2000 | 6 | 0 | 2000 | 956 | 2261 | 2000 | 8 | 1 | 20% |  | 37 | 105 | 124
2015-10-31T04:12:28.56 | 2000 | 6 | 0 | 2000 | 869 | 2132 | 2000 | 7 | 0 | 2000 | 956 | 2272 | 2000 | 6 | 0 | 20% |  | 38 | 87 | 140
2015-10-31T04:23:01.82 | 1000 | 3 | 0 | 1000 | 432 | 1074 | 1000 | 2 | 1 | 1000 | 526 | 1162 | 1000 | 4 | 0 | 100% |  | 39 | 94 | 88
2015-10-31T04:24:19.86 | 1000 | 3 | 0 | 1000 | 423 | 1060 | 1000 | 2 | 1 | 1000 | 529 | 1149 | 1000 | 3 | 1 | 100% |  | 40 | 106 | 89
2015-10-31T04:25:37.86 | 1000 | 4 | 1 | 1000 | 433 | 1079 | 1000 | 3 | 0 | 1000 | 531 | 1176 | 1000 | 3 | 0 | 100% |  | 41 | 98 | 97
2015-10-31T04:27:00.88 | 2000 | 6 | 1 | 2000 | 888 | 2144 | 2000 | 7 | 0 | 2000 | 1059 | 2323 | 2000 | 7 | 1 | 100% |  | 42 | 171 | 179
2015-10-31T04:28:24.69 | 2000 | 7 | 0 | 2000 | 854 | 2138 | 2000 | 8 | 0 | 2000 | 1054 | 2295 | 2000 | 9 | 0 | 100% |  | 43 | 200 | 157
2015-10-31T04:29:47.13 | 2000 | 6 | 1 | 2000 | 861 | 2132 | 2000 | 8 | 0 | 2000 | 1047 | 2307 | 2000 | 7 | 0 | 100% |  | 44 | 186 | 175

## 1 sec only reorder
SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | Set | order | data 690 | data 590 | sets of 3
2015-10-31T02:35:25.66 | 1000 | 3 | 1 | 1000 | 442 | 1064 | 1000 | 3 | 0 | 1000 | 827 | 1074 | 1000 | 4 | 0 | leaf |  | 5 | 385 | 10 | 1
2015-10-31T02:36:43.70 | 1000 | 3 | 1 | 1000 | 434 | 1065 | 1000 | 3 | 1 | 1000 | 831 | 1083 | 1000 | 4 | 1 | leaf |  | 6 | 397 | 18 | 1
2015-10-31T02:38:01.80 | 1000 | 3 | 1 | 1000 | 440 | 1070 | 1000 | 2 | 1 | 1000 | 858 | 1073 | 1000 | 3 | 0 | leaf |  | 7 | 418 | 3 | 1
2015-10-31T02:59:42.65 | 1000 | 3 | 0 | 1000 | 433 | 1059 | 1000 | 4 | 1 | 1000 | 490 | 1112 | 1000 | 2 | 0 | 100% |  | 9 | 57 | 53 | 2
2015-10-31T03:01:00.61 | 1000 | 3 | 0 | 1000 | 425 | 1072 | 1000 | 3 | 1 | 1000 | 483 | 1109 | 1000 | 3 | 0 | 100% |  | 10 | 58 | 37 | 2
2015-10-31T03:02:20.56 | 1000 | 2 | 0 | 1000 | 423 | 1059 | 1000 | 4 | 0 | 1000 | 490 | 1124 | 1000 | 3 | 0 | 100% |  | 11 | 67 | 65 | 2
2015-10-31T04:23:01.82 | 1000 | 3 | 0 | 1000 | 432 | 1074 | 1000 | 2 | 1 | 1000 | 526 | 1162 | 1000 | 4 | 0 | 100% |  | 39 | 94 | 88 | 3
2015-10-31T04:24:19.86 | 1000 | 3 | 0 | 1000 | 423 | 1060 | 1000 | 2 | 1 | 1000 | 529 | 1149 | 1000 | 3 | 1 | 100% |  | 40 | 106 | 89 | 3
2015-10-31T04:25:37.86 | 1000 | 4 | 1 | 1000 | 433 | 1079 | 1000 | 3 | 0 | 1000 | 531 | 1176 | 1000 | 3 | 0 | 100% |  | 41 | 98 | 97 | 3
2015-10-31T03:16:41.95 | 1000 | 2 | 0 | 1000 | 425 | 1083 | 1000 | 2 | 0 | 1000 | 542 | 1139 | 1000 | 2 | 1 | 80% |  | 15 | 117 | 56 | 4
2015-10-31T03:17:59.85 | 1000 | 3 | 0 | 1000 | 430 | 1074 | 1000 | 4 | 1 | 1000 | 528 | 1159 | 1000 | 3 | 0 | 80% |  | 16 | 98 | 85 | 4
2015-10-31T03:19:17.91 | 1000 | 2 | 0 | 1000 | 425 | 1065 | 1000 | 2 | 1 | 1000 | 523 | 1153 | 1000 | 3 | 0 | 80% |  | 17 | 98 | 88 | 4
2015-10-31T03:34:10.20 | 1000 | 2 | 1 | 1000 | 431 | 1075 | 1000 | 4 | 0 | 1000 | 506 | 1161 | 1000 | 3 | 0 | 60% |  | 21 | 75 | 86 | 5
2015-10-31T03:35:28.21 | 1000 | 2 | 1 | 1000 | 432 | 1065 | 1000 | 2 | 1 | 1000 | 518 | 1136 | 1000 | 3 | 0 | 60% |  | 22 | 86 | 71 | 5
2015-10-31T03:36:46.17 | 1000 | 3 | 1 | 1000 | 437 | 1083 | 1000 | 4 | 0 | 1000 | 519 | 1157 | 1000 | 4 | 1 | 60% |  | 23 | 82 | 74 | 5
2015-10-31T03:49:26.93 | 1000 | 4 | 0 | 1000 | 433 | 1087 | 1000 | 3 | 0 | 1000 | 503 | 1158 | 1000 | 3 | 0 | 40% |  | 27 | 70 | 71 | 6
2015-10-31T03:50:45.13 | 1000 | 3 | 1 | 1000 | 444 | 1071 | 1000 | 3 | 1 | 1000 | 490 | 1139 | 1000 | 3 | 0 | 40% |  | 28 | 46 | 68 | 6
2015-10-31T03:52:03.37 | 1000 | 2 | 0 | 1000 | 436 | 1077 | 1000 | 5 | 0 | 1000 | 506 | 1149 | 1000 | 2 | 0 | 40% |  | 29 | 70 | 72 | 6
2015-10-31T04:05:42.74 | 1000 | 3 | 0 | 1000 | 437 | 1079 | 1000 | 3 | 0 | 1000 | 471 | 1122 | 1000 | 3 | 0 | 20% |  | 33 | 34 | 43 | 7
2015-10-31T04:07:00.69 | 1000 | 3 | 0 | 1000 | 432 | 1072 | 1000 | 3 | 0 | 1000 | 472 | 1133 | 1000 | 2 | 0 | 20% |  | 34 | 40 | 61 | 7
2015-10-31T04:08:18.68 | 1000 | 2 | 0 | 1000 | 428 | 1069 | 1000 | 4 | 0 | 1000 | 473 | 1113 | 1000 | 3 | 0 | 20% |  | 35 | 45 | 44 | 7
2015-10-31T02:10:52.84 | 1000 | 3 | 0 | 1000 | 439 | 1072 | 1000 | 3 | 0 | 1000 | 437 | 1102 | 1000 | 3 | 1 | 0% |  | 1 | -2 | 30 | 8
2015-10-31T02:12:10.84 | 1000 | 3 | 1 | 1000 | 437 | 1062 | 1000 | 3 | 0 | 1000 | 437 | 1101 | 1000 | 6 | 0 | 0% |  | 2 | 0 | 39 | 8
2015-10-31T02:13:28.84 | 1000 | 3 | 0 | 1000 | 435 | 1079 | 1000 | 2 | 0 | 1000 | 439 | 1080 | 1000 | 4 | 0 | 0% |  | 3 | 4 | 1 | 8

## avg 1s sets of 3 and steps fol
AVG AS 3 | [5 empty] | DROP DATA POINT 2
|  | Values |  |  |  | AVG AS 3
sets of 3 | Target Type | Average of data 690 | Average of data 590
1 | leaf | 400 | 10.3333 | 400 |  |  |  | Values |  |  |  |  | Values | [5 empty] | Values
2 | 1 | 60.6667 | 51.6667 | 60.6667 |  | sets of 3 | Target Type | Average of data 690 | Average of data 590 |  | sets of 3 | Target Type | StdDev of data 690 | StdDev of data 590 |  |  | sets of 3 | Target Type | Count of data 690 | Count of data 590
3 | 1 | 99.3333 | 91.3333 | 99.3333 |  | 1 | leaf | 400 | 10.3333 |  | 1 | leaf | 16.7033 | 7.5056 |  |  | 1 | leaf | 3 | 3
4 | 0.8 | 104.3333 | 76.3333 | 104.3333 |  | 3 | 1 | 99.3333 | 91.3333 |  | 3 | 1 | 6.1101 | 4.9329 |  |  | 3 | 1 | 3 | 3
5 | 0.6 | 81 | 77 | 81 |  | 4 | 0.8 | 104.3333 | 76.3333 |  | 4 | 0.8 | 10.9697 | 17.673 |  |  | 4 | 0.8 | 3 | 3
6 | 0.4 | 62 | 70.3333 | 62 |  | 5 | 0.6 | 81 | 77 |  | 5 | 0.6 | 5.5678 | 7.9373 |  |  | 5 | 0.6 | 3 | 3
7 | 0.2 | 39.6667 | 49.3333 | 39.6667 |  | 6 | 0.4 | 62 | 70.3333 |  | 6 | 0.4 | 13.8564 | 2.0817 |  |  | 6 | 0.4 | 3 | 3
8 | 0 | 0.66667 | 23.3333 | 0.66667 |  | 7 | 0.2 | 39.6667 | 49.3333 |  | 7 | 0.2 | 5.5076 | 10.116 |  |  | 7 | 0.2 | 3 | 3
Grand Total |  | 105.9583 | 56.2083 |  |  | 8 | 0 | 0.66667 | 23.3333 |  | 8 | 0 | 3.0551 | 19.8578 |  |  | 8 | 0 | 3 | 3
[6 empty] | Grand Total |  | 112.4286 | 56.8571 |  | Grand Total |  | 125.3294 | 30.3435 |  |  | Grand Total |  | 21 | 21
|  |  |  | 690 | [6 empty] | 590
|  |  |  | Target area |  | AVG | SD | Count | SE | paul se | Target area | AVG | SD | Count | SE | Paul SE
AVG BY TARGET TYPE |  |  |  | 0 | 0 | 0.66667 | 3.0551 | 3 | 1.7638 | 1.7638 | 0 | 23.3333 | 19.8578 | 3 | 11.4649 | 11.4649
|  |  |  | 1.0044 | 0.2 | 39.6667 | 5.5076 | 3 | 3.1798 | 3.1798 | 1.0044 | 49.3333 | 10.116 | 3 | 5.8405 | 5.8405
|  |  |  | 1.9837 | 0.4 | 62 | 13.8564 | 3 | 8 |  | 1.9837 | 70.3333 | 2.0817 | 3 | 1.2019 | 1.2019
| Values |  |  | 3.0136 | 0.6 | 81 | 5.5678 | 3 | 3.2146 | 3.2146 | 3.0136 | 77 | 7.9373 | 3 | 4.5826 | 4.5826
Target Type | Average of data 690 | Average of data 590 |  | 4.0224 | 0.8 | 104.3333 | 10.9697 | 3 | 6.3333 | 6.3333 | 4.0224 | 76.3333 | 17.673 | 3 | 10.2035 | 10.2035
leaf | 400 | 10.3333
1 | 80 | 71.5
0.8 | 104.3333 | 76.3333
0.6 | 81 | 77
0.4 | 62 | 70.3333
0.2 | 39.6667 | 49.3333
0 | 0.66667 | 23.3333
Grand Total | 105.9583 | 56.2083

## 2 s only rerder
SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | Set | order | data 690 | data 590
2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf | 1 | 8 | 1075 | -4 | NOT AS COUNTS PER SECOND
2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf | 1 | 8 | 1075 | -4
2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf | 1 | 8 | 1075 | -4
2015-10-31T04:27:00.88 | 2000 | 6 | 1 | 2000 | 888 | 2144 | 2000 | 7 | 0 | 2000 | 1059 | 2323 | 2000 | 7 | 1 | 100% | 2 | 42 | 171 | 179
2015-10-31T04:29:47.13 | 2000 | 6 | 1 | 2000 | 861 | 2132 | 2000 | 8 | 0 | 2000 | 1047 | 2307 | 2000 | 7 | 0 | 100% | 2 | 44 | 186 | 175
2015-10-31T04:28:24.69 | 2000 | 7 | 0 | 2000 | 854 | 2138 | 2000 | 8 | 0 | 2000 | 1054 | 2295 | 2000 | 9 | 0 | 100% | 2 | 43 | 200 | 157
2015-10-31T03:06:29.90 | 2000 | 6 | 0 | 2000 | 850 | 2126 | 2000 | 6 | 0 | 2000 | 973 | 2242 | 2000 | 7 | 0 | 100% | 3 | 14 | 123 | 116
2015-10-31T03:05:06.79 | 2000 | 7 | 1 | 2000 | 877 | 2116 | 2000 | 7 | 0 | 2000 | 955 | 2225 | 2000 | 7 | 0 | 100% | 3 | 13 | 78 | 109
2015-10-31T03:03:43.54 | 2000 | 6 | 0 | 2000 | 855 | 2124 | 2000 | 6 | 0 | 2000 | 983 | 2221 | 2000 | 6 | 1 | 100% | 3 | 12 | 128 | 97
2015-10-31T03:20:40.14 | 2000 | 7 | 0 | 2000 | 872 | 2154 | 2000 | 6 | 0 | 2000 | 1065 | 2333 | 2000 | 7 | 0 | 80% | 4 | 18 | 193 | 179
2015-10-31T03:23:26.42 | 2000 | 7 | 0 | 2000 | 871 | 2171 | 2000 | 7 | 0 | 2000 | 1069 | 2335 | 2000 | 7 | 0 | 80% | 4 | 20 | 198 | 164
2015-10-31T03:22:03.35 | 2000 | 6 | 0 | 2000 | 870 | 2162 | 2000 | 7 | 0 | 2000 | 1053 | 2316 | 2000 | 6 | 0 | 80% | 4 | 19 | 183 | 154
2015-10-31T03:40:55.26 | 2000 | 6 | 0 | 2000 | 859 | 2117 | 2000 | 7 | 0 | 2000 | 1046 | 2291 | 2000 | 7 | 0 | 60% | 5 | 26 | 187 | 174
2015-10-31T03:39:32.21 | 2000 | 6 | 0 | 2000 | 886 | 2132 | 2000 | 7 | 0 | 2000 | 1029 | 2295 | 2000 | 6 | 1 | 60% | 5 | 25 | 143 | 163
2015-10-31T03:38:09.16 | 2000 | 8 | 0 | 2000 | 868 | 2152 | 2000 | 6 | 0 | 2000 | 1044 | 2301 | 2000 | 7 | 0 | 60% | 5 | 24 | 176 | 149
2015-10-31T03:54:49.91 | 2000 | 6 | 0 | 2000 | 865 | 2140 | 2000 | 5 | 0 | 2000 | 1015 | 2318 | 2000 | 7 | 1 | 40% | 6 | 31 | 150 | 178
2015-10-31T03:53:26.57 | 2000 | 7 | 0 | 2000 | 889 | 2147 | 2000 | 6 | 1 | 2000 | 1029 | 2321 | 2000 | 10 | 0 | 40% | 6 | 30 | 140 | 174
2015-10-31T03:56:13.29 | 2000 | 6 | 0 | 2000 | 883 | 2167 | 2000 | 5 | 0 | 2000 | 1029 | 2327 | 2000 | 5 | 1 | 40% | 6 | 32 | 146 | 160
2015-10-31T04:12:28.56 | 2000 | 6 | 0 | 2000 | 869 | 2132 | 2000 | 7 | 0 | 2000 | 956 | 2272 | 2000 | 6 | 0 | 20% | 7 | 38 | 87 | 140
2015-10-31T04:11:04.88 | 2000 | 8 | 0 | 2000 | 851 | 2137 | 2000 | 6 | 0 | 2000 | 956 | 2261 | 2000 | 8 | 1 | 20% | 7 | 37 | 105 | 124
2015-10-31T04:09:41.66 | 2000 | 8 | 0 | 2000 | 861 | 2176 | 2000 | 7 | 0 | 2000 | 951 | 2283 | 2000 | 7 | 1 | 20% | 7 | 36 | 90 | 107
2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0% | 8 | 4 | 31 | 50
2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0% | 8 | 4 | 31 | 50
2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0% | 8 | 4 | 31 | 50

## avg 2s sets of 3 and steps fol
|  | Values |  |  |  |  | NOT AS COUNTS PER SECOND
Target Type | Set | Average of data 690 | Average of data 590
leaf | 1 | 1075 | -4 | 1075 | -4
1 | 2 | 185.6667 | 170.3333 | 109.6667 | 107.3333 | EXCEL SWITCHED ORDER -LATER TIME CODES LISTED FIRST
| 3 | 109.6667 | 107.3333 | 185.6667 | 170.3333
0.8 | 4 | 191.3333 | 165.6667 | 191.3333 | 165.6667
0.6 | 5 | 168.6667 | 162 | 168.6667 | 162
0.4 | 6 | 145.3333 | 170.6667 | 145.3333 | 170.6667
0.2 | 7 | 94 | 123.6667 | 94 | 123.6667
0 | 8 | 31 | 50 | 31 | 50
Grand Total |  | 250.0833 | 118.2083
Drop Data point (is 3 as ordered by Excel)
Values
Target Type | Set | Average of data 690 | Average of data 590
leaf | 1 | 1075 | -4
1 | 2 | 185.6667 | 170.3333
0.8 | 4 | 191.3333 | 165.6667
0.6 | 5 | 168.6667 | 162
0.4 | 6 | 145.3333 | 170.6667
0.2 | 7 | 94 | 123.6667
0 | 8 | 31 | 50
Grand Total |  | 270.1429 | 119.7619
Values
Target Type | Set | StdDev of data 690 | StdDev of data 590
leaf | 1 | 0 | 0
1 | 2 | 14.5029 | 11.7189
0.8 | 4 | 7.6376 | 12.5831
0.6 | 5 | 22.8983 | 12.53
0.4 | 6 | 5.0332 | 9.4516
0.2 | 7 | 9.6437 | 16.5025
0 | 8 | 0 | 0
Grand Total |  | 341.1393 | 66.8378