## 1scalibration 10 thru 17 repeat
SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | raw 690 | raw 590
2015-10-31T02:38:01.80 | 1000 | 3 | 1 | 1000 | 440 | 1070 | 1000 | 2 | 1 | 1000 | 858 | 1073 | 1000 | 3 | 0 | leaf | 418 | 3
2015-10-31T02:35:25.66 | 1000 | 3 | 1 | 1000 | 442 | 1064 | 1000 | 3 | 0 | 1000 | 827 | 1074 | 1000 | 4 | 0 | leaf | 385 | 10
2015-10-31T02:36:43.70 | 1000 | 3 | 1 | 1000 | 434 | 1065 | 1000 | 3 | 1 | 1000 | 831 | 1083 | 1000 | 4 | 1 | leaf | 397 | 18
2015-10-31T03:01:00.61 | 1000 | 3 | 0 | 1000 | 425 | 1072 | 1000 | 3 | 1 | 1000 | 483 | 1109 | 1000 | 3 | 0 | 100% | 58 | 37
2015-10-31T02:59:42.65 | 1000 | 3 | 0 | 1000 | 433 | 1059 | 1000 | 4 | 1 | 1000 | 490 | 1112 | 1000 | 2 | 0 | 100% | 57 | 53
2015-10-31T03:02:20.56 | 1000 | 2 | 0 | 1000 | 423 | 1059 | 1000 | 4 | 0 | 1000 | 490 | 1124 | 1000 | 3 | 0 | 100% | 67 | 65
2015-10-31T04:23:01.82 | 1000 | 3 | 0 | 1000 | 432 | 1074 | 1000 | 2 | 1 | 1000 | 526 | 1162 | 1000 | 4 | 0 | 100% | 94 | 88
2015-10-31T04:24:19.86 | 1000 | 3 | 0 | 1000 | 423 | 1060 | 1000 | 2 | 1 | 1000 | 529 | 1149 | 1000 | 3 | 1 | 100% | 106 | 89
2015-10-31T04:25:37.86 | 1000 | 4 | 1 | 1000 | 433 | 1079 | 1000 | 3 | 0 | 1000 | 531 | 1176 | 1000 | 3 | 0 | 100% | 98 | 97
2015-10-31T03:16:41.95 | 1000 | 2 | 0 | 1000 | 425 | 1083 | 1000 | 2 | 0 | 1000 | 542 | 1139 | 1000 | 2 | 1 | 80% | 117 | 56
2015-10-31T03:17:59.85 | 1000 | 3 | 0 | 1000 | 430 | 1074 | 1000 | 4 | 1 | 1000 | 528 | 1159 | 1000 | 3 | 0 | 80% | 98 | 85
2015-10-31T03:19:17.91 | 1000 | 2 | 0 | 1000 | 425 | 1065 | 1000 | 2 | 1 | 1000 | 523 | 1153 | 1000 | 3 | 0 | 80% | 98 | 88
2015-10-31T03:35:28.21 | 1000 | 2 | 1 | 1000 | 432 | 1065 | 1000 | 2 | 1 | 1000 | 518 | 1136 | 1000 | 3 | 0 | 60% | 86 | 71
2015-10-31T03:36:46.17 | 1000 | 3 | 1 | 1000 | 437 | 1083 | 1000 | 4 | 0 | 1000 | 519 | 1157 | 1000 | 4 | 1 | 60% | 82 | 74
2015-10-31T03:34:10.20 | 1000 | 2 | 1 | 1000 | 431 | 1075 | 1000 | 4 | 0 | 1000 | 506 | 1161 | 1000 | 3 | 0 | 60% | 75 | 86
2015-10-31T03:50:45.13 | 1000 | 3 | 1 | 1000 | 444 | 1071 | 1000 | 3 | 1 | 1000 | 490 | 1139 | 1000 | 3 | 0 | 40% | 46 | 68
2015-10-31T03:49:26.93 | 1000 | 4 | 0 | 1000 | 433 | 1087 | 1000 | 3 | 0 | 1000 | 503 | 1158 | 1000 | 3 | 0 | 40% | 70 | 71
2015-10-31T03:52:03.37 | 1000 | 2 | 0 | 1000 | 436 | 1077 | 1000 | 5 | 0 | 1000 | 506 | 1149 | 1000 | 2 | 0 | 40% | 70 | 72
2015-10-31T04:05:42.74 | 1000 | 3 | 0 | 1000 | 437 | 1079 | 1000 | 3 | 0 | 1000 | 471 | 1122 | 1000 | 3 | 0 | 20% | 34 | 43
2015-10-31T04:08:18.68 | 1000 | 2 | 0 | 1000 | 428 | 1069 | 1000 | 4 | 0 | 1000 | 473 | 1113 | 1000 | 3 | 0 | 20% | 45 | 44
2015-10-31T04:07:00.69 | 1000 | 3 | 0 | 1000 | 432 | 1072 | 1000 | 3 | 0 | 1000 | 472 | 1133 | 1000 | 2 | 0 | 20% | 40 | 61
2015-10-31T02:13:28.84 | 1000 | 3 | 0 | 1000 | 435 | 1079 | 1000 | 2 | 0 | 1000 | 439 | 1080 | 1000 | 4 | 0 | 0% | 4 | 1
2015-10-31T02:10:52.84 | 1000 | 3 | 0 | 1000 | 439 | 1072 | 1000 | 3 | 0 | 1000 | 437 | 1102 | 1000 | 3 | 1 | 0% | -2 | 30
2015-10-31T02:12:10.84 | 1000 | 3 | 1 | 1000 | 437 | 1062 | 1000 | 3 | 0 | 1000 | 437 | 1101 | 1000 | 6 | 0 | 0% | 0 | 39

## 1 s calcs
Values
Target Type | Average of raw 690 | Average of raw 590 | yielded by scripts | Average of raw 690 | Average of raw 590
0 | 0.66667 | 23.3333 |  | 0.66667 | 23.3333
0.2 | 39.6667 | 49.3333 | 0 | 39.6667 | 49.3333
0.4 | 62 | 70.3333 | 0.2 | 62 | 70.3333
0.6 | 81 | 77 | 0.4 | 81 | 77
0.8 | 104.3333 | 76.3333 | 0.6 | 104.3333 | 76.3333
1 | 80 | 71.5 | 0.8 | 99.3333 | 91.3333
leaf | 400 | 10.3333 | 1 | 60.6667 | 51.6667
Grand Total | 105.9583 | 56.2083 | leaf | 400 | 10.3333

## 2 s
SES Timestamp (ISO601) | Dark Ref Integration Time | Dark Ref 690 Counts | Dark Ref 590 Counts | Measure Ref Integration Time | Measure Ref 690 Counts | Measure Ref 590 Counts | Luminescense Integration Time | Luminescense 690 Counts | Luminescense 590 Counts | Fluorescense Integration Time | Fluorescense 690 Counts | Fluorescense 590 Counts | Phosphorescense Integration Time | Phosphorescense 690 Counts | Phosphorescense 590 Counts | Target Type | Area cm^2 | RAW data 690 | RAW data 590 | 690counts per second | 590 counts per second
2015-10-31T02:39:24.82 | 2000 | 7 | 0 | 2000 | 868 | 2142 | 2000 | 7 | 1 | 2000 | 1943 | 2138 | 2000 | 8 | 0 | leaf | leaf | 1075 | -4 | 537.5 | -2
2015-10-31T03:03:43.54 | 2000 | 6 | 0 | 2000 | 855 | 2124 | 2000 | 6 | 0 | 2000 | 983 | 2221 | 2000 | 6 | 1 | 100% | 4.9222 | 128 | 97 | 64 | 48.5
2015-10-31T03:05:06.79 | 2000 | 7 | 1 | 2000 | 877 | 2116 | 2000 | 7 | 0 | 2000 | 955 | 2225 | 2000 | 7 | 0 | 100% | 4.9222 | 78 | 109 | 39 | 54.5
2015-10-31T03:06:29.90 | 2000 | 6 | 0 | 2000 | 850 | 2126 | 2000 | 6 | 0 | 2000 | 973 | 2242 | 2000 | 7 | 0 | 100% | 4.9222 | 123 | 116 | 61.5 | 58
2015-10-31T04:27:00.88 | 2000 | 6 | 1 | 2000 | 888 | 2144 | 2000 | 7 | 0 | 2000 | 1059 | 2323 | 2000 | 7 | 1 | 100% | 4.9222 | 171 | 179 | 85.5 | 89.5
2015-10-31T04:28:24.69 | 2000 | 7 | 0 | 2000 | 854 | 2138 | 2000 | 8 | 0 | 2000 | 1054 | 2295 | 2000 | 9 | 0 | 100% | 4.9222 | 200 | 157 | 100 | 78.5
2015-10-31T04:29:47.13 | 2000 | 6 | 1 | 2000 | 861 | 2132 | 2000 | 8 | 0 | 2000 | 1047 | 2307 | 2000 | 7 | 0 | 100% | 4.9222 | 186 | 175 | 93 | 87.5
2015-10-31T03:20:40.14 | 2000 | 7 | 0 | 2000 | 872 | 2154 | 2000 | 6 | 0 | 2000 | 1065 | 2333 | 2000 | 7 | 0 | 80% | 4.0224 | 193 | 179 | 96.5 | 89.5
2015-10-31T03:22:03.35 | 2000 | 6 | 0 | 2000 | 870 | 2162 | 2000 | 7 | 0 | 2000 | 1053 | 2316 | 2000 | 6 | 0 | 80% | 4.0224 | 183 | 154 | 91.5 | 77
2015-10-31T03:23:26.42 | 2000 | 7 | 0 | 2000 | 871 | 2171 | 2000 | 7 | 0 | 2000 | 1069 | 2335 | 2000 | 7 | 0 | 80% | 4.0224 | 198 | 164 | 99 | 82
2015-10-31T03:38:09.16 | 2000 | 8 | 0 | 2000 | 868 | 2152 | 2000 | 6 | 0 | 2000 | 1044 | 2301 | 2000 | 7 | 0 | 60% | 3.0136 | 176 | 149 | 88 | 74.5
2015-10-31T03:39:32.21 | 2000 | 6 | 0 | 2000 | 886 | 2132 | 2000 | 7 | 0 | 2000 | 1029 | 2295 | 2000 | 6 | 1 | 60% | 3.0136 | 143 | 163 | 71.5 | 81.5
2015-10-31T03:40:55.26 | 2000 | 6 | 0 | 2000 | 859 | 2117 | 2000 | 7 | 0 | 2000 | 1046 | 2291 | 2000 | 7 | 0 | 60% | 3.0136 | 187 | 174 | 93.5 | 87
2015-10-31T03:53:26.57 | 2000 | 7 | 0 | 2000 | 889 | 2147 | 2000 | 6 | 1 | 2000 | 1029 | 2321 | 2000 | 10 | 0 | 40% | 1.9837 | 140 | 174 | 70 | 87
2015-10-31T03:54:49.91 | 2000 | 6 | 0 | 2000 | 865 | 2140 | 2000 | 5 | 0 | 2000 | 1015 | 2318 | 2000 | 7 | 1 | 40% | 1.9837 | 150 | 178 | 75 | 89
2015-10-31T03:56:13.29 | 2000 | 6 | 0 | 2000 | 883 | 2167 | 2000 | 5 | 0 | 2000 | 1029 | 2327 | 2000 | 5 | 1 | 40% | 1.9837 | 146 | 160 | 73 | 80
2015-10-31T04:09:41.66 | 2000 | 8 | 0 | 2000 | 861 | 2176 | 2000 | 7 | 0 | 2000 | 951 | 2283 | 2000 | 7 | 1 | 20% | 1.0044 | 90 | 107 | 45 | 53.5
2015-10-31T04:11:04.88 | 2000 | 8 | 0 | 2000 | 851 | 2137 | 2000 | 6 | 0 | 2000 | 956 | 2261 | 2000 | 8 | 1 | 20% | 1.0044 | 105 | 124 | 52.5 | 62
2015-10-31T04:12:28.56 | 2000 | 6 | 0 | 2000 | 869 | 2132 | 2000 | 7 | 0 | 2000 | 956 | 2272 | 2000 | 6 | 0 | 20% | 1.0044 | 87 | 140 | 43.5 | 70
2015-10-31T02:14:51.81 | 2000 | 8 | 1 | 2000 | 858 | 2128 | 2000 | 8 | 0 | 2000 | 889 | 2178 | 2000 | 7 | 1 | 0% | 0 | 31 | 50 | 15.5 | 25

## 2 s calcs
Values
Target Type | Average of 690counts per second | Average of 590 counts per second | Target Type | Average of raw 690 | Average of raw 590
leaf | 537.5 | -2 | leaf | 400 | 10.3333
1 | 73.8333 | 69.4167 | 1 | 80 | 71.5
0.8 | 95.6667 | 82.8333 | 0.8 | 104.3333 | 76.3333
0.6 | 84.3333 | 81 | 0.6 | 81 | 77
0.4 | 72.6667 | 85.3333 | 0.4 | 62 | 70.3333
0.2 | 47 | 61.8333 | 0.2 | 39.6667 | 49.3333
0 | 15.5 | 25 | 0 | 0.66667 | 23.3333
Grand Total | 94.75 | 68.625