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January 18th, 2022 10AM PST / 11AM MST

Attendees
3DatDepth: Carl Embry, Nelson Diaz, Dominic Floring, Jon Banks
MBARI: David Caress, Giancarlo Troni, Jenny Paduan, Eric Martin, Chad Kecy, Ed Peltzer
Discussion
Introductions 
1. Personnel introductions
2. Current system use and installation with Dave Caress
3. Future uses and justification for this effort with Eric and Dave
Wishlist Rundown
4. Survey Performance
a. Width 90° minimum, identified new max to 120°
b. For multipick, maybe reduce from 5 to 3, still keep the feature.
c. Resolution: minimum 1-cm, the goal is 0.5cm
d. TVG: will be looked into, needs sample data from tank or field.
e. Timing: PTP?
i. Eric will review impact and compatibity with other survey tools
ii. PPS removal will free pins, and make GigE & Power available on one connector. 
f. Removal of dedicated GigE connector? 	
i. Depends somewhat on whether raw data products are desired
ii. Also depends on PTP decision.
5. Mechanical
a. Team is targeting 8” diameter cylinder, with a curved window inset on the tube.
b. Length TBD, Eric should clarify upper limits
c. Depth rating, 4 km still goal, 6km will be investigated.
6. Electrical 
a. Moving to 18-36VDC is preferred by both parties.
b. All items agreeable. 
7. Software
a. Overall , a side discussion of CCI and new software is required to further narrow other software requirements.
b. There are new filters and tools perhaps available from 3DatDepth that will be described in this future meeting. 
c. Other items available in newer systems. 
d. Trigger/Blanking needs more discussion, may be too restrictive.
e. Access to scan information for navigational use needs further discussion. 
f. Pitch/Roll sensors also TBD
Action Items
8. Dave to identify sample data for examples of high angle attenuation while nadir is saturated.
9. Eric  / Dom to coordinate on speed tests. 
10. Scheduled for MBARI tank testing on Feb 7th-11th with WiSSLv1 if Dave’s data isn’t enough.
11. Monthly checkins confirmed, next date not set. 
12. A separate meeting to discuss new data formats & CCI to be coordinated in the next 2 weeks.
