Ocean Visualization

Wednesday, May 28, 2011

10 am Ocean View Conference Room

David Caress, Rich Henthorn, Brett Hobson, Steve Rock, Hans Thomas

- Multibeam test data

  - Hans working on computer hanging during data logging

  - Reson has a software update and has suggested moving away from RAID 1.

- Camera optics and housings

  - Have a corrective optics design, but building it takes longer and costs a lot.

  - Will use flat port with a 50 degree field of view for the June ROV days.

  - Will work to get the corrective optics for a 90 degree field of view for the October ROV days.

  - Cameras and strobes set up in lab, will now work to integrate.

  - Need to define the camera spacing

    - Verging?

    - Some relevant documents/tables are in project library

  - Need to build fig for camera calibration

    - Checkerboard pattern made using plastic sheets

    - Build on the existing rig.

    - The ultimate field of view will be 5 m, but we will have to use a smaller target and move it around during calibrations

    - Probably use a 2 m or so target.

    - Run from 1 m to 3 m vertical

- Power Can

  - Need to add penetrators to power housing – one endcap has only a drain plug.

  - Need to add two penetrators for strobes and one for Kearfott power

  - Want to make a board that has the following:

    - DC Power supplies from 110 VAC – 48V for multibeam + dual 12V (one for strobes and one for cameras) + 24V for the Kearfott

    - Optoisolation for the camera and strobe triggers

  - Move to GigE switch in this housing

- Camera logging computer

  - URI software running and acquiring images.

  - Using command line to operate things

  - Concern regarding data acquisition rate.

    - Can record one pair of images each 6-7 seconds

    - Shooting for 1 Hz capability

- Larry wants to get started on the mounting plate for the toolsled

  - Need to define the range of camera mounting distances and verging