Antarctica

Stacy Kim of MLML will be deploying two SCPI systems in Antarctica in late 2014 to help her study the benthic marine ecology of two locations near McMurdo Station. Both locations are located under 1 to 2 meters of ice and have never been photographed. The first location at Mystery peak is in 40 meters of water and both systems will be deployed for one month, taking an image every 20 minutes. The second location, between Tent Island and the Erebus Glacier Tongue, is in 200 meters of water. Both SCPI systems will again be deployed in this location, this time with extended primary lithium battery packs, allowing them to take an image every 20 minutes for 3 months.

F/V Donna Kathleen

A multi-organizational effort headed by Mary Gleason of The Nature Conservancy, Rick Starr of MLML, and Tim Maricich of the F/V Donna Kathleen are evaluating a SCPI system with the hopes of incorporating it into their instrumentation suite. They are interested in gathering density, size, and habitat-association data for rockfish and other demersal fish (eg. Lingcod). The initial thrust of their study is on the overfished species in fishery closure areas in federal water, specifically the Rockfish Conservation Area. In the future, similar surveys could be conducted in the state marine protected areas.

From Mary Gleason (5/28/2014):

Yes we are interested in getting density, size, and habitat-association data for rockfish and other demersal fish (eg. Lingcod) but with a particular focus in this study on the overfished species in fishery closure areas in federal waters (specifically the Rockfish Conservation Area).  For future applications we are interested in conducting similar surveys of nearshore rockfish species in the state marine protected areas.

Engineering Tests

Our initial deployments were focused on verifying that SCPI met all of our original functional requirements. SCPI was mounted onto ROV Ventana’s midwater tool sled and taken to its maximum operational depth of 300m. SCPI was also mounted to a simple horizontal bar and deployed to various sites in Monterey Bay including the swFOCE site at Hopkins Marine Station and an abandoned discharge pipe in Moss Landing.

ROV Daphne

A SCPI system has been integrated onto the Tethys class of AUVs and has been utilized on a number of deployments. In this configuration, SCPI is tethered to the vehicle. SCPI is then powered from the vehicle’s battery and is controlled by the vehicle’s computer, which can trigger the camera as needed. In 2013, SCPI captured video of the waveglider while Daphne was actively tracking it. More recently, SCPI has been used for zooplankton (eg. Jellyfish)  recording as the standard suite of sensors cannot detect these animals.

Waveglider

In 2014 we plan to deploy a SCPI system on the Liquid Robotics Wave Glider. Because of the Wave Glider’s range and duration, this is the perfect platform to test the long term deployed behavior of SCPI. As with the Tethys class of AUVs, by tethering SCPI to the Wave Glider, camera triggering can be controlled from the central vehicle computer.

proof of concept

expand capabilities of wg