## Sheet1
Physical
Platform | Platform
Target | Depth Rating
Target Size | Deployment Duration
Rate of Images | Mass/Size
Color vs. B&W | Tethered or Autonomous
Image Trigger | Cost
Depth | Lighting
Field of View
Lighting
Deploy Duration
Total # of Images | Optical
Other | Target Size
Mass | Field of View
Video vs. Stills | Video vs Stills
Image Resolution | Image Resolution
Video Resolution | Video Resolution
Camera Control | Image Storage
Storage Capacity | Video Storage
Cost | Rate of Images
Sensors | Camera Control
Tethered or Autonomous
Live Stream
Stereo Imaging
Other
External Image Trigger
External Sensors
Data Logging
Live Stream
Stereo Imaging

## Sheet2
| Original Specs | SeeStar Gen1 | SeeStar Gen2 | Workshop Specs | SeeStar Gen 3
Physical
Platform | AUV/Mooring/Wharf | Any | Any | Not stated
Depth Rating | 200m | 300m | 1500m | 300m
Deployment Duration | 2 Months | 2 Months+ | 2 Months+ | 1 Month
Mass/Size | Not stated | 18lbs dry 6lbs wet | 18lbs dry 6lbs wet | Hand Deployable
Tethered or Autonomous | Autonomous | Both | Both | Both
Cost | <$3000 | 2950 | 2950 | <$5000
Lighting | Side Illumination | Any angle | Any angle | Required
Optical
Target Size | >1cm | >10cm | >10cm | >15cm
Field of View | 1m x 1.5m | 1m x 1.5m | 1m x 1.5m | 90-100 deg
Video vs Stills | Stills | Both | Both | both
Image Resolution | Not stated | 12MP | 12MP | 5MP
Video Resolution | No | 2.7K | 4K | 2.7K
Image Storage | 1440 | 2900 | 2900 | 720
Video Storage | No | 2 Hours (@ 2.7K) | 2 Hours (@ 2.7K) | 24 Hours
Rate of Images | Once/10 min | Once/2 sec | Once/2 sec | Once/60 min
Camera Control | Not stated | Automated | Automated | Fully Manual
Other
External Image Trigger | Optional | No | No | Optional
External Sensors | No | No | No | Depth, Time, Temp
Data Logging | No | No | No | Yes
Live Stream | No | No | No | Optional
Stereo Imaging | No | No | No | Optional