SCPI Under the Ice – Antarctica Deployment 2014

Chad Kecy

04-23-2014

We are sending two SCPI systems to McMurdo station to be operated by Stacy Kim (of MLML) and her research group. There will be two deployments: one month at Mystery Peak at a depth of 40 meters, and three months at “EGT Peak” at a depth of 200 meters. The SCPI systems will be deployed down ice holes on retractable tripods. The shipment date from Pt. Hueneme is August 15, 2014. The return date is approximately Feb of 2015.

Camera Modules

The camera modules will have Hero3+ cameras with a 64Gb micro SD card. The internal USB cable will be attached. Reprogramming of the units between deployments will be accomplished via serial communication while onshore using a test cable. The SCPI controller boards will be modified versions in order to consume less power. Only the minimum necessary functionality will be onboard.

LED Modules

The LED modules being deployed are the 5-LED version. They will be housed in the standard anodized aluminum housings. The LED board will not have any reflectors attached; this will allow for a more uniform illumination of the imaging area.

Battery Modules

A total of four battery modules will be needed for this deployment. Primary lithium cells are planned for the three month deployment. NiMh rechargeables may be used for the one month deployment if the temperature de-rating is not too severe (TBD). The lithium battery has been nominally designed but not ordered or built yet. The NiMh is nominally 4500 mAh while the proposed Lithium is 16500 mAh.

Temperature De-Rating of Batteries

The operating temperature will be -2 degC. Based on de-rating plots found in the Handbook of Batteries, both types of batteries should suffer approximately 10% capacity loss. The de-rated capacities are 4050mAh for the NiMh and 15000 mAh for the Lithium. The discharge rate during rest periods is .004C for the NiMh and .001C for the Lithim. The discharge rate during imaging is .36C for the NiMh and 0.1C for the Lithium. The projected duty cycle is 0.2%.

Imaging Optical Requirements

The targets of interest range from 2-20cm with morphological details down to 2mm. The imaging distance is ~1 meter and the imaging area is 1 meter squared. This is on the edge of what the Hero3+ can image, but due to the contrast between the targets and the background in addition to the slow movement of the targets, the Hero3+ may perform better than expected.

Imaging Storage Requirements

The stated minimum frequency of images is once per day. Based on the energy/image and the total energy in each battery pack, the frequency of images can be greatly increased. Projected numbers for energy per image is 1.40mAh/image. Based on the de-rated energy capacity of each battery, this corresponds to 2900 and 10000 images respectively. Based on the energy per shot previously measured, this allows for an image every 15 minutes for each deployment. Each camera will have a 64Gb SD card, which has the storage capacity for 23,700 images at the projected camera settings (4x3, medium field of view).

System Programming

Programming of the SCPI can be accomplished in the field using a serial test cable. However, if the image taking frequency is one per 15 minutes for each mission, then no re-programming will be necessary. The SD cards will be swapped out after each mission.

Task Lists

| Camera Modules | Who | Done by |
| --- | --- | --- |
| Low Power Mods to Controller Boards | Chad | 5/5 |
| Test Modified Boards | Chad | 5/12 |
| Final Camera Housing Wiring/Securing | Jim M | 5/15 |
| SD Card Verification | Chad | 5/15 |
| Sealing up Housing / Dessicant | Francois | 5/19 |

| LED Modules | Who | Done by |
| --- | --- | --- |
| Get all boards populated | Chad/ET | 5/5 |
| Assemble Housings | ET | 5/12 |
| Test modules | Chad | 5/15 |
| Sealing up Housing | Francois | 5/19 |

| NiMh Battery Modules | Who | Done by |
| --- | --- | --- |
| Build Housings | Francois | 4/24 |
| Verify they are water tight | Francois | 5/19 |

| LiSO2 Battery Modules | Who | Done by |
| --- | --- | --- |
| Design Batteries | Chad | 4/24 |
| Order custom batteries | Chad | 4/28 |
| Manufacture New housings * | Francois |  |
| Assemble completed battery modules * | Francois |  |

| Imaging Testing in Test Tank | Who | Done by |
| --- | --- | --- |
| Find appropriate target | Francois | 4/28 |
| Setup Camera for appropriate modes | Chad | 4/29 |
| Assemble SCPI onto the tripod | Francois | 4/29 |
| Perform test | Francois | 5/1 |

| Cold Room testing | Who | Done by |
| --- | --- | --- |
| NiMh Accelerated testing on SCPI | Chad | 5/1 |
| LiSO2 Accelerated testing on SCPI * | Chad |  |

*dependent upon delivery time of LiSO2 batteries