Camera testing notes

Use test pattern for camera and lens quality

Should have images at all 4 ISO settings.

Note:

Cameras with zoom lens are not good – especially if they extend when powered up(Canon).

Focus is a little problematic, electronic focus that is.

Get fixed lens w manual focus?

GoPRO lens was not aligned properly.

Both the Nikon and Panasonic have an extended ISO range (but the results are not very good).