## Sheet 1 - Table 1
Lab | Proposed Specs | Vrijenhoek and Julio | Godin/Jim B. | Ken S. | Ken S. | Ken S. | Steve
Platform | Any | Auv | LRAUV | LST | LST (upward looking) | Sediment traps on mooring chain | AUV/mooring/wharf
Target | macroplankton | Copepoda, larvae | Large organisms | particulates | particulate | Largeish looking into funnel | Large macroplankton
Target size | >2cm | 250 micron-2cm | 1 cm | 0.1 cm | 1cm | 0.5 cm | >1 cm
Rate of images | variable | Burst at certain rate | Every 5-10 seconds | a pic one hour to one day |  | One per day | every 10 min, every hour
Color vs. B&W | Color | color important |  | color | color | color | color important
Special needs |  |  | Transfer images to CPU, low-drag housing
Image trigger |  |  | External trigger |  | Trigger with acoustics
Depth | 500m | 250 m | 300 m | 1500 m (200m for Canon) | 1500 m | 4000 m | 200m
Power limit |  |  | 1watt |  |  | some limits
Field of view | 1 x 1.5 m |  |  | circle 1" diameter | 1 x1.5 m | 1 x 1.5 m | 1 x 1.5 m
Lighting | white | white |  | white |  | white
Better options than SCPI |  | LISST-HOLO would better meet reqs |  | SES camera system better to meet reqs |  | Time-lapse camera will meet reqs
deployment durations |  |  | 1 week- 1 month | 2 weeks | 2 weeks |  | 2 months
total # of images |  |  |  | 336 |  |  | 1440-8640
Other |  |  | external camera trigger | very small payload |  | batt operated, fixed focus | no adaptive triggering hybernation, biofouling issues