## Part Numbers
Ref | Component | Spec1 | Spec2 | Spec3 | Manufacturer | Manufacturer PN# | Vendor | Vendor PN# | Cost
C-1 | Digital pH Probe
C-2 | Digital pH Probe
F-1 | Water Filter
F-2 | Water Filter
H-1 | Shower Head
H-2 | Shower Head
I-1 | Digital Seawater Pressure Gauge
I-2 | Digital Seawater Pressure Gauge
I-3 | Pressure Regulator for CO2
I-4 | Pressure Regulator for CO2
I-5 | Digital Pressure Sensor
I-6 | Digital Level Sensor
I-7 | Digital O2 Sensor
I-8 | Digital CO2 Sensor
P-1 | Incoming Seawater Pump
P-2 | Recirculation Pump
P-3 | Outlet Pump
T-1 | Mixing Chamber
T-2 | CO2 Gas Tank
V-1 | Electrically Actuated Ball Valve | 1/2" ID | NPT | 115 VAC |  |  | McMaster Carr | 5241T21 | 360.07
V-2 | Manual PVC Ball Valve | 1/2" ID | NPT |  |  |  | McMaster Carr | 4506K41 | 15.87
V-3 | Manual PVC Ball Valve | 1/2" ID | NPT |  |  |  | McMaster Carr | 4506K41 | 15.87
V-4 | Electrically Actuated Ball Valve | 1/2" ID | NPT | 115 VAC |  |  | McMaster Carr | 5241T21 | 360.07
V-5 | Manual PVC Ball Valve | 1/2" ID | NPT |  |  |  | McMaster Carr | 4506K41 | 15.87
V-6 | Manual PVC Ball Valve | 1/2" ID | NPT |  |  |  | McMaster Carr | 4506K41 | 15.87
V-7 | Electrically Actuated Ball Valve
V-8 | Manual Pressure Venting Valve
V-9 | Automatic Pressure Relief Valve
V-10 | Manual PVC Ball Valve | 1/2" ID | NPT |  |  |  | McMaster Carr | 4506K41 | 15.87
V-11 | Manual PVC Ball Valve
V-12 | Manual PVC Ball Valve | 1/2" ID | NPT |  |  |  | McMaster Carr | 4506K41 | 15.87
V-13 | Manual PVC Ball Valve

## Parts Specifications
Ref | Component | Type of Measurement | Type of Control | Min | Max | Units | Secondary Specification | Min | Max | Units | Temp Range | Accuracy | Other1 | Other2
C-1 | Digital pH Probe | Water (liquid) pH | N/A | 4 | 8 | pH units | ? |  |  |  | 40-100 degF | 0.1 pH
C-2 | Digital pH Probe | Water (liquid) pH | N/A | 4 | 8 | pH units | ? |  |  |  | 40-100 degF | 0.1 pH
F-1 | Water Filter | N/A | Particulate Filtering |  |  | microns | Water (liquid) Flow Rate |  |  | mL/sec | 40-100 degF
F-2 | Water Filter | N/A | Particulate Filtering |  |  | microns | Water (liquid) Flow Rate |  |  | mL/sec | 40-100 degF
H-1 | Shower Head | N/A | Water (liquid) Dispersion |  |  | droplet diameter | Water (liquid) Flow Rate |  |  | mL/sec | 40-100 degF
H-2 | Shower Head | N/A | Water (liquid) Dispersion |  |  | droplet diameter | Water (liquid) Flow Rate |  |  | mL/sec | 40-100 degF
I-1 | Digital Seawater Pressure Gauge | Water (liquid) Pressure | N/A |  |  | psi | ? |  |  |  | 40-100 degF
I-2 | Digital Seawater Pressure Gauge | Water (liquid) Pressure | N/A |  |  | psi | ? |  |  |  | 40-100 degF
I-3 | Pressure Regulator for CO2 | CO2 (gas) Pressure | N/A |  |  | psi | ? |  |  |  | 40-100 degF
I-4 | Pressure Regulator for CO2 | CO2 (gas) Pressure | N/A |  |  | psi | ? |  |  |  | 40-100 degF
I-5 | Digital Pressure Sensor | O2/CO2 (gas) Pressure | N/A |  |  | psi | ? |  |  |  | 40-100 degF | % ?
I-6 | Digital Level Sensor | Water (liquid) Level | N/A |  |  | mm (above ref) | ? |  |  |  | 40-100 degF | % ?
I-7 | Digital O2 Sensor | O2 (gas) Concentration | N/A |  |  | psi | ? |  |  |  | 40-100 degF | ppm?
I-8 | Digital CO2 Sensor | CO2 (gas) Concentration | N/A |  |  | psi | ? |  |  |  | 40-100 degF | ppm?
P-1 | Incoming Seawater Pump | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
P-2 | Recirculation Pump | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
P-3 | Outlet Pump | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
T-1 | Mixing Chamber | N/A | Liquid + Gas Storage |  |  | cubic meters? | ? |  |  |  | 40-100 degF | N/A
T-2 | CO2 Gas Tank | N/A | CO2 (gas) Storage |  |  | cubic meters? | ? |  |  |  | 40-100 degF | N/A
V-1 | Electrically Actuated Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-2 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-3 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-4 | Electrically Actuated Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-5 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-6 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-7 | Electrically Actuated Ball Valve | N/A | CO2 (gas) Flow |  |  | LFM | ? |  |  |  | 40-100 degF | N/A
V-8 | Manual Pressure Venting Valve | N/A | Gas Flow |  |  | LFM | ? |  |  |  | 40-100 degF | N/A
V-9 | Automatic Pressure Relief Valve | N/A | Gas Pressure (relief) Flow |  |  | LFM | ? |  |  |  | 40-100 degF
V-10 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-11 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-12 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A
V-13 | Manual PVC Ball Valve | N/A | Water (liquid) Flow |  |  | mL/sec | ? |  |  |  | 40-100 degF | N/A