Shallow Water FOCE subsea node notes

Internal Science Instruments

(3) pH Probes – aft, forward, center chamber
(1) CTD+O2 – center chamber
(1) DVL – center chamber
(1) PAR Sensor – center chamber


External Science Instruments

(1) pH Probe
(1) CTD+O2


Instrumentation

(2) Motor+Controller – aft, forward
(?) Cameras
(?) Lights
(?) Pan/Tilt
(1) Directional Relay Box
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