FOCE Chassis Power Supply Engineering Change Orders

A - SPI2 MISO line modification

Pull U7-1 leg off of pad.

Tie U7-1 raised leg to U4-3.