FOCE Load Switcher

Functionality:

Individual instrument load switching

Upto 30V available to each instrument

Upto 2A available to each instrument

Individual instrument voltage and current monitoring

Undervoltage protection / Overcurrent protection [circuit breaker]

Additional Features:

Direct interface to new ground faulting board

Simplifies power distribution within FOCE

Individual addressable boards in stack (up to xx boards)

Low power consumption

Latching relays used

Circuit breaker at input allows for rapid power removal

Common bus allows for future board development on same stack

Simple SPI interface to main CPU

Replaces:

RTD Relay Control Boards (x2)

FOCE Distribution Boards (x4)

Power Distribution Cables (x4)

Notes:

Different sized connectors for each input voltage

Digital Potentiometer to set current/voltage levels