## Slide 1: FOCE Block Diagram
ESW
Storage
CO2
Source
pH controlled enclosure
Delay
Path
Sea
Water
pH Control
System
ESW
Delivery
System
Controller HW
Data
Log
Data
UI
Telemetry
Link(s)
Control
UI
Data Archive
CTD
pH Probe
Velocimeter
ADCP
Motor
Controller
Valves
Fan
4x Internal
2x External
1x ESW subsys
Internal
External
H2O Velocity
2x Fans
1x ESW Pump
2x ESW Valves
1x Internal
1x External
Camera
Sensors and Actuators
System Controller SW
Power
Source
Power
Distribution
Experiment
Cables
Enclosures
pumps, valves, fan, etc.
Anchor, skirt, etc.

## Slide 2
pH Controller
Velocity
Controller
System
Monitor
Data
Distribution
Data Acquisition
Data Visualization
Telemetry
Data
Logging
Timekeeping
Time
Distribution
Sensor/Actuator
Drivers
Development
Tools
System
Utilities
System
Config/Control
System
Software
Resource Management
System
Interface
Configuration
Increasing Accessibility for Users
Software, Firmware, Hardware
Dependencies
Hardware

## Slide 3
pH.int
Vx.int
CTD.int
GF Det (?)
WiFi
Radio
Camera.video
Thruster (0?)
Env.Humidity (?)
Devices
Instruments and Actuators
ESW
Pump (1-?)
Bus .V(?)
Env.Temp (?)
Env.Water (?)
ESW
Valve (0?)
Camera.still
Bus .I(?)
Env.Pressure (?)
Ethernet
pH.ext
Vx.ext
CTD.ext
Serial

## Slide 4
Simplest FOCE
Mesocosm
Power supply (batteries)
Instrument controller
Control Sys
Telemetry link
pH int, ext
CT int, ext
Vx int
Simplest ESW sys
ESW storage
ESW pump
ESW valve (or 2nd pump)
Simplest UI
In
pH, CTD, Vx
Bus V/I, Env
Out
Start/stop ESW delivery
On/off instrument power
On/off system power
Start/stop control sys
Config control sys (mode, tune)