## Slide 1: Evaluation Criteria
Meets science requirements
Provides science preferred, optional capabilities
Minimizes technical capability required to implement
Easy to build
  Readily available materials
  Readily available tools
Easy to extend
  Add new instrument
    Software language, OS, tools
    Instrument mounts
    Installation procedure
  Update or substitute processing hardware and software
Easy to use
  Configure
  Test
  Deploy
  Maintain
  Recover
Robust
  Reliability - Likely points of failure
  Vulnerability - Exposure to threats
Candidate technologies and architectures are compared
against several metrics

## Slide 2: Evaluation Criteria
Minimizes housings and connectors
Minimizes environmental threats or hazards
Maximizes use of COTS components (components can be purchased)
Minimizes material cost
Minimizes power use

## Slide 3: xFOCE Subsystems and Interfaces
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)

## Slide 4: xFOCE Architecture: More Remote, Less Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
User Interface
Communications/Telemetry

## Slide 5: xFOCE Architecture: More Remote, More Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
User Interface
Communications/Telemetry
Control
System

## Slide 6: xFOCE Architecture: Less Shore, No Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
Communications/Telemetry
Physical
Protocols
Power

## Slide 7: xFOCE Architecture: More Shore, No Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
Communications/Telemetry
Physical
Protocols
Power
Control
System

## Slide 8: xFOCE Architectures Ranked
In general,
Better Near than Far
Better Up than Down
If you have to put things far away:
Minimize cable runs and housing penetrations, even if it means putting more stuff on the seafloor

## Slide 9: xFOCE Architectures Ranked Better Near than Far, Better Up than Down
 | Ease of Build | Ease of Use | Housings and Connectors | Reliability | Vulnerability
More Remote Less Surface | 4 | 4 | 4 | 4 | 3
More Remote More Surface | 2 | 3 | 2 | 3 | 4
Less Shore No Surface | 3 | 2 | 3 | 2 | 2
More Shore No Surface | 1 | 1 | 1 | 1 | 1
Standalone
Connected