## Slide 1
xFOCE / swFOCE
Review

## Slide 2: xFOCE
Quick Background – talk about the current activities
eFOCE, cpFOCE, dpFOCE and how these led to the xFOCE
Bill

## Slide 3: xFOCE Science Reqs
Required
Preferred
Optional
Bill / Ed

## Slide 4: swFOCE Science Reqs
Shall be Built on xFOCE
Bill / Ed

## Slide 5: xFOCE Concept of Ops cable
Science interface on shore
CO2 and Enriching process on shore
Air / sea interface managed using buried cable
Capable of supporting 6 to 8 xFOCE units
(4 active pH chg and 4 control)
Depth rating
min - XX
max - XX
Anchored to bottom
Uses ??? to prevent erosion

## Slide 6: xFOCE Concept of Ops no cable
Science interface on shore
CO2 and Enriching process off shore
Air / sea interface managed using surface expression (buoy ?)
Capable of supporting 6 xFOCE units (?? Maybe less)
(3 active pH chg and 3 control)
Depth rating
min - XX
max - XX
Anchored to bottom
Uses ??? to prevent erosion
Comms by telemetry

## Slide 7
xFOCE Concept of Ops

## Slide 8: xFOCE Tech Specifications
Several pages maybe???
Divide shalls from nice to have
These are specific and measureable… testable

## Slide 9: swFOCE Tech Specifications
Starting with xFOCE… does not conflict
Divide shalls from nice to have
These are specific and measureable… testable
Tie directly to science requirement(s)

## Slide 10: xFOCE Systems concept
Divide sub-systems out, major blocks and define what will traded.
Define system / sub-system interfaces
Assign each trade to a

## Slide 11
xFOCE Systems concept

## Slide 12
xFOCE Systems concept
What is the minimum requirement of elements for xFOCE?

## Slide 13: Evaluation Criteria
Meets science requirements
Provides science preferred, optional capabilities
Minimizes technical capability required to implement
Easy to build
  Readily available materials
  Readily available tools
Easy to extend
  Add new instrument
    Software language, OS, tools
    Instrument mounts
    Installation procedure
  Update or substitute processing hardware and software
Easy to use
  Configure
  Test
  Deploy
  Maintain
  Recover
Robust
  Reliability - Likely points of failure
  Vulnerability - Exposure to threats
Candidate technologies and architectures are compared
against several metrics

## Slide 14: Evaluation Criteria
Minimizes housings and connectors
Minimizes environmental threats or hazards
Maximizes use of COTS components (components can be purchased)
Minimizes material cost
Minimizes power use

## Slide 15: xFOCE Subsystems and Interfaces
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)

## Slide 16: xFOCE Architecture: More Remote, Less Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
User Interface
Communications/Telemetry

## Slide 17: xFOCE Architecture: More Remote, More Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
User Interface
Communications/Telemetry
Control
System

## Slide 18: xFOCE Architecture: Less Shore, No Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
Communications/Telemetry
Physical
Protocols
Power

## Slide 19: xFOCE Architecture: More Shore, No Surface
ESW
CO2
SW
ESW
ESW Distributor
Data
Data Archive
Data Acquisition
Data
Distribution
User Interface
Console
Chamber
Instruments
ESW effector(s)
Flow effector(s)
Observation Expansion (optional)
Camera(s)
Control
System
Communications/Telemetry
Power
Generation
Storage
Distribution/Protection
GUI
Remote
(optional)
System Management
Configuration & Control
Monitoring/
Health/Status
Physical
Protocols
Sensors(s)
Surface
Seafloor
Shore
Communications/Telemetry
Physical
Protocols
Power
Control
System

## Slide 20: xFOCE Architectures Ranked
In general,
Better Near than Far
Better Up than Down
If you have to put things far away:
Minimize cable runs and housing penetrations, even if it means putting more stuff on the seafloor

## Slide 21: xFOCE Architectures Ranked Better Near than Far, Better Up than Down
 | Ease of Build | Ease of Use | Housings and Connectors | Reliability | Vulnerability
More Remote Less Surface | 4 | 4 | 4 | 4 | 3
More Remote More Surface | 2 | 3 | 2 | 3 | 4
Less Shore No Surface | 3 | 2 | 3 | 2 | 2
More Shore No Surface | 1 | 1 | 1 | 1 | 1
Standalone
Connected

## Slide 22: Trade Elements Mechanical
Chamber size, shape, materials, anchor, mounts
ESW generation, storage, distributor, effectors
Flow effectors

## Slide 23: Trade Elements Software
UI console, GUI, data access SW
Data acquisition, distribution SW
  HW requirements: IO, memory
  Language(s), tools, OS/none, 3rd Party
Communications protocols SW
Control system software

## Slide 24: Trade Elements Electrical
Power generation, storage, distribution
Load/Bus switching, GF detection, isolation, monitoring
Environmental monitoring HW
Data acquisition, archive HW
Communications backbone HW

## Slide 25: swFOCE Systems concept
Divide sub-systems out, major blocks and define what will traded starting with xFOCE base.
Define system / sub-system interfaces
Assign each trade to a

## Slide 26
swFOCE Systems concept

## Slide 27
swFOCE Systems concept
What is required to make an swFOCE?

## Slide 28: Mechanical
Basic xFOCE Structure
swFOCE if anything is modified
Anchoring (environmental data)
Flow control
Light management
Bio-fouling

## Slide 29: Electrical
Power
Budgets
Management
Communications
Ground Fault ??
Control Circuits

## Slide 30: Software
Basic Architectural Structure
xFOCE (minimum needs)
swFOCE (extensible elements as needed)
Open Source
Controller / algorithm development
Science/User interfaces
most basic
options
Realtime vs. ??

## Slide 31: Data
Collection
Storage
Processing (??)
Quality
How does design handle modularity of xFOCE