Notes meeting 10:30  2/4/2016

Tom: opening, tech developers invitee list?

Tom: what about Robert, light speed cytometry – semi retired – question to Heidi

Heidi: did not work directly. Not high on my list.

Tom: Chris and Bellingham visited his lab. Could Heidi ask Bellingham?

Heidi: loose end, different approach

Klimov: high throughput potentially

Next: Rob Olson

Heidi: Rob is semi-retired, need convincing for him  to come

Tom: Ozcon? Prototype fluorescent microscope, biomed – not marine applications. Few conversations – 2.5 years ago – needed funding.

John: is it low cost? Did evaluate?

Klimov: explained history of interaction with Holomics – biomedical – easier to optimize, narrower parameters, concentrations and particle size

Jarred: no environmental applications – rate low.

Tom: agreed, low rate at 3

Tom: 4-Deep?

John: question of throughput is connected to use cases

Tom: willing to work with us on this.

Klimov: out of high throughput -  2 cases – what about keep this one

Tom: ok keep as rating #2

Tom: Peter Lopez? Biomed but interested in environment. New techniques in the lab.

Klimov: had good outlook on different methods

Heidi, Haika: good to have a bit of outlook

Tom: ok rating #1

Tom: Matt Mowlem?

Klimov: how mature, longevity, biofouling?

Heidi: looked intriguing, beyond concept.

Tom: have a look at presentations? Research offline?

Tom: Steve Steinberg? So-Cal water quality monitoring. Science camp, but he collaborates with Berkley as tech development – so what about invite Berkley guys?

Klimov: Berkley looks like good idea – how many?

Tom: 2 – Steve + 1 from Berkley.

Tom: Back to microfluidics – 1, 2, or all 3?

Heidi: what about costal ocean vision – website.

Klimov: (had a look) - open-frame system, have a promise of solving avoidance issue

Tom: have high rating of 1.

Use case: John Ryan

John: described use case. Recognizing front is important

Klimov: what is discussed – goal? Selecting/ identifying technologies?

John: yes identification of tech is important. The detection of edges in addition to primary measuring method.

Tom: instrument comparison, table, approximate comparison

Weekly meetings? Looks like everybody ok with that.