3/16/2016 teleconference,  Tank View.

Present: Heidi, John, Jarred, Tom, Denis.

Tom: tried divide comments into agenda. Agenda draft session 1,2,3,4

Tom: focus on restrictions

Heidi: combine 1 and 3 by Chavez

Swapping 2 and 3? Applications and then to vehicles

Heidi: short talks, then discussion? Right?

Denis: time?

Tom: sessions short and concise. 45 min.

Denis: where is 3 days going to?

Heidi:

Tom: session 4 – couple of hour

Heidi: session 4 – split to more sessions?

Tom: power, storage, etc.

Denis: Importance of use cases – Chris, 1st meeting.

John: Hobson – vehicle overview. Matthew Camp on persistence.

Denis. Still not getting the idea of combining session 1 and 2 (user cases and vehicles)

John: Control algorithms? In use now.

Tom: Yanwu?

John: specifications, or controls algorithms? Vertical search mode.

Denis: keep 1 and 2 separate, add structure to session.

John: give fixed time to presenter. Clear on allocation of times to session, ones we know – tell to presenters.

Denis: half-day each, then deviate from there.

Heidi: session 4 is too long for 1 afternoon.

Heidi: Francisco, earlier remarks – manufacturers, if there is room, senior engineers,

Denis: careful with ‘trade show’ approach

Tom: 2 manufacturers so far. Is it too much bias?

Jarred: in discussion, the bias, in discussion will not hold.

Tom: so presentations by manufacturers are ok then?

Tom: 20 confirmed attendees. Galliger did not respond.

Heidi: did see him, do not know the status.

Tom: 10 MBARI and 10 invitees. 7 by air.

Heidi: leaving.

Tom: percent of workshop time?

Denis: percent of day time?

John: introduces idea, hours needed rather than percentage. Know total time.

Tom: ok lets start with introduction. How long? Look at description.

John: 1 person + discussion = couple of hours? Too early to specify time.

Tom: ok one person… what is workshop purpose?

Denis: add structure first, then divide time.

John: discuss content with presenters – Hobson, Yanwu.

Jarred: MBARI vehicles only?

Tom: not only.

Denis: JRF? May be. Add JRF to vehicle section?

Tom: Heidi suggestion. Have 1 page standard format, lighting discussion.

Denis: list by instrument, with standard format, make sequence logical. Ok?

Denis. Jarred, John – agree?

John: structure needed, - good. Can we finalize – unlikely.

Tom: can review again.

Denis: ok we can revise and then circulate draft.

Tom: do it internally.

Denis: John does this work for you?

John: ok make sense. Need

Tom: prepare draft internally next week, distribute draft next week, get feedback, incorporate, send again, then meet at telecom in 2 weeks.

Tom: will send doodle poll.

**************************

Only a couple of things to add to Heidi's comments:

1) In the introduction to the workshop clearly convey that the end result are concrete plans to tackle challenges/opportunities needed for development of components (power, storage, onboard processing, sample throughput, optics, etc.) required to build a cytometer/microscope system that can be deployed for extended periods (months), over the upper 200 m of the water column and can identify and size plankton in the 1-100 micron range. Present the list of known challenges as Heidi indicates in her bullet 4. Each of the sessions is discussed with this end result in mind. 
2) As part of the science applications/case studies introduce the potential platforms therefore combining sessions 1 and 3.

****************************************** 
Francisco Chavez 
Senior Scientist, MBARI 
7700 Sandholdt Rd 
Moss Landing, CA 95039 
831-775-1709 (voice), 831-775-1620 (fax) 
chfr@mbari.org, http://www.mbari.org/bog 
****************************************** 
----- Original Message -----
From: "Tom O'Reilly" <oreilly@mbari.org>
To: "Denis Klimov" <klimov@mbari.org>, "Chris Scholin" <scholin@mbari.org>, "Francisco Chavez" <chfr@mbari.org>, "Tom O'Reilly" <oreilly@mbari.org>, "Heidi Sosik" <hsosik@whoi.edu>, "Raphael Kudela" <kudela@ucsc.edu>, "Heike Schmitz" <heike.schmitz@gmail.com>, "John Ryan" <ryjo@mbari.org>, "Jarred Swalwell" <jarred@u.washington.edu>
Sent: Monday, March 14, 2016 4:13:34 PM
Subject: Microscope/cytometer workshop steering committee telecon


We'll discuss ideas for workshop format and agenda, this Wednesday March 16 at 2:00 pm PDT. 
See latest ideas from Heidi and Tom, below. 

Wed, Mar 16, 2016 2:00 PM - 3:00 PM PDT 
Please join my meeting from your computer, tablet or smartphone. https://global.gotomeeting.com/join/328167877 

You can also dial in using your phone. 
United States : +1 (571) 317-3122 

Access Code: 328-167-877 

Heidi Sosik wrote: 

1. Compress session 1 into a short presentation of the example use cases we already started, where you end by soliciting feedback from the group (i.e., is there something really important that we failed to capture). I would venture that no extended discussion or break out groups are needed on that topic. 

2. Compress session 3 into a short presentation (probably given by someone knowledgeable at MBARI), with the idea that the info just sets the stage for more detailed discussions about instrumentation capabilities and outstanding challenges. My thought is that this workshop is not about vehicles per se, so we shouldn't spend a lot of time identifying vehicle issues. Perhaps the presenter could be asked to identify the important strengths and any outstanding challenges with regard to the example use cases started by Francisco and John, then the group could again provide feedback in case something important is missing. 

3. Regarding session 2, could we streamline this effort by asking anyone who is familiar with a particular instrument to prepare up to one page ahead of the workshop, with the idea that will describe the major capabilities of the instrument (and include links to more detailed info as appropriate, such as websites, manufacturer's pages, publications)? We could provide some guidance about things that should be addressed (instrument name, development status (commercial, lab prototype, field tested...), list of measurements made, typical or intended deployment mode, sample mode / rate (volume/time), particle sampling rate, particle size range, image resolution, power demand, communication mode/rate, etc.), as well as leave it open ended for the contributor to provide whatever s/he thinks is most relevant to include in one page). These one-pagers could be posted on a dropbox or google doc site for review by others before and during the workshop - they could also be edited as appropriate as we go. If we feel the need, we could have a "lightening talks" period to introduce each instrument quickly at the workshop (each no more than 1-2 slides, 2-3 min). 

4. If you agree to omit "science applications" and "vehicles" as topics of major discussion sessions, then there could be room to divide your session 4 topic into a few more substantive separate discussions that would happen earlier in the meeting. Perhaps along the lines of the major challenges we already discussed during our telecons [i.e., how can we get smaller? how can we use less power? how can we get more sample throughput (more images, more water sampled per time)? and all in the context of trade-offs among resolution (image, space, time) and engineering constraints.] I guess we could follow a pattern similar to what I proposed above, where near the beginning of the workshop, you present our list of "gap topics", and solicit the groups' feedback in case we've missed something important that should be folded into the discussions. 


On 3/6/2016 3:20 PM, Tom O'Reilly wrote: 
OK, how about an agenda outline, like this: 

Workshop introduction: Overarching goals 

Session 1: Science applications 
Challenge: Identify 1 or 2 “top” applications that require mobility, and rely on or benefit from autonomy. Describe requirements of particle size-range, characterization (eukaryote/prokaryote, species, etc), depth, spatial and temporal scales

Session 2: Available and emerging instrumentation 
Challenge: How do available/emerging instruments address science applications from session 1? 

Session 3: Available and emerging vehicles 
Challenge: How do available and emerging vehicles accomodate instruments described in session 2? 

Session 4: Conclusions 
Challenge: Identify technology gaps, next steps (e.g. collaborative projects) 

Each of the sessions would include the brief intro with expected outcome, and a brief presentation as Chris suggested. Maybe each session could be chaired by the presenter. 

What do you think? 
------------------------------------------------ 
Thomas C. O'Reilly 
Monterey Bay Aquarium Research Institute 
7700 Sandholdt Road 
Moss Landing, CA 95039 
831-775-1766 
oreilly@mbari.org 
http://www.mbari.org