Cytometers set sail with sea-going mobile robots

AUTHORS

Peter Lopez

NYU School of Medicine

Thomas C. O'Reilly

Denis Klimov

Monterey Bay Aquarium Research Institute

<<H1>> Introduction

Marine microbial communities play a critical role in Earth's biosphere; phytoplankton produce approximately 50% of the atmosphere's breathable oxygen, regulate atmospheric CO2, and form the base of the marine food web. Toxic algal blooms have major effects on coastal ecosystems and fisheries as well as on human health. It is important that we improve our understanding of these microbial systems and relationships; in this paper we describe how new sensor and vehicle technologies promise to do just that.

Instruments known as flow cytometers (Fig. 1) produce quantitative multi-parametric measurements of individual particles at rates of thousands per second or more (Shapiro 2003), providing knowledge of phytoplankton distribution, diversity and abundance in the ocean. Cytometric measurements such as light scattering and fluorescence can reveal cell size and intrinsic pigments, which are useful in characterizing plankton taxonomy, abundance and viability (Fig. 2). Most cytometric measurements are currently made from ships, buoys, piers, and cable-to-shore observatories. Integration of cytometers into autonomous surface and underwater vehicles could greatly advance marine microbiology by enabling better spatial and temporal sampling, facilitating faster "event response", providing access to climate-sensitive polar under-ice regions, and reducing costs relative to ship operations. In this article we discuss instrument and vehicle development trends that point the way to these ‘mobile robot cytometers’.

FIGURE 1

Diagram of a typical flow cytometer. Particles to be analyzed are introduced into a nozzle or cuvette, where hydrodynamic focusing produces a single-file of particles flowing past a focused laser. Light scattering and fluorescence measurements are made with photomultiplier tubes (PMTs) that detect selected wavelengths as determined by optical band-pass filters. PMT output is converted by analog to digital converters (ADCs) for computer analysis and display of particle signal intensity levels. Image used with permission, Semrock.com

FIGURE 2

Flow cytometric analysis of a marine phytoplankton community from a sample taken at 5 meters depth near the Monterey Submarine Fan in 2011. Levels of 692nm chlorophyll fluorescence plotted against forward light scattering intensity allow discrimination of Prochlorococcus (Pro), Synechococcus (Syn), and eukaryotes (Euk). Sample is spiked with 0.75 micrometer yellow green “YG” beads (Polysciences, Inc.) as a size reference. Image courtesy of Amy Zimmerman, MBARI

Long-duration untethered autonomous vehicles can sample broad areas and volumes, and they are revolutionizing ocean sciences (Bellingham, 2014). Inclusion of cytometers on these vehicles would greatly advance marine microbiology, but also presents challenges. Existing vehicles have limited size, and power budget that must be considered in order to achieve satisfactory range and endurance. Other vehicle constraints such as communications bandwidth, speed and hydrodynamics have implications for sampling strategies and resolution. Traditional flow cytometer design presents unique challenges for autonomous vehicle integration. The hydrodynamic focusing typically utilized for optimal positioning of particles in a cytometer’s flow cell requires a source of particle-free “sheath” fluid. Laser light sources, focusing optics and detection systems must maintain precise alignment to provide accurate, reproducible data. In addition, many desirable flow cytometric assays such as total DNA or viability assessment require processing of material before entering the flow cytometer for analysis (Veldhuis and Kraay, 2000, Lomas et al, 2011). Data processing and communication requirements and capabilities add another constraint to cytometer integration. Clearly integration of flow cytometers as AUV payloads would benefit from optimized instrument design.

A consideration of the minimum number of flow cytometric parameters that can provide reliable characterization of phytoplankton is important for producing a focused instrument design. The fact that many plankton groups can be identified by cytometric measurement of the intrinsic qualities of the organism, such as light scattering (as a proxy to approximate size) or fluorescence from native pigments (without staining beforehand) helps to reduce the parameters needed (Sosik et al, 2010). Coulter volume, time-of-flight pulse shape characterization, and particle imaging have also been proven beneficial for marine applications. These techniques that do not require elaborate sample preparation or sorting are the best candidates for early integration.  Several instruments have been developed and deployed that combine some of these techniques; e.g. the CytoSense (CytoBuoy b.v., Woerden, the Netherlands) utilizes pulse shape analysis and image capture, and the Imaging FlowCytobot (WHOI, Woods Hole, MA) adds image analysis. The wide range of sizes (0.2-200 micrometers) and shapes (round, rod-like, chains) of marine phytoplankton adds a daunting challenge in designing one cytometric system that can accurately identify all plankton groups of interest.  Most conventional cytometer designs are unable to handle such a wide particle size range without adding considerable complexity to the system (e.g. the Beckman Coulter Astrios “EQ”). Instead, specialized instruments are produced which are optimized for smaller ranges of particle sizes (e.g. the Apogee A50).

<<H1>>STATE OF THE ART

<<H2>>Autonomous vehicle benefits

Autonomous surface vehicles (ASVs) are robotic boats that move along the sea surface; an ASV may be equipped with a winched profiler, a towed body or simply a sample tube to acquire samples below the surface. Autonomous underwater vehicles (AUVs) move in three dimensions and may be propeller-driven, or buoyancy-driven in the case of gliders. Autonomous vehicles provide a number of benefits compared to manned vessels:

Automated surveys: Autonomous vehicles can be dispatched to specific locations, and underwater vehicles to specific depths, enabling 2D and 3D surveys. The survey may be commanded by a human operator or another machine, or the vehicle itself may alter survey patterns in response to in situ sensor data.

Operational cost/scalability: Autonomous vehicles are typically cheaper to operate than crewed ships. As a point of comparison, a Wave Glider ASV (Liquid Robotics, Sunnyvale, CA) costs MBARI about $900/day to operate; while MBARI's 41-meter RV Rachel Carson costs about $8,000/day. Due to lower cost of equipment and operation, multiple autonomous vehicles running multiple missions can be used at lower cost than one research vessel.

Endurance: Some autonomous vehicles such as the LRAUV (Hobson et al, 2012), and the Spray glider (Davis et al, 2002) are capable of long deployments lasting weeks or even months, spanning thousands of kilometers. These vehicles enable continuous presence in a region of interest, provide opportunities to observe microbial community changes over time, and enable quick response to events such as blooms.

Access to extreme environments: autonomous vehicles with sufficient endurance, navigation systems, and reliability are able to perform measurements in some important ecosystems including Arctic regions (see below), where direct access by manned vehicles or divers is expensive and difficult.

The above-mentioned features would be beneficial to many mobile cytometer applications, including the following projects evaluated at the Monterey Bay Aquarium Research Institute (MBARI) and elsewhere:

Controlled, Agile, and Novel Observing Network (CANON): This MBARI project aims to monitor microbial populations, their developmental lifecycles, and their effects on ecosystems in and around Monterey Bay, emphasizing long-term measurements with autonomous platforms, vehicles and instruments (mbari.org, 2015). CANON includes studies of small phytoplankton (Prochlorococcus, Synechococcus, and eukaryotes) in offshore waters as well as larger cells and algal blooms in the inner bay, including potentially toxic Pseudo-nitzschia species. A mobile cytometer would complement physical and chemical sensors, samplers, and ecogenomic instruments such as the Environmental Sample Processor (see below for more details).

Microbial population changes in Arctic waters: Rapid environmental and microbial change is occurring under polar ice. The recent discovery of major phytoplankton blooms beneath Arctic ice in the Chukchi Sea (Arrigo et al, 2012) points to limitations in our current knowledge of these important ecosystems. Li et al (2009) documented microbial population changes in the Arctic Ocean in concert with climate-driven changes, with picoplankton (less than 2 micrometers) replacing larger cells such as diatoms (2 - 20 micrometers) over a period of several years. These changes may be associated with thinning ice thickness and areal extent as well as freshening and stratification of surface water. Potential shifts in phytoplankton and bacterial community structure will have major repercussions on carbon sequestration at depth in the ocean (Forest et al. 2011). Thus far, most sampling has been performed by ships in open water.  AUVs have already performed salinity, temperature and ice-thickness surveys underneath Arctic and Antarctic sea ice (Wadhams et al, 2006, Williams et al, 2014), and a cytometer payload could enable under-ice microbial surveys

<<H2>> Mobile cytometer: challenges

Before robot mobile cytometers become reality; we must also consider the technical challenges of operating these instruments aboard autonomous vehicles:

Power: Energy is a precious commodity on most autonomous vehicles. Most of today’s marine cytometers consume more than 35W when sampling, and must sample for a minimum of several minutes; these power levels could significantly decrease the endurance of small vehicles. For example if half of the Long Range AUV's 18 MJ secondary battery pack (Table 1) were used to run a 35W cytometer, the instrument could operate about 60% of the time, at the cost of cutting vehicle endurance in half.

Size: Even compact marine cytometers such as SeaFlow (Swalwell et al, 2011) in its present configuration are roughly the size of a large microwave oven, and exceed the payload capacity of many vehicles, as shown in Table 1 and Table 2.  None of the three cytometers in Table 2 could be integrated with the Spray glider, and considerable instrument size reduction would be required for integration with LRAUV. The Wave Glider Autonomous Surface Vehicle offers more payload space, and in fact a Wave Glider cytometer project is now underway (see The Future, below).

Telemetry: Some autonomous vehicles use cell phone networks close to shore but must use low-bandwidth expensive satellite links when far from the coast or in remote regions. Limited telemetry links pose challenges for applications that require large volumes of near real-time data telemetry to shore. For example scientists may need microbial data in near-realtime to efficiently focus resources such as ships on areas of interest.

Environment: The vehicle and its cytometer should be operable within the depth and temperature range of the target phytoplankton, i.e. within the photic zone between 0 and about 200 meters, and from -1.8C to about 38C in the tropics. The instrument should be rugged enough to withstand mechanical shock and vibration during deployment and recovery, and should be operable within expected roll and pitch angles during a deployment.

Risk of vehicle loss: Today’s cytometers generally cost on order of $100K and more; if the vehicle is lost, then so is an expensive instrument. High cytometer cost also discourages procurement of multiple instruments, e.g. for deployment on a fleet of vehicles.

Table 1 shows characteristic payload and power specifications for several autonomous vehicles with endurance of a week or longer; images of the vehicles themselves are shown in Figure 3. Of all the vehicles shown, the Spray glider is particularly constrained in terms of payload volume, power, and energy in comparison to either Wave Glider or Long Range AUV. A cytometer that could fit within Spray would be quite different than one compatible with the larger vehicles.

TABLE 1

Key characteristics of the Liquid Robotics SV3 Wave Glider, Scripps' Spray glider and MBARI's Long Range AUV, as described in publications, marketing materials and personal communication with developers. Actual endurance will depend on energy needs of integrated instruments and vehicle speed.

|  | SV3 Wave Glider | Spray glider | Long Range AUV |
| --- | --- | --- | --- |
| Type | wave-propelled autonomous surface vehicle | buoyancy-driven glider | propeller-buoyancy hybrid |
| Approximate payload dimensions (cm) | two deck boxes: 38x38x12.7 one deck box: 10x37x17 towed body: 15 dia x 100 len | 11 dia x 15 len | 30 dia x 33 len |
| Max payload weight (kg) | 45 | 3.5 | 10 |
| Typical horizontal velocity (m/s) | 1 | 0.3 | 1 |
| Hotel load (watts) | 5 - 20 | 1 | 50+ |
| Payload energy | 150W solar panels, 16 MJ storage batteries | 13 MJ (Li primaries) | 18 MJ (Li secondaries) 40 MJ (Li primaries) |
| Typical endurance | months | 88 days, 354 depth cycles | 11 days, 800 km 27 days, 1900 km |
| Reference | liquidr.com, 2015; Brian Kieft (MBARI) | ucsd.edu, 2015; Brent Jones (MBARI) | Brian Kieft (MBARI) |

TABLE 2

Characteristics of some available automated marine cytometers, as described in publications, marketing materials and personal communication with developers (*).

|  | Imaging FlowCytobot | SeaFlow | CytoSub/ CytoBuoy |
| --- | --- | --- | --- |
| Type | imaging flow cytometer | benchtop flow cytometer | imaging line-scan flow cytometer |
| Application | Submersible to 40 m | Shipboard | Submersible to 200 m |
| Detectable cell size | 1-100 m | 0.5-20 m | 0.5-800 m |
| Power (watts) | 35 | 250 (includes PC/monitor) | 50-60 |
| Dimensions (cm) | 26D x102L cylinder | 68 x 49 x 33 (PC not included) | 32D x 50L cylinder |
| Unattended endurance | up to 11 months * | 5 days * | several months |

FIGURE 3

Long-duration autonomous vehicles; (a) Wave Glider ASV (b) Spray glider (c) Long Range AUV. Photographs used with permission (a) Tom O'Reilly (MBARI, 2014); Paul Coenen (MBARI); (b) Kim Fulton-Bennett (MBARI, 2012), Christopher Wahl, (c) Todd Walsh (MBARI, 2013); Brett Hobson, Brian Kieft (MBARI), Thomas Hoover (Ocean Aero)

(a)

(b)

(c)

While these technical challenges are daunting, we note that increasingly sophisticated instruments are being integrated with autonomous vehicles. MBARI's Environmental Sample Processor (ESP) is an ecogenomic “laboratory in a can”, processing samples with heat and reagents to extract and analyze microbial genetic material (Scholin, 2013). The instrument is made possible by low-power electronics, microfluidic technologies, and stringent power-management strategies. The 3rd generation 3G-ESP is under development for low power mobile platforms, MBARI's Long Range AUV (LRAUV) in particular. 3G-ESP is contained in a nose section measuring 28 cm in diameter by 61 cm in length, draws between 4 and 20 watts, and is rated to 50 meters depth. The prototype underwent initial sea trials on LRAUV in Monterey Bay in early 2015. Based on the 3G-ESP and other examples we believe that development of small low-power cytometers for autonomous vehicles is possible in the near future.

<<H2>>Existing Marine Cytometers

As of early 2015 only one flow cytometer integrated with an AUV has been reported (Cunningham et al, 2003). They describe a flow cytometer integrated with the AutoSub AUV, which measured microbial populations across a bloom front in the North Atlantic. AutoSub was equipped with a basic science package as well as a water sampler and was deployed into an area of interest identified by SeaWIFS satellite ocean color images. Cytometric data recorded during this brief hours-long deployment were largely consistent with other onboard instruments as well as lab analysis of water samples.

Since 2003, several other automated cytometers have been developed for applications aboard ships or stationary platforms such as piers, buoys, and cabled observatories. We describe a few of these below, and compare some of their characteristics in Table 2.

The SeaFlow cytometer is a benchtop instrument designed to automatically acquire data over several days without human interaction; its primary deployment mode is aboard ships of opportunity where the instrument continually samples water from the ship's intake for weeks at a time (Swalwell et al, 2011). The SeaFlow "virtual core" design eliminates the need for sheath fluid by adding two additional detectors to determine when a cell is optimally positioned for optical measurement, thereby simplifying the fluidics system. The instrument analyzes cells in the size range of 0.5 - 20 micrometers including Prochlorococcus and Synechococcus, and enables extended two-dimensional surveys of near-surface water (Figure 4). Palevsky et al (2013) used continuous underway SeaFlow data to help determine phytoplankton contribution to the carbon dioxide air-sea flux in Alaskan waters. While the current instrument draws 250W (largely due to an attached personal computer), the designer is working on a smaller lower-power version (Swalwell, personal communication - see below).

FIGURE 4

Distribution of (a) Prochlorococcus, (b) Synechococcus and (c) nanoplankton in Hawaiian waters, as measured by the SeaFlow cytometer. Large spatial scale views are on the left, finer scale on the right (used with permission, from Swalwell et al, 2011).

FIGURE 5

Monterey Bay phytoplankton images captured by Imaging FlowCytobot in April, 2014 (instrument loaned to MBARI courtesy of Dr. Heidi Sosik, WHOI)

Imaging FlowCytobot (IFCB) is designed to automatically image, quantify and identify cells larger than 5 micrometers (Olson and Sosik, 2007). IFCB typically draws in a 5 ml water sample every twenty minutes, and triggers a flash lamp and camera when the scattering or fluorescence PMT signal exceeds a preset threshold. Image scale is typically about 0.3 micrometers per pixel, allowing many cells to be analyzed to the genus or even species level (Figure 5). IFCB has been deployed for up to eleven months on piers and cabled observatories. Campbell et al (2010) describe detection of toxic algal blooms (Dinophysis) by IFCB in a Texas estuary; public health officials quickly responded to the detection by suspending shellfish harvesting until the bloom subsided. IFCB draws 35W continuously and generates several gigabytes of data per day; thus the instrument is usually deployed at locations with wired connections to shore providing power and data. IFCB was recently deployed on a moored raft in Salt Pond (Nauset, MA), with no wired shore connection. The raft was equipped with solar panels, a bank of batteries and a gasoline generator that automatically recharged the batteries as required. Communication to shore was via radio link to a shore-based Internet connection (Olson, personal communication).

The CytoSense cytometer uses a one-dimensional scanning technique to capture particle morphology as well as basic optical information.  Forward scattering, side scattering, and up to three fluorescent channels of each particle are sampled at a rate such that multiple data points are acquired for each channel. Analysis of the resulting channel pulse shapes generates information about particle morphology and internal structure that can aid in taxonomic classification (Dubelaar and Gerritzen, 2000).  An optional camera can provide images as well. The manufacturers claim an exceptionally wide dynamic range of measured particle sizes, from 0.5 m through 800 m. The instrument is commercially available packaged for buoyed as well as submerged applications to 200 meters depth. Thyssen et al (2008) describe a two-month phytoplankton time-series, with samples acquired every 30 minutes in the Bay of Marseilles by the submersible "CytoSub" version of the instrument. The cytometer was deployed at 2 meters depth at the end of a quay with a cable to provide shore power and data connection to the instrument. Nitrate, nitrite, phosphate, salinity, temperature and wind conditions were also measured at the site. From the data they resolved seven distinct cell populations, and observed fluorescence and abundance changes coincident with the diel cycle in light, temperature and salinity, as well as in response to strong wind events and resulting hydrologic and nutrient level variations.

<<H1>>THE FUTURE

Electronics, lasers, software and fluidics have evolved in the years since the first AutoSub cytometer deployment, resulting in smaller, lower-power instruments that will likely be compatible with mobile marine robots in the near future.

Sosik and Olson are currently modifying their Imaging FlowCytobot for integration with autonomous surface vehicles such as Wave Glider, autonomous JetYak (whoi.edu, 2014), and AutoNaut (AutonautUsv.com, 2015). The instrument will be towed behind the vehicle at a depth of several meters. It is anticipated that the vehicle will provide sufficient power to allow sampling by the instrument once every 20 minutes. All raw data and images will be stored onboard for post-recovery analysis. Selected images and processed data will be returned to shore over available telemetry channels in near real-time, using 3G/4G cellular modem (0.5-4 Mbps) in coastal areas, and via Iridium satellite (2400 bps) in more remote regions (Sosik, personal communication).

While the Imaging FlowCytobot will collect invaluable data from near-surface waters, the instrument is currently too large and consumes too much power for a small, long duration AUV capable of surveys in the photic zone. New marine cytometers now under development begin to address these AUV constraints.

J. Swalwell of the University of Washington is developing an "immersion flow cytometer" that increases signal-to-noise, simplifies flow cell design, and potentially lowers cost (US Provisional Patent Application Serial No. 62/101,036). The instrument utilizes a low-cost primary ball lens with a high index of refraction that is partly immersed in the seawater sample. Analogous to oil or water immersion microscopy, the approach results in an estimated 60% higher numerical aperture than found in SeaFlow and Influx (BD Biosciences, San Jose CA) cytometers. Chromatic aberration in the ball lens causes laser and fluorescent colors to be dispersed behind the lens, similar to the effects of a prism or grating. Filters and detectors for the wavelengths of interest can be optimally positioned behind the lens, resulting in lower contamination by scattered light at each wavelength and a corresponding signal-to-noise increase. Since the primary lens is immersed directly in the sample, the need for small orifices and sample-delivery tubing may be reduced or eliminated. The instrument utilizes the same "virtual core" technology as the SeaFlow cytometer (Swalwell et al, 2011), eliminating the need for sheath fluid. The cheaper lens, improved signal-to-noise, and simplified fluidic design is expected to result in a smaller (shoebox sized), lower power (roughly 15W) and lower cost instrument (Swalwell, personal communication), with a high potential for deployment on an autonomous vehicle.

Another interesting development is reported by Wu et al (2013), who describe an approach where a 450 nm laser "light sheet" excites cross-sectional fluorescent images of phytoplankton cells as they flow through the sheet. The instrument is capable of flow rates of at least 1 ml/minute, which is four times the flow rate of Imaging FlowCytobot. The image quality is such that cells larger than about 5 micrometers can often be taxonomically identified. Orientation of the cells can vary as they pass through the light sheet, and the authors discuss taxonomic identification approaches that take this into account. They intend to miniaturize their prototype such that it is compatible with small autonomous platforms such as moorings and AUVs (R. Chan, personal communication).

Though it does not qualify as "traditional" cytometry, holographic microscopy is another technique that automatically measures individual cell dimensions and morphology. Conventional microscope optical elements are replaced by a laser, pinhole, and CCD detector. The device acquires holograms containing three-dimensional information from particles within the analyzed volume, eliminating the need to physically align the cells in single-file with sheath fluid. Cell images can be reconstructed into multiple image planes. Graham and Smith (2010) describe a submersible holographic microscope with 7.4 micrometer spatial resolution; a commercial version of the instrument has been integrated with MBARI's Dorado AUV and is being evaluated for analysis of large phytoplankton and zooplankton (sequoiasci.com, 2015).  Bochdansky et al (2013) describe a submersible instrument that acquires several holograms per second; a commercial version of this instrument claims sub-micron spatial resolution (4deep.com, 2015); its physical dimensions of 30 cm length and 10 cm diameter make it a potential candidate for integration with a small autonomous vehicle.

Small low-powered cytometers may someday be capable of the many applications that require cell pre-staining and sorting.  Recent advances in microfluidics and manipulation techniques represented by small ecogenomic sensors such as the AUV-integrated Environmental Sample Processor may point the way in this regard (Scholin, 2013).

Consumer electronic markets for devices such as mobile smart phones and computers are rapidly driving the miniaturization and cost-reduction of batteries, processors, cameras, and other sensors. Small, simple low-cost imaging cytometers have been implemented on mobile phones for blood analysis and other medical applications in the developing world, as described by Mudanyali et al, (2012) and Skandarajah et al (2014). The “CellScope” has been utilized to monitor algae and diatoms in freshwater (Steinberg, 2014). Innovative consumer-electronics-based solutions like these could pave the way towards small cytometer designs compatible with AUVs such as the Spray glider (Table 1).

Once a cytometer is integrated with a vehicle, "adaptive sampling" could be used to conserve power and telemetry bandwidth, turning on the instrument only when there is likely something interesting to sample. Zhang et al (2010) describe water sampling of thin phytoplankton layers by MBARI’s Dorado AUV. The AUV swims in a vertical saw-tooth profile through regions that may contain layers of interest, and their algorithm triggers a water sampling bottle when fluorescence and backscattering sensors indicate that the vehicle is moving through the center of a phytoplankton layer. Godin et al (2012) describe an algorithm to track moving patches of phytoplankton. The algorithm adjusts vehicle speed, heading and depth based on the chlorophyll signal from an onboard fluorometer, enabling the vehicle to remain near the centroid of the phytoplankton patch as it drifts with the current. A similar algorithm could be adapted to turn on a cytometer only when the vehicle is in a patch of interest, e.g. to allow the instrument to capture the growth and decline of microbes with time.

Some applications require real-time telemetry of cytometer data to shore, e.g. to issue health warnings in case of a harmful algal bloom. But many cytometers generate gigabytes of raw data each day, and telemetry of this data volume is problematic. In coastal regions the vehicle may use a 3G/4G cell modem, but beyond 100 km from shore an Iridium satellite link (2400 bps, compressed) may be the only option (Kocak and Clark, 2013), although faster satellite links may be available in the near future. These slow links can result in very long transmission times, high modem energy consumption, high airtime costs, and long surface times for AUVs. Instead of telemetering the entire dataset, onboard processing could return a brief data summary. In the case of cytometer fluorescence and scattering data, onboard cluster analysis could produce a simple list of detected taxonomic groups and their abundance (Aghaeepour et al, 2013). Alternatively, Li (1997) describes a “cytometric diversity index" in the form of a few floating point numbers that is calculated based on light scattering and chlorophyll fluorescence. The diversity index can be used to estimate the structure of phytoplankton communities in real-time, e.g. to track blooms or biological fronts. In the case of image data, Sosik and Olsen (2007) describe image processing "machine learning" software that classifies individual phytoplankton cells to the genus or species level, based on size, shape, symmetry, texture and other characteristics. Their software currently runs on powerful shore-side machines, but they hope to adapt it to the smaller processors found on autonomous vehicles.

<<H1>>Acknowledgements

The authors wish to thank Brent Jones, Brian Kieft, Yanwu Zhang, Amy Zimmerman, Jason Smith, Holly Bowers, Francisco Chavez, Thom Maughan, and Magdalena Gutowska, Alexandra Worden (MBARI); Jim Bellingham, Heidi Sosik, and Rob Olson (WHOI), Jarred Swalwell (University of Washington); George Dubelaar and Dominic Stuart (CytoBuoy b.v.); Alex Cunningham (University of Strathclyde),  Henry Ruhl (National Oceanography Centre), Jeffrey T Sherman (UCSD), Harry Nelson (Fluid Imaging Technologies), Stephen Jones and John Samson (4Deep) for personal communication regarding autonomous vehicles, instrument designs, marine microbiology and latest research. Nicole Hanson (NYULMC) assisted with figure formatting. O'Reilly and Klimov gratefully acknowledge the support of the David and Lucile Packard Foundation.

Corresponding Authors

Peter Lopez

NYU School of Medicine

540 First Ave, SK3

New York, NY 10016 USA
Email: Peter.Lopez@med.nyu.edu

Thomas C. O'Reilly

Software engineer

Monterey Bay Aquarium Research Institute

7700 Sandholdt Road

Moss Landing, CA 95039 USA

Email: oreilly@mbari.org

Denis Klimov
Electrical engineer
Monterey Bay Aquarium Research Institute (MBARI)
7700 Sandholdt Rd
Moss Landing, CA 95039
Email: klimov@mbari.org

References

4Deep.com. 2015. Submersible microscope. Available at: http://4-deep.com/submersible-microscope/ (accessed 24 February 2015).

Aghaeepour N., Finak G., The FlowCAP Consortium, The DREAM Consortium, Hoos H., Mosmann T.R., Brinkman R., Gottardo R. & Scheuermann R.H. 2013. Critical assessment of automated flow cytometry data analysis techniques. Nature Methods 10, 228–238

Arrigo, K. R., Perovich, D. K., Pickart, R. S., Brown, Z. W., van Dijken, G. L., Lowry, K. E., ... & Swift, J. H. 2012. Massive phytoplankton blooms under Arctic sea ice. Science, 336(6087), 1408-1408.

AutoNautUsv.com. 2015. Available at: http://www.autonautusv.com (accessed 24 February 2015).

Bellingham, J. G. 2014. Have robot, will travel. Methods in Oceanography, 10, 5-20.

Bochdansky, A. B., Jericho, M. H., & Herndl, G. J. 2013. Development and deployment of a point source digital inline holographic microscope for the study of plankton and particles to a depth of 6000 m. Limnology and Oceanography: Methods, 11(1), 28-40.

Campbell, L., R.J. Olson, H.M. Sosik, A. Abraham, D.W. Henrichs, C.J. Hyatt, and E.J. Buskey. 2010. First harmful Dinophysis (Dinophyceae, Dinophysiales) bloom in the U.S. is revealed by automated imaging flow cytometry. Journal of Phycology, 46, 66 – 75.

Cunningham, A., McKee, D., Craig, S., Tarran, G., Widdicombe, C. 2003. Fine-scale variability in phytoplankton community structure and inherent optical properties measured from an autonomous underwater vehicle. Journal of Marine Systems, 43 (1–2) (2003), pp. 51–59

Davis, R. E., Eriksen, C. C., & Jones, C. P. 2002. Autonomous buoyancy-driven underwater gliders. The Technology and Applications of Autonomous Underwater Vehicles, 37-58.

Dubelaar, G. B. J., & Gerritzen, P. L. 2000. CytoBuoy: a step forward towards using flow cytometry in operational oceanography. Scientia Marina, 64(2), 255-265.

Forest, A., Tremblay, J.-É., Gratton, Y., Martin, J., Gagnon, J., Darnis, G., Sampei, M., Fortier, L., Ardyna, M., Gosselin, M., Hattori, H., Nguyen, D., Maranger, R., Vaqué, R., Marrasé, C., Pedrós-Alió, C., Sallon, A., Michel, C., Kellogg, C., Deming, J., Shadwick, E., Thomas, H., Link, H., Archambault, P., Piepenburg, D. (2011) Biogenic carbon flows through the planktonic food web of the Amundsen Gulf (Arctic Ocean): A synthesis of field measurements and inverse modeling analyses. Progress in Oceanography. 91(4):410-436

Godin, M. A., Ryan, J. P., Zhang, Y., & Bellingham, J. G. 2012, December. Localization and Tracking of Submerged Phytoplankton Bloom Patches by an Autonomous Underwater Vehicle. In AGU Fall Meeting Abstracts (Vol. 1, p. 1869).

Graham, G. W., & Nimmo Smith, W. A. M. 2010. The application of holography to the analysis of size and settling velocity of suspended cohesive sediments. Limnology and Oceanography: Methods, 8(1), 1-15.

Hobson, B. W., Bellingham, J. G., Kieft, B., McEwen, R., Godin, M., & Zhang, Y. 2012, September. Tethys-class long range AUVs-extending the endurance of propeller-driven cruising AUVs from days to weeks. In Autonomous Underwater Vehicles (AUV), 2012 IEEE/OES (pp. 1-8). IEEE.

Kocak, D. M., & Clark, A. M. 2013. Motivations and methods for modern maritime communications: A Survey of Recent and Emerging Trends. Marine Technology Society Journal, 47(5), 7-18.

Li W.K. 1997. Cytometric diversity in marine ultraphytoplankton. Limnology and Oceanography 42:874–80.

Li, W.K., McLaughlin, F. A., Lovejoy, C., & Carmack, E. C. 2009. Smallest algae thrive as the Arctic Ocean freshens. Science, 326(5952), 539-539.

liquidr.com. 2015. Specification sheets. Available at: http://liquidr.com/resdown/downloads/spec-sheets.html (accessed 26 February 2015)

Lomas, M. W., Bronk, D. A., & van den Engh, G. 2011. Use of flow cytometry to measure biogeochemical rates and processes in the ocean. Annual review of marine science, 3, 537-566.

MBARI.org. 2015. CANON: Controlled, agile, and novel observing network. Available at http://www.mbari.org/canon/ (accessed 25 February 2015)

Mudanyali, O., Dimitrov S., Sikora U, Padmanabhan S., Navruza I., and Ozcan A. 2012. Integrated rapid-diagnostic-test reader platform on a cellphone. Lab on a Chip, 2012,12, 2678–2686

Olson, R. J., & Sosik, H. M. 2007. A submersible imaging‐in‐flow instrument to analyze nano‐and microplankton: Imaging FlowCytobot. Limnology and Oceanography: Methods, 5(6), 195-203.

Palevsky, H. I., Ribalet, F., Swalwell, J. E., Cosca, C. E., Cokelet, E. D., Feely, R. A., & Quay, P. D. 2013. The influence of net community production and phytoplankton community structure on CO2 uptake in the Gulf of Alaska. Global Biogeochemical Cycles, 27(3), 664-676.

Scholin CA. 2013. Ecogenomic sensors. In: Levin SA, (ed.) Encyclopedia of Biodiversity 2nd edn Volume 2. Academic Press: Waltham, MA, 690–700.

Semrock.com, 2015. http://www.semrock.com/flow-cytometry.aspx

sequoiasci.com. 2015. Testing Sequoia's LISST-Holo on an autonomous underwater vehicle. Available at: http://www.sequoiasci.com/article/testing-sequoias-lisst-%C2%ADholo-on-an-autonomous-underwater-vehicle/ (accessed 24 February 2015).

Shapiro, H. M. 2003. Practical flow cytometry. John Wiley & Sons. 736 pp.

Skandarajah, A., Reber, C. D., Switz, N. A., & Fletcher, D. A. (2014). Quantitative imaging with a mobile phone microscope. PloS one, 9(5), e96906.

Sosik, H. M., & Olson, R. J. 2007. Automated taxonomic classification of phytoplankton sampled with imaging‐in‐flow cytometry. Limnology and Oceanography: Methods, 5(6), 204-216.

Sosik, H.M., Olson, R.J., & Armbrust, E.V. 2010. Flow cytometry in phytoplankton research. Chlorophyll a Fluorescence in Aquatic Sciences: Methods and Applications. pp.171–185

Steinberg, S.J. (2014). A high quality cellphone-based portable microscope for streamside data collection. In NWQMC Ninth National Monitoring Conference.  Available at: http://acwi.gov/monitoring/conference/2014/2ConcurrentSessions/J6/J6Steinberg.pdf (Accessed 9 May 2015)

Swalwell, J. E., Ribalet, F., & Armbrust, E. 2011. SeaFlow: A novel underway flow-cytometer for continuous observations of phytoplankton in the ocean. Limnology and Oceanography: Methods, 9(10), 466-477.

Thyssen, M., Mathieu, D., Garcia, N., & Denis, M. 2008. Short-term variation of phytoplankton assemblages in Mediterranean coastal waters recorded with an automated submerged flow cytometer. Journal of Plankton Research, 30(9), 1027-1040.

UCSD.edu. 2015. Underwater gliders. Available at: http://spray.ucsd.edu/pub/rel/info/spray_description.php  (accessed 26 February 2015).

Veldhuis, M.J.W., & Kraay. G.W. 2000. Application of flow cytometry in marine phytoplankton

research: current applications and future perspectives. Scientia Marina 64(2): 121-134

Wadhams P, Wilkinson JP, McPhail SD. 2006. A new view of the underside of Arctic sea ice. Geophysical Research Letters. 33:L04501. doi: 10.1029/2005GL025131

Whoi.edu. 2014. The JetYak. Available at https://vimeo.com/113751116 (accessed 25 February 2015).

Williams, G.D., Wilkinson, J., Maksym, T., Kunz, C. & Singh, H. 2014. Very thick and heavily deformed Antarctic sea ice captured in 3-D by autonomous underwater vehicle, International Symposium on Sea Ice in a Changing Environment - Proceedings of the Hobart Symposium, 10-14 March 2014, Hobart, Tasmania, Australia, pp. 69A834

Wu, J, & Chan, R.K.Y. 2013. A fast fluorescence imaging flow cytometer for phytoplankton analysis. Optics Express Oct 7;21(20):23921-6. doi: 10.1364/OE.21.023921

Zhang, Y., McEwen, R.S., Ryan,  J.P., Bellingham,  J.G., Harvey, J. & Vrijenhoek, J. 2010. Acquiring peak samples from phytoplankton thin layers and intermediate nepheloid layers by an autonomous underwater vehicle with adaptive triggering. AGU 2010 Fall Meeting, Abstract OS51C-1334, San Francisco, CA, U.S.A., December 2010.