Changes made to create v25

1-- Looks like Shapiro reference is really 2003, not 2005. I think I know the deal. 2003 is listed on the Wiley site, who published the hardcopy. I think in 2005 it became available online. In any case I changed the date to 2003 in citation and reference.,

2—First page, last line in 2nd paragraph:

NOW:Clearly integration of flow cytometers as AUV payloads would benefit from optimized cytometer design.(Changed payload to payloads)

3-- Top of 3rd page:

NOW:But before autonomous mobile cytometers become reality, we must also consider the technical challenges of operating instruments aboard autonomous vehicles: (Changed mobile autonomous mobile cytometers to autonomous mobile...)

4-- I have a question on page 3, section called Power:, this line:

These power levels could seriously decrease the endurance of small vehicles.

Aren't we talking about power draw, or load, instead of “power levels”. If so please suggest alternative wording.

5-- Page 3:

NOW:Telemetry: Some autonomous vehicles use cell phone networks close to shore but must use low-bandwidth, e.... (added comma after low-bandwidth, and removed hyphen for readability.--This OK?)

6—Page 3:

Instead of:

<<H2>>Some Marine Cytometers

How about just:

<<H2>>Marine Cytometers

7-- Page 4, first paragraph, 2nd line:

NOW:fluorescence photomultiplier tube (PMT) signal exceeds... (removed caps for photomultiplier tube)

8-- Page 4, The Future, 2nd paragraph, 3rd sentence:

NOW:will provide sufficient power to allow sampling by the instrument once every 20 minutes.( added “to allow sampling by” )

9-- Same section as #8, changed “perhaps some processed data ” to “potentially some processed data”

10-- Page 5, Wu light sheet section, last sentences in that section. The work “authors” is used twice-- I think we should change  one instance of authors to “they” . I think authors could be misconstrued as pointing to us.

NOW:Orientation of the cells can vary as they pass through the light sheet, and the authors discuss taxonomic identification approaches that take this into account. They intend to miniaturize their prototype such that it is compatible with small autonomous platforms such as moorings and AUVs (R. Chan, personal communication).

11-- Last paragraph of paper, regarding telemetry:

By “groups” what do we mean? Can we put in “species” instead?

NOW: cluster analysis could produce a simple list of which species are detected (changed groups to species)

Could we add “of which species are detected and at what density?) I didn't do that-- waiting for input

12--Lastly, changed Acknowledgements from a list into more narrative:

NOW:<<H1>>Acknowledgements

The authors wish to thank Brent Jones, Brian Kieft, Yanwu Zhang, Amy Zimmerman,  and Thom Maughan from MBARI, Jim Bellingham, Heidi Sosik, and Rob Olsen  from WHOI, George Dubelar (CytoBuoy b.v.), Jeffrey T Sherman (UCSD), Harry Nelson (Fluid Imaging Technologies), Stephen Jones and John Samson (4Deep) for personal communication regarding instrument specifics and their latest research.