## Slide 1: Benchmark: fluorescent imaging
Pseudo-nitzschia, at 100x
Courtesy of Lisa Ziccarelli
Zeiss Axioplan fluorescence microscope
Chaetoceros, at 100x

## Slide 2: Benchmark: fluorescent imaging
Filtering 25 ml on 0.2um black polycarbonate filter
Sampling, 125 ml
Fixing with Glutaraldehyde
Visual identification, counting
Translating stage
Change objective: 10x, 40x, 100x
Entering spreadsheet
Courtesy of Lisa Ziccarelli
Notes: Multiple steps, manual, lab equipment. Can we automate?

## Slide 3: Optics: chasing cross-talk
LED Luxeon Royal Blue 455 nm
+
Blue filter (Intor 450-40)
+
Red filter (Roscolux #19)
Yellow light slightly visible – may upgrade blue filter
LED Luxeon Royal Blue 455 nm
+
Blue filter (Intor 450-40)
+
Delvie 2422
Blue is still visible
Red filter OD not enough