## Slide 1: In situ ATP measurement using microfluidic devices –IISA-ATP- Tatsuhiro Fukuba Japan Agency for Marine-Earth Science and Technology (JAMSTEC)

## Slide 2: ATP as a proxy of microbial biomass
●ATP（adenosine triphosphate)
-One of the essencial biomolecule for energy conversion and storage in life system
●ATP quanrtification using L-L assay
-Firefly luciferin-luciferase bioluminescence assay
-Detection limit :10-12〜10-13 M without preconcentration
-Symple protocol (Just mix sample and reagents)
Intracelluler（particurate） ATP
Extracelluler（dissolved）ATP
Total ATP
For accurate biomass estimation
Easy to measure (no separation)
For rough estimation of microbial biomass
Microbial biomass anormary detection
In situ analyzer for ATP quantification

## Slide 3: IISA（Integrated in situ Analyzer) -ATP2
Plastic bags (chemicals & waste)
Pressure tight housing
PMT
Power management
PMT control
Data logging
Pumps
&
Valves
&
Electronics
RS232
24VDC
Power line for microfluidic unit
Microfluidic unit
Oil-filled
Sample
inlet
Microfluidic device
PMT
Electronics/Data logger
Nearly commercial phase

## Slide 4: In situ ATP analysis result（vertical profile）
200
100
0
Depth （m）
Depth （m）
Depth （m）
ATP (pM)
Temperature (℃)
Ohmuro hole
Depth （m）
Turbidity (FTU)
NT14-16 HPD#1699 Ohmuro hole
ATP increase
=high biomass in
Ohmuro hole
Turbidity increase
Stable temperature
in Ohmuro hole
Hydrothermal site