## Sheet1
LRAUV PAYLOADS | 2017-08-03

## Sheet2
| Make | Model | Website | Comments
CORE - currently installed on Tiny
CTD and Oxygen | Seabird | GPCTD+DO(SBE 43) | http://www.seabird.com/glider-payload-ctd | Calibrated yearly. CTD data is realiable, but oxygen data is incosistent. I am considering adding an SBE 63 once OASIS 5 is integrated on the Wave Gliders.
Chl - Chlorophyll fluorescence, OBS-Optical backscatter | WetLabs | BB2FL puck | http://wetlabs.com/eco-puck | Similar to the LRAUV puck but with an added copper faceplate to help prevent biofouling. The sensor has three different channels, Chl fluorescence and two frequencies of optical backscatter.
Weather sensor | Airmar | WX200 IPX7 RS232 | http://www.airmar.com/productdescription.html?id=151 | These fail often and need replacment/repair frequently, data quality questionable.
pH sensor | Honeywell | Durafet II | https://www.honeywellprocess.com/en-US/explore/products/instrumentation/analytical-instruments-and-sensors/ph-orp/Pages/durafet-non-glass-ph-sensor.aspx | Sensor replaced and calibrated yearly.
pCO2 sensor | MBARI |  | N/A | Calibrated yearly, with current usage the CO2 standard gas tank needs filling anout twice a year
Acoustic marine tag receiver | Vemco | VR2C Glider module | https://vemco.com/products/vr2c-cabled-receiver/
Backup tracking | XEOS | Rover | http://www.xeostech.com/product/rover
OTHER SENSORS
Acoustic modem | Benthos | LF |  | We have both an LF omni transducer and an LF directional transducer. Both are used for LF communications.
Acoustic modem with tracking | Benthos | MF DAT |  | Used for both tracking and MF comunications.