Version 1.0
MiniROV
Camera: MiniROV Sony Block Camera
Laser: LaserGlow DC Housing
Optics: Powell Lens (v1.1) and Cylindrical Lens (v1.2)

Version 2.0
MiniROV (DC) + Ventana/Ricketts (AC)
Camera: Sony A7S 
Laser: LaserGlow DC Housing (v2.1) and AC Housing (v2.2)
Optics: Cylindrical Lens
Remote Head: Optolink Penetrator

Version 3.0
Ventana/Ricketts
Camera: Sony FCB-EV7320 Block Camera
Laser: LaserGlow AC Housing
Optics: Cylindrical Lens
Remote Head: Optolink Penetrator

Version 4.0
MiniROV (DC) + Ventana/Ricketts (AC)
Camera: Sony FCB-EV7320 Block Camea
Laser: Coherent AC Housing (v4.0) and DC Housing (v4.1)
Optics: Powell Lens
Remote Head: Custom Fiber 

Version 5.0
MiniROV
Camera: MiniROV Sony Block Camera
Laser: LaserGlow DC Housing
[bookmark: _GoBack]Optics: Powell Lens
Remote Head: Optolink Penetrator

