DeepPIV Version List

Version 1.0

MiniROV (DC)

Camera: MiniROV Sony Block Camera

Laser: LaserGlow DC Housing

Optics: Powell Lens (v1.1) and Cylindrical Lens (v1.2)

Version 2.1

MiniROV (DC)

Camera: Sony A7S

Laser: LaserGlow DC Housing

Optics: Cylindrical Lens

Remote Head: Optolink Penetrator

Version 2.2

Ventana/Ricketts (AC)

Camera: Sony A7S

Laser: AC Housing

Optics: Cylindrical Lens

Remote Head: Optolink Penetrator

Version 3.0

Ventana/Ricketts (AC)

Camera: Sony FCB-EV7320 Block Camera

Laser: LaserGlow AC Housing

Optics: Cylindrical Lens

Remote Head: Optolink Penetrator

Version 4.0

Ventana/Ricketts (AC)

Camera: Sony FCB-EV7320 Block Camera

Laser: Coherent AC Housing

Optics: Powell Lens

Remote Head: Optolink Penetrator

Version 5.0 (never used)

MiniROV (DC)

Camera: MiniROV Sony Block Camera

Laser: LaserGlow DC Housing

Optics: Powell Lens

Remote Head: Optolink Penetrator