## Sheet1
| Voltage | Current | Watts
Laser Housing
Laser + Controller | 12 | 12 | 144 | max measured in lab
DGH Modules | 12 | 0.17 | 2.04
Digi Serial Server | 12 | 1.5 | 18
temp/humidity | 12 | 0.05 | 0.6
Total Power |  |  | 164.64
Camera Housing |  |  | 0
Camera | 12 | 0.3 | 3.6
Twiga Int Board | 12 | 0.2 | 2.4
Temp/humidity board | 12 | 0.05 | 0.6
Total Power |  |  | 6.6
Dye Injector
Elmo +Motor | 24 | 2 | 48
Total Power |  |  | 48
Interface Can
Focal stack | 5 | 1.5 | 7.5
24V/5V Supply | 24 | 0.4 | 9.6 | this power is supplying the camera so is a dulpicate