Deadlines:

- Concept design review March 9th

- Complete the optics selection/arrangement before March 23rd

- Complete components selection/arrangement of controller can before March 23rd

- Complete controller can before May 1st

Here’s a summary of our action items:

- Chad: Finish electrical schematic of laser controller housing with a VICOR (completed)

- Chad: Update the cabling schematic for DeepPIV (add fan and LD+/- wires) (completed)

- Kakani: Define the test conditions for DeepPIV (completed)

- IT-1000 tests in small tank with particles

- Optics comparisons

- Monitor in Dale’s office that will do composite input

- Kakani: Test laser+optics configuration and inform Dale (completed)

- Chad: ask techs to build up micro board; Paul’s board in MARS (in progress)

- Chad: send components (micro, power supply, serial connector to vary voltage input) in controller housing to Dale (pending Design Review feedback)

- Dale: draw up end cap (internals) for controller and send to shop while in Mexico

- Alana: Confirm with Dale that the tilt motor serial port on MiniROV can be used (pending input from Dale)

- Dale: Find out whether DeepPIV mounting is compatible with midwater sleds

- Alana: ask Scott about current-limiting 12 V, auto shut-off, performance in cold (in progress)

- Alana: schedule design review for March 9th including inviting relevant persons (completed)

- Alana: find MiniROV’s in-water weight requirement

- Kakani: purchase 60 deg line optic from Edmunds

- Chad: follow up on temperature and water sensors (DGH modules in general)

- Chad and Kakani: characterize laser output and current draw in cold room (in progress)

- Kakani: Find out about near-shore locations about animals for short Rachel Carson days

Dale is back on 23rd of March

MiniROV back mid-April; available May 1st