Deadlines:

- Complete the optics selection/arrangement before March 23rd

- Complete components selection/arrangement of controller can before March 23rd

- Complete controller can before May 1st

Here’s a summary of our action items:

- Chad: ask techs to build up micro board; Paul’s board in MARS (completed)

- Alana: ask Scott about current-limiting 12 V, auto shut-off, performance in cold (completed)

- Kakani: purchase 60 deg line optic from Edmunds (completed)

- Kakani: email Dale and send him info about lens holder and controller can (completed)

- Kakani: buy particles (completed)

- Chad: follow up on temperature and water sensors (completed)

- Chad: Find and design humidity sensor; humidity sensors in both housings; temperature sensor (on controller) in controller housing (completed)

- Kakani: determine whether mount + mini zeus ii camera fits in aquarium tank (completed)

- Kakani and Alana: talk to Doug about laser safety (completed)

- Alana: Confirm with Dale that the tilt motor serial port on MiniROV can be used, pin out on MINK8, and length of cable (in progress)

- Dale: draw up end cap (internals) for controller and send to shop while in Mexico

- Dale: Find out whether DeepPIV mounting is compatible with midwater sleds

- Chad and Kakani: characterize laser output and current draw in cold room (in progress)

- Chad: send components (micro, power supply, serial connector to vary voltage input) in controller housing to Dale (completed; Design Review feedback)

- Chad: test laser on bench with Vicor (in progress)

- Chad: find out about frame ground on large vehicles

- Chad: email Scott to ask about whether temperature can be monitored from the LDRT signal or parasitize power

- Kakani: Find out about near-shore locations about animals for short Rachel Carson days (in progress)

Question to discuss: What issues came up with the MiniROV camera during GoC?

Kakani is out the week of March 16th

Dale is back on 23rd of March

Alana is out the week of March 30th

MiniROV back mid-April; available May 1st