Deadlines:

- Complete controller can before May 1st

Here’s a summary of our action items:

- Chad: test laser on bench with Vicor (in progress)

- Kakani: Find out about near-shore locations about animals for short Rachel Carson days (confirm with Steve and Bruce next week; in progress)

- Dale: write software to provide feedback to camera to find home position (need to calibrate, code written, in progress; completed software for DGH module)

- Dale and Alana: recording 1080p, 60 Hz (completed; Video Lab will assist with acquisition)

- Kakani and Alana: find and borrow standalone accelerometer with logger to measure vibration characteristics at vehicle and end of swing arm; ask Andy about accelerometer tubes from mooring (in progress; talked to Andy; emailed Giancarlo)

- Dale: find flow generator components (completed; use piston setup with long, flexible hose; switch off vortex generator and dye during dives)

- Dale: make laser mount for MiniROV to reduce separation from 2-5 cm (in progress)

- Dale: make camera settings data available for VARS (postponed until after June 1st MiniROV dive)

- Alana: provide blue LED light to Kakani

- Alana: find out what Steve Rock budgeted for our project from Mike Risi; could use stereo cameras (smaller) for lab bench test (completed; ~$7K available for cameras and ~$1K for mount)

- Kakani and Alana: acrylic cubes from McMaster

- Kakani: come up with side-by side comparison of high speed cameras; ask about borrowing for two weeks in June to test data rates, sensitivity (in progress; contacted camera reps to ask about borrowing cameras)

- Dale and Alana: find out high speed housing options at MBARI (completed; Panasonic housing with Fujinon lens; serial comms)

- Alana: modify MiniROV epod schematic

MiniROV back mid-April; available May 1st