Deadlines:

- First ship day on June 1st

Here’s a summary of our action items:

- Dale: make laser mount for MiniROV to reduce separation from 2-5 cm (completed)

- Alana/Johnny: end cap for laser housing to protect glass dome (completed; where is it????)

- Alana: make schematic for dye injector

- Dale: make camera settings data available for VARS (postponed until after June 1st MiniROV dive)

- Chad: figure out how to mirror project library on RAID drive

- Kakani: add folder media>ship>date and include video/pics/select video data

- Frank: look into AC for van

- Dale: interface AUX camera with MiniROV and affix to laser housing

- Chad: evaluate connectors of IT-1000 in LRAUV lab

- Chad: find spare IT-1000 from Deep FOCE and share with Dale

- Alana: contact FOCAL on GigE interface for MiniROV

- Alana: tie in wireless headsets into ship comms

- Dale: get Teradeck working so ship can see MiniROV video, prep for DOEST

- Alana: look into price of encoder for MiniROV

- Dale: get BlackMagic overlay box

- Dale: lead time fro CTD

- Dale: follow up with Hans on Rachel Carson tracking

- Alana: determine what cameras/housings are available to interface with MiniROV on GigE

- Alana and Dale: open can, switch rattler, focal wire go back t o45 port

- Alana and Dale: enable wires need fixing on MiniROV

- Dale: add payout indicator on winch

- Dale: change color (flashing red) when delta exceeds some value

- Kakani: change glass port on laser housing

- Dale: pressure test laser housing

- Kakani: adjust lens/laser alignment

- Chad: humidity sensor has negative reading when inside laser housing; positive when outside

- Dale: more flexible tubing, smaller inner diameter for vortex generator

- Dale: finer increments for dye injector

- Alana: find out mobbing

Upcoming personnel off-site/vacations

Chad: on vacation from June 3rd-9th, return on 10th

Kakani: at UCLA on June 3rd, at Caltech on June 4th, return on 6th