Deadlines:

- Next ship day on Rachel Carson: July 27th

Here’s a summary of our action items:

- Dale: make camera settings data available for VARS (in progress)

- Chad: figure out how to mirror project library on RAID drive (completed)

- Frank: look into AC for van

- Dale: interface AUX camera with MiniROV and affix to laser housing (in progress; waiting for camera cable to be potted)

- Chad: evaluate connectors of IT-1000 in LRAUV lab (completed)

- Chad: find spare IT-1000 from Deep FOCE and share with Dale (completed)

- Alana: tie in wireless headsets into ship comms (in progress)

- Dale: lead time for CTD (in progress; talk to Eric about purchasing Valport MiniCT)

- Alana and Dale: open can, switch rattler, focal wire go back to 45 port (in progress)

- Alana and Dale: enable wires need fixing on MiniROV (in progress)

- Dale: add payout indicator on winch (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

- Kakani: change glass port on laser housing (in progress)

- Dale: pressure test laser housing (in progress)

- Kakani: adjust lens/laser alignment (in progress)

- Chad: humidity sensor: negative when inside laser housing; positive when outside (in progress; testing with spare, reads same outside of housing, good from 5-95%)

- Chad: open controller housing to evaluate function of humidity sensor

- Chad: set up laser in LRAUV lab

- Dale: more flexible tubing, smaller inner diameter for vortex generator (in progress)

- Dale: finer increments for dye injector or slider (in progress)

- Dale: find out mobing and demobing situation for july dive

- Dale: find out about max speed of vortex generator

- Kakani: refine vortex generator in lab

- Kakani: follow up with Phantom to find out when demo camera will arrive

- Kakani: talk to Bruce about science goals for cruise using MiniROV