Deadlines:

- Next ship day on Rachel Carson: July 27th

Here’s a summary of our action items:

- Dale: make camera settings data available for VARS (in progress)

- Frank: look into AC for van (in progress; will be installed before July 27th)

- Dale: interface AUX camera with MiniROV and affix to laser housing (in progress; camera cable is ready; bracket needs to be made)

- Dale: test IT-1000 and MiniROV’s camera with Dave French’s IR lights

- Dale: give Dave French’s IR lights to Kakani for high speed camera tests

- Alana: tie in wireless headsets into ship comms (in progress)

- Dale: lead time for CTD (in progress; talk to Eric about purchasing Valport MiniCT)

- Alana and Dale: open can, switch rattler, focal wire go back to 45 port (in progress)

- Dale and Chad: enable wires need fixing on MiniROV (in progress; will determine today)

- Dale: add payout indicator on winch (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

- Dale and Kakani: change glass port on laser housing (in progress)

- Dale: pressure test laser housing (in progress)

- Kakani: adjust lens/laser alignment (in progress)

- Chad: humidity sensor: negative when inside laser housing; positive when outside (completed; negative when below sensor threshold)

- Chad: open controller housing to evaluate function of humidity sensor (in progress; add new desiccant and evaluate humidity sensor output)

- Chad: set up laser in LRAUV lab (completed)

- Kakani and Dale: more flexible tubing, smaller inner diameter for vortex generator (in progress; will order from McMaster Carr tygon tubing ID 1”)

- Dale: finer increments for dye injector or slider; determine whether LabView program already does manual increments (in progress)

- Dale: find out mobing and demobing situation for July dive

- Kakani: refine vortex generator in lab; find out max speed

- Kakani: follow up with Phantom to find out when demo camera will arrive; need M110 to determine size (completed)

- Kakani: talk to Bruce about science goals for cruise using MiniROV; tell him that sampling and DeepPIV cannot be conducted at same time (in progress)

- Kakani: schedule meeting with PC and DeepPIV for July 16th