Here’s a summary of our action items:

- Chad: electrical schematic/diagram for high speed camera to larger vehicles (change of camera from high-speed to high-sensitivity in design; get model information from Alana; in progress)

- Kakani: analyze data!!! (in progress)

- Kakani: Talk to Dave French about high-speed recording of Sony camera (completed; Dave has not tested high-speed recording; test high-speed recording)

- Kakani: look into third party software to control camera (completed; Adobe Lightroom has option but direct tethering requires another plug-in http://www.dslrsoftware.com/tethered_shoot_lr6_a7_macosx.php that currently does not support sony a7sii yet; contacted them to find out more)

- Alana: test video output on HDMI (in progress)

- Dale and Alana: test sending GigE video through new photo multiplexer (focal) (completed)

- Dale: layout components in camera housing and make decision on Titanium housing (completed; will go with Ti housing and discuss with Ben layout)

- Dale: purchase fiber penetrator, at least 6 m in length (narrowing down; going with 8 m long penetrator with 0.5 m pigtails; in progress)

- Chad: select controller/drive for translational stage (preferably ELMO; getting specs from Peter; in progress)

- Alana: compare HDMI to GigE modules, potentially test in lab (completed; will be compatible with Steve’s camera)

- Kakani: come up with project timeline (completed)

- Dale: check that there’s sufficient space for DeepPIV cans on benthic sled for May deployment on MiniROV (in progress)

- Kakani: communicate with Ricketts pilots that they will not need to design/build translating ram for future DeepPIV deployments; will use laser Raman translational stage (completed)

- Alana: email Bruce to find out what his plans for MiniROV are during April cruise (in progress)

- Chad: create binder that has schematics, components for DeepPIV system

- Alana: check power output for science port on DR for dye injector

- Chad: purchase “set” components for camera housing

- Kakani: purchase SD card compatible with high speed recording

- Kakani: purchase battery eliminator for Sony camera

- Dale: follow up with Ben to resolve camera housing designs

- Kakani: drop off couplers to Dale

- Alana: complete two budget transfers to get our money back

- Kakani: follow up with Larry and tell him we will pay restocking fee

- Kakani: follow up with Mike at Edgertronic and ask about turn around time

- Kakani: tested edgertronic camera; meets our needs; follow up about pricing, camera return, and video output option (completed)

2016ish

- Dale: make camera settings data available for VARS (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

Notes:

AC solution for power interface to other vehicles

In camera housing: camera, lens power source, just add power module

Injector power and controller as stand-alone unit from DeepPIV

Kakani: make changes to the project timeline

Remove midwater spring cruise

Shift camera system completing into April

Testing on Ricketts

DeepPIV binder

Kakani: test the following for sony a7sII

High speed recording

Trigger high speed recording from software

Change record settings from software