Here’s a summary of our action items:

- Chad: electrical schematic/diagram for camera to larger vehicles (change of camera from high-speed to high-sensitivity in design; get model information from Alana; completed)

- Jon: draw up new laser+controller can (edit to have all cabling and penetrators going through back plate; remove heat sink on laser; apply 120 W to housing to see heat transport; in progress)

- Alana/Chad: rewire dye injector motor (in progress)

- Chad: wiring diagram for dye injector (in progress)

- Chad: get pin out for camera housing and discuss cabling/ports for housing (completed)

- Chad: specify connectors for camera and laser housing (completed)

- Dale: follow up with Brock about fiber optic penetrators (in progress)

- Dale: put together controller/labview for temperature, humidity sensors and laser analog power (in progress)

- Chad: connect all components and determine power budget; verify connectors

- Jon: purchase remote head glass port (still need to verify camera housing)

- Chad: have techs remove test points from board to allow for fan space

- Kakani: format new laptop (install software required for operation, specs, drawings, etc.)

- Chad: purchase USB to serial (DigE) for laptop

- Kakani: bring camera to Dale and check on vignetting

2016ish

- Chad: create binder that has schematics, components for DeepPIV (in progress)

- Dale: purchase ELMO for DeepPIV project

- Dale: make camera settings data available for VARS (in progress)

- Dale: change color (flashing red) when delta exceeds some value (in progress)

Notes:

AC solution for power interface to other vehicles

In camera housing: camera, lens power source, just add power module

Injector power and controller as stand-alone unit from DeepPIV